Development and Validation of Stability Indicating Method for Simultaneous Determination of Ibuprofen and Famotidine Degradation Products in Tablets by Using RP-UPLC

Original Research Article

ABSTRACT

A stability-indicating reverse-phase ultra-performance liquid chromatographic (RP-UPLC) method was developed and validated for the simultaneous quantitative determination of degradation products of ibuprofen and famotidine in combined dosage form. The efficient chromatographic separation was achieved in gradient elution mode containing mobile phase “A” as buffer with 10 mM Sodium Acetate Trihydrate at pH 6.0 ± 0.02 and mobile phase “B” as mixture of buffer and acetonitrile in the ratio of 93:7, v/v on using Waters Acquity UPLC HSS T3 (30 x100 mm, 1.8 μm) column. The UV detection was set at 265 nm and the flow rate was at 0.5 mL/minute. This method was validated to prove the specificity, linearity, limit of detection, limit of quantitation, precision, accuracy, robustness and solutions stability in accordance with ICH guidelines. The Limit of Detection (LOD) was determined to be 0.02% for famotidine and its impurities, and 0.000025% to 0.015% for ibuprofen and its impurities. The Limit of Quantitation (LOQ) was established at 0.05% for famotidine and its impurities, and 0.0125% to 0.05% for ibuprofen and its impurities. The method was linear from 0.05% to 0.5% and 0.05% to 1.0% of the nominal concentration of Ibuprofen, famotidine and its related degradation products respectively. The method demonstrated accuracy over a range of 0.05% to 0.75% of the nominal concentration for famotidine degradation products and 0.05% to 0.25% for ibuprofen degradation products. The developed method was applied for the simultaneous quantitative determination of degradation products of Ibuprofen and Famotidine in the Combination Pharmaceutical Dosage Form and shelf-life stability studies.

Keywords: UPLC, Famotidine, Ibuprofen, Degradation Products, Forced Degradation

- INTRODUCTION

A stability indicating reverse phase ultra-performance liquid chromatographic (RP-UPLC) method was developed and validated for the simultaneous quantitative determination of degradation products of ibuprofen and famotidine in the combination pharmaceutical dosage form. Ibuprofen is a nonsteroidal anti-inflammatory drug (NSAID) and acts by inhibiting the synthesis of prostaglandins by blocking the enzyme¹,². Ibuprofen is chemically known as (RS)-2-(4-(2-methylpropyl) phenyl) propionic acid³,⁴ (Figure 1a). Its chemical formula is C₁₃H₁₈O₂, with a molecular weight of 206.2 g/mol.

Famotidine is a histamine H2-receptor antagonist that blocks the action of histamine on stomach cells and reduces acid production⁵-¹¹. Its chemical name is 3-[({2-[(diamino methylidene)amino]-1,3-thiazol-4-yl}methyl)sulfanyl]-N’-sulfamoyl propanimidamide¹²,¹³ (Figure 1b), and its chemical formula is C₈H₁₅N₇O₂S₃, with a molecular weight of 337 g/mol.

| Figure 1a: Ibuprofen | Figure 1b: Famotidine |
| --- | --- |

Ibuprofen and Famotidine are fixed-dose combination medications marketed for the treatment of rheumatoid arthritis and osteoarthritis. A literature search revealed that quantitative determination of degradation products with stability-indicating properties for the combination dosage form of Ibuprofen and Famotidine using RP-UPLC has not been reported14–21. However, the US Pharmacopoeia separately lists a few degradation products for Ibuprofen Tablets and Famotidine Tablets22-23 using HPLC. Currently, a monograph for the combined product containing both active drugs is not included in the pharmacopoeias.

This study develops and validates an RP-UPLC method for the simultaneous determination of degradation products in combination dosage form of ibuprofen and famotidine tablets. Stability studies of such fixed-dose combination drugs are crucial because they provide critical data for both regulatory authorities and the drug development process. While separate methods exist in the literature for both active substances, a validated method for simultaneous determination of degradation products is lacking. In this respect, this study makes a valuable contribution to the scientific community in pharmaceutical analysis. Furthermore, the validation of the method in accordance with ICH guidelines increases the reliability of the findings.

Six impurities of Ibuprofen and eight impurities of famotidine were used during the development of this stability indicating method. The method was validated according to the International Conference on Harmonization (ICH) Q2 (R2) guidelines and USP recommendations24.

For Ibuprofen, five impurities—Ibuprofen Related Compound J, Ibuprofen Related Compound N, Ibuprofen Related Compound C, Ibuprofen Related Compound A, and Ibuprofen Related Compound O were considered (Figure 2a). Two of these six impurities, Ibuprofen Related Compound A and Ibuprofen Related Compound O are process related, while the remaining four are degradation products.

For Famotidine, eight impurities - Famotidine Sulfoxide, Famotidine Related Compound A, Famotidine Related Compound B, Famotidine Related Compound C, Famotidine Related Compound D, Famotidine Related Compound E, Famotidine Related Compound F, and Famotidine Related Compound G were studied (Figure 2b). Two impurities, Famotidine Related Compound A and Famotidine Related Compound B, are process-related, whereas the other six are degradation products.

All degradation products of both Ibuprofen and Famotidine were observed to increase during stress and stability studies, confirming the method’s stability-indicating capability.

| Ibuprofen related compound J 2-(4-Isobutyryl phenyl)-propionic acid | Ibuprofen related compound L 1-Hydroxyibuprofen, 2-[4-(1-Hydroxy-2-methylpropyl)phenyl]propionic acid |
| --- | --- |
| Ibuprofen related compound N 2-(4-Ethylphenyl) propionic acid | Ibuprofen related compound C 4’-Isobutylacetophenone |
| Ibuprofen related compound A 2-(3-Isobutylphenyl) propionic acid | Ibuprofen related compound O 2-(4-Secbutylphneyl) propionic Acid |

Figure 2a: Chemical Structures of Ibuprofen Impurities

| Famotidine Sulfoxide | Famotidine Related Compound F |
| --- | --- |
| Famotidine Related Compound C | Famotidine Related Compound G |
| Famotidine Related Compound D | Famotidine Related Compound B |
| Famotidine Related Compound A | Famotidine Related Compound E |

Figure 2b: Chemical Structures of Famotidine Impurities

### Method Development and Optimization for Stability-Indicating Method:

### The method development studies were conducted to effectively and accurately differentiate both active ingredients, ibuprofen and famotidine, in the combination pharmaceutical dosage form, along with their specified and unspecified degradation products, using a single stability indicating method. The method was optimized to separate degradation products formed during forced degradation, considering the different physicochemical properties of the active ingredients - acidic ibuprofen and basic famotidine.

Method development initially began with isocratic and then gradient modes, using phosphate buffers at various pH values (3, 5, 6) and organic modifiers such as acetonitrile and methanol. Various stationary phases, including C18, C8, Phenyl, HILIC, and Cyano columns were evaluated to separate closely eluting peaks, such as Famotidine Impurity D from Famotidine and Famotidine Impurity B from Ibuprofen Impurity J. However, satisfactory separation between Famotidine and its Impurity D was not achieved. To overcome this, an acetate buffer at different pH values was introduced using the Acquity UPLC HSS T3 column. Better separation of all degradation products of famotidine and ibuprofen was achieved using Sodium Acetate Trihydrate buffer at pH 6.0 ± 0.1 with acetonitrile as the organic modifier in mobile phases “A” and “B”. Chromatographic separation was achieved using a Waters Acquity UPLC HSS T3 column (30 × 100 mm, 1.8 μm) at a flow rate of 0.5 mL/minute. The optimized experimental conditions allowed separation of all impurities and active substances within 40 minutes. The optimized method was specific, linear, precise, accurate, robusted, and stability indicating for determination of Ibuprofen and famotidine degradation products in the combination dosage form.

### 2. MATERIALS AND EXPERIMENTAL

Reference Standards:

Ibuprofen (USP Reference Standard), Famotidine (USP Reference Standard), Ibuprofen impurity standards (USP and Sigma-Aldrich Pharmaceutical Secondary Standards), and Famotidine impurity standards (Toronto Research Chemicals and Molcan Corporation) were used throughout the experiments.

Chemicals and Reagents:

Methanol and acetonitrile (HPLC grade) were obtained from Honeywell Chemicals Sodium Acetate Trihydrate, Sodium Acetate Anhydrous, Glacial Acetic Acid, and Triethylamine (ACS grade) were procured from Sigma-Aldrich. Water was purified using the Milli-Q® Benchtop Lab Water Purification System.

Instrumentation:

Chromatographic separation was performed using the Waters Acquity UPLC H-Class system equipped with a UV-Visible detector. Chromatographic data was collected and processed using Empower software.

Chromatographic Conditions:

Separation was achieved on an Acquity UPLC HSS T3 column (30 × 100 mm, 1.8-μm) maintained at 35°C. The mobile phase consisted of Mobile Phase “A” containing 10 mM Sodium Acetate Trihydrate buffer at pH 6.0 ± 0.1 and Mobile Phase “B” containing 10 mM Sodium Acetate Trihydrate buffer at pH 6.0 ± 0.1and acetonitrile in a 93:7 v/v ratio. The flow rate was 0.5 mL/min with gradient elution (Table 1). The injection volume was 5-μL, and analytes were detected at 265 nm with run time of 40 minutes.

Table 1: Gradient Conditions

| Time (minutes) | Flow (mL/minute) | Mobile phase A (%) | Mobile phase B (%) |
| --- | --- | --- | --- |
| 0.0 | 0.5 | 100 | 0 |
| 3.0 | 0.5 | 100 | 0 |
| 9.0 | 0.5 | 65 | 35 |
| 20.0 | 0.5 | 55 | 45 |
| 30.0 | 0.5 | 10 | 90 |
| 32.0 | 0.5 | 10 | 90 |
| 34.0 | 0.5 | 100 | 0 |
| 40.0 | 0.5 | 100 | 0 |

Diluent Preparation:

The diluent was prepared by mixing a pH 5.5 buffer, made with 0.5 M sodium acetate and 2 mL of trimethylamine, with methanol in a 1:1 v/v ratio.

Preparation of Standard Solution:

The standard solution was prepared containing Ibuprofen and Famotidine at concentrations of 8 µg/mL and 0.0665 µg/mL, respectively, in the diluent.

Preparation of Sensitivity Solution:

The sensitivity solution of Ibuprofen and Famotidine was prepared at concentrations of 2 µg/mL and 0.0665 µg/mL, respectively, in the diluent.

Preparation of Sample Solution:

Ten tablets were weighed and finely powdered. A quantity of powder equivalent to 26.6 mg of Famotidine and 800 mg of Ibuprofen was transferred into a 200 mL volumetric flask. To this flask, 50 mL of diluent was added, and the solution was sonicated for 15 minutes with intermittent shaking. The volume was then made up with diluent, and the solution was centrifuged at 5,000 rpm for 10 minutes.

Method Validation Study:

The stability indicating method was validated in terms of Specificity, Linearity, Limit of Detection (LOD), Limit of Quantitation (LOQ), Accuracy, Precision (Repeatability and Ruggedness), Robustness, and Solution Stability (standard and sample solutions).

Specificity:

Specificity is the ability to unequivocally assess the analyte in the presence of components that may be expected, such as impurities, excipients, or degradation products in the sample matrix. For assessing selectivity of the method, mobile phase, diluent, each individual impurity solution, sensitivity solution, standard solution, placebo solution, drug product sample solution, and spiked drug product sample solution containing all Famotidine and Ibuprofen impurities were prepared and injected.

Acceptance Criteria: No interference should be observed from the diluent, mobile phase, or placebo peaks at the retention time of any impurity, Famotidine, or Ibuprofen peak. All impurity peaks should be well separated from each other and from the Famotidine and Ibuprofen peaks, with a minimum USP resolution of not less than 1.2.

Figure 3a: Diluent Chromatogram

Figure 3b: Placebo Chromatogram

Figure 3c: Standard Chromatogram

Figure 3d: Drug Product Sample Chromatogram

Figure 3e: Spiked Drug Product Sample Chromatogram

Forced Degradation:

The forced degradation conditions were designed to result in approximately 5–20% degradation of the active pharmaceutical ingredients25. Overstressing the samples may generate irrelevant degradants that would never be seen in stability studies, while under stressing may fail to generate degradants that could form under real stability conditions26-30.

Forced degradation sample solutions, placebo, placebo with Famotidine, placebo with Ibuprofen and drug product samples were exposed to the following conditions - acidic (0.1 N HCl at 80°C for 1 hour), alkaline (0.5 N NaOH at 80°C for 1 hour), oxidative (5% H₂O₂ at 80°C for 1 hour), thermal (80°C for 3 days), and photolytic (1.2 million lux hours). After exposure, the samples were prepared and injected into the chromatographic system. The %impurity and total impurities of Famotidine and Ibuprofen were calculated at the end of the exposure times under each stress condition.

Table 2a: Stress Study Results for Ibuprofen in the Drug Product

| Stress condition | Ibuprofen Impurity C | Ibuprofen Impurity J | Ibuprofen Impurity L | Ibuprofen Impurity N | Ibuprofen Impurity K | Single Largest unknown Impurity | Total Impurities |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Control | <LOQ | <LOQ | ND | ND | ND | ND | <LOQ |
| Acidic | <LOQ | <LOQ | 0.389 | <LOQ | <LOQ | ND | 0.389 |
| Alkaline | <LOQ | 0.865 | ND | ND | <LOQ | ND | 0.865 |
| Oxidation | 5.289 | 2.029 | 1.268 | <LOQ | <LOQ | ND | 6.586 |
| Thermal | 1.265 | 0.529 | ND | <LOQ | <LOQ | 0.086 | 1.880 |
| Photolytic | <LOQ | <LOQ | ND | ND | <LOQ | ND | <LOQ |

Table 2b: Stress Study Results for Famotidine in the Drug Product:

| Stress condition | Famotidine Impurity C | Famotidine Sulfoxide | Famotidine Impurity D | Famotidine Impurity E | Famotidine Impurity F | Famotidine Impurity G | Single Largest Unknown Impurity | Total Impurities |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Control | 0.082 | 0.148 | 0.075 | ND | ND | <LOQ | 0.068 | 0.373 |
| Acidic | 1.562 | 0.262 | <LOQ | ND | ND | 0.956 | <LOQ | 2.780 |
| Alkaline | 1.976 | 2.112 | 1.845 | ND | <LOQ | ND | ND | 5.927 |
| Oxidation | <LOQ | 5.382 | <LOQ | ND | ND | 2.862 | 0.389 | 8.633 |
| Thermal | 0.367 | 1.529 | ND | ND | ND | <LOQ | ND | 1.896 |
| Photolytic | 0.098 | 0.168 | 1.386 | ND | ND | ND | <LOQ | 1.652 |

Linearity:

Prepared a series of diluted solutions containing Famotidine and Ibuprofen, along with their Famotidine-related degradation products (Impurity C, D, E, F, G, and Famotidine Sulfoxide) and Ibuprofen-related degradation products (Impurity C, J, and N) at six different concentration levels. The acceptance criteria were: the correlation coefficient between concentrations should be not less than 0.99, and the relative standard deviation of replicate injections at each level should be not more than 10.0%.

Table 3a: Linearity and Range Table for Famotidine and Related Degradation Products

| Component | %Linearity Level (~) | Conc. (µg/mL) | Correlation coefficient |
| --- | --- | --- | --- |
| Famotidine | 0.05 | 0.067 | 0.9992 |
|  | 0.10 | 0.133 |  |
|  | 0.25 | 0.333 |  |
|  | 0.50 | 0.665 |  |
|  | 1.00 | 1.330 |  |
| Famotidine Sulfoxide | 0.05 | 0.063 | 0.9995 |
|  | 0.10 | 0.124 |  |
|  | 0.25 | 0.327 |  |
|  | 0.50 | 0.658 |  |
|  | 1.00 | 1.340 |  |
| Famotidine Impurity C | 0.05 | 0.065 | 0.9996 |
|  | 0.10 | 0.132 |  |
|  | 0.25 | 0.326 |  |
|  | 0.50 | 0.659 |  |
|  | 1.00 | 1.340 |  |
| Famotidine Impurity D | 0.05 | 0.066 | 0.9997 |
|  | 0.10 | 0.129 |  |
|  | 0.25 | 0.331 |  |
|  | 0.50 | 0.662 |  |
|  | 1.00 | 1.331 |  |
| Famotidine Impurity E | 0.05 | 0.067 | 0.9994 |
|  | 0.10 | 0.143 |  |
|  | 0.25 | 0.339 |  |
|  | 0.50 | 0.656 |  |
|  | 1.00 | 1.331 |  |
| Famotidine Impurity F | 0.05 | 0.068 | 0.9999 |
|  | 0.10 | 0.131 |  |
|  | 0.25 | 0.334 |  |
|  | 0.50 | 0.662 |  |
|  | 1.00 | 1.336 |  |
| Famotidine Impurity G | 0.05 | 0.067 | 0.9997 |
|  | 0.10 | 0.128 |  |
|  | 0.25 | 0.334 |  |
|  | 0.50 | 0.669 |  |
|  | 1.00 | 1.336 |  |

Table 3b: Linearity and Range Table for Ibuprofen and Impurities

| Component | %Linearity Level (~) | Conc. (µg/mL) | Correlation coefficient |
| --- | --- | --- | --- |
| Ibuprofen | 0.05 | 2.008 | 0.9998 |
|  | 0.10 | 4.016 |  |
|  | 0.15 | 5.877 |  |
|  | 0.25 | 9.879 |  |
|  | 0.50 | 20.082 |  |
| Ibuprofen Impurity C | 0.05 | 2.058 | 0.9999 |
|  | 0.10 | 4.020 |  |
|  | 0.15 | 5.903 |  |
|  | 0.25 | 10.780 |  |
|  | 0.50 | 20.135 |  |
| Ibuprofen Impurity J | 0.05 | 2.012 | 0.9999 |
|  | 0.10 | 4.078 |  |
|  | 0.15 | 5.963 |  |
|  | 0.25 | 10.980 |  |
|  | 0.50 | 20.075 |  |
| Ibuprofen Impurity L | 0.05 | 2.034 | 0.9999 |
|  | 0.10 | 4.008 |  |
|  | 0.15 | 6.063 |  |
|  | 0.25 | 10.223 |  |
|  | 0.50 | 20.005 |  |
| Ibuprofen Impurity N | 0.05 | 1.986 | 0.9999 |
|  | 0.10 | 3.971 |  |
|  | 0.15 | 5.962 |  |
|  | 0.25 | 10.726 |  |
|  | 0.50 | 20.022 |  |
| Ibuprofen Impurity K | 0.05 | 2.086 | 0.9998 |
|  | 0.10 | 4.076 |  |
|  | 0.15 | 6.089 |  |
|  | 0.25 | 10.083 |  |
|  | 0.50 | 20.541 |  |

Limit of Detection (LOD):

The Limit of Detection (LOD) for Famotidine, Ibuprofen, and their related degradation products was established based on the signal-to-noise (S/N) ratio. The S/N ratio for each component should be not less than 3 and not more than 9.

Table 4a: LOD Results for Famotidine and related degradation products

| Component | LOD Level (%) | Concentration (mg/mL) | S/N (Average) |
| --- | --- | --- | --- |
| Famotidine | 0.02 | 2 × 10-2 | 5.6 |
| Famotidine Sulfoxide | 0.02 | 2 × 10-2 | 6.6 |
| Famotidine Impurity C | 0.02 | 2 × 10-2 | 4.0 |
| Famotidine Impurity D | 0.02 | 2 × 10-2 | 4.8 |
| Famotidine Impurity E | 0.02 | 2 × 10-2 | 4.3 |
| Famotidine Impurity F | 0.02 | 2 × 10-2 | 5.5 |
| Famotidine Impurity G | 0.02 | 2 × 10-2 | 3.9 |

Table 4b: LOD Results for Ibuprofen and related degradation products

| Component | LOD Level (%) | Concentration (µg/mL) | S/N (Average) |
| --- | --- | --- | --- |
| Ibuprofen | 0.005 | 2.0 × 10-1 | 5.4 |
| Ibuprofen Impurity C | 0.000025 | 1.0 × 10-3 | 4.8 |
| Ibuprofen Impurity J | 0.000025 | 1.0 × 10-3 | 6.2 |
| Ibuprofen Impurity L | 0.015 | 6.3 × 10-1 | 3.9 |
| Ibuprofen Impurity N | 0.015 | 6.0 × 10-1 | 7.1 |
| Ibuprofen Impurity K | 0.00125 | 5.1 × 10-2 | 4.5 |

Limit of Quantitation (LOQ):

The Limit of Quantitation (LOQ) for Famotidine and Ibuprofen, and their related degradation products, was established on the basis of the signal-to-noise (S/N) ratio. The signal-to-noise (S/N) ratio of each component should be not less than 10, and the relative standard deviation should be not more than 10%.

Table 5a: LOQ Results for Famotidine and related degradation products:

| Component | LOQ Level (%) | Concentration (µg/mL) | Peak Area | %RSD | S/N |
| --- | --- | --- | --- | --- | --- |
| Famotidine | 0.05 | 6.65 × 10-2 | 757 | 2.2 | 16.3 |
| Famotidine Sulfoxide | 0.05 | 5.97 × 10-2 | 473 | 9.2 | 24.0 |
| Famotidine Impurity C | 0.05 | 5.87 × 10-2 | 962 | 5.3 | 19.8 |
| Famotidine Impurity D | 0.05 | 6.26 × 10-2 | 1003 | 7.1 | 18.8 |
| Famotidine Impurity E | 0.05 | 6.97 × 10-2 | 807 | 3.8 | 17.7 |
| Famotidine Impurity F | 0.05 | 6.68 × 10-2 | 1151 | 8.3 | 19.8 |
| Famotidine Impurity G | 0.05 | 6.31 × 10-2 | 912 | 1.9 | 17.4 |

Table 5b: LOQ Results for Ibuprofen and related degradation products:

| Component | LOQ Level (%) | Concentration (µg/mL) | Peak Area | %RSD | S/N |
| --- | --- | --- | --- | --- | --- |
| Ibuprofen | 0.05 | 2.008 | 2336 | 4.6 | 15.9 |
| Ibuprofen Impurity C | 0.0125 | 0.497 | 8437 | 1.4 | 21.5 |
| Ibuprofen Impurity J | 0.0125 | 0.486 | 2947 | 0.9 | 23.7 |
| Ibuprofen Impurity L | 0.05 | 2.535 | 2189 | 2.8 | 17.9 |
| Ibuprofen Impurity N | 0.05 | 2.398 | 1841 | 5.9 | 24.4 |
| Ibuprofen Impurity K | 0.0125 | 0.496 | 3686 | 3.2 | 19.8 |

Accuracy:

The accuracy solutions were prepared in triplicate by spiking the related degradation impurities into the drug product at concentrations ranging from 0.05% to 0.75% for Famotidine impurities and from 0.05% to 0.3% for Ibuprofen impurities.

Table 6a: Accuracy Results for Famotidine related degradation products:

| Accuracy Level | Famotidine Sulfoxide | Famotidine Impurity C | Famotidine Impurity D | Famotidine Impurity E | Famotidine Impurity F | Famotidine Impurity G |
| --- | --- | --- | --- | --- | --- | --- |
| 0.05%-1 | 96.3 | 95.1 | 93.6 | 103.1 | 101.8 | 102.0 |
| 0.05%-2 | 92.4 | 98.6 | 107.8 | 98.9 | 96.5 | 107.1 |
| 0.05%-3 | 95.5 | 103.0 | 93.1 | 101.4 | 99.2 | 103.5 |
| 0.5%-1 | 102.1 | 100.3 | 94.8 | 98.8 | 102.9 | 97.5 |
| 0.5%-2 | 104.7 | 101.1 | 93.7 | 96.7 | 102.1 | 98.6 |
| 0.5%-3 | 102.8 | 100.9 | 93.0 | 95.8 | 101.8 | 99.6 |
| 0.75%-1 | 104.2 | 99.2 | 98.6 | 101.5 | 104.8 | 98.1 |
| 0.75%-2 | 103.8 | 96.4 | 98.6 | 100.3 | 103.9 | 97.4 |
| 0.75%-3 | 103.1 | 98.9 | 96.4 | 99.3 | 104.4 | 97.1 |
| SD | 4.54 | 2.43 | 4.75 | 2.33 | 2.63 | 3.43 |
| RSD | 4.52 | 2.45 | 4.92 | 2.34 | 2.58 | 3.42 |

Table 6b: Accuracy Results for Ibuprofen related degradation products:

| Accuracy Level | Ibuprofen Impurity C | Ibuprofen Impurity J | Ibuprofen Impurity L | Ibuprofen Impurity N | Ibuprofen Impurity K |
| --- | --- | --- | --- | --- | --- |
| 0.05%-1 | 95.92 | 103.51 | 97.18 | 94.47 | 99.61 |
| 0.05%-2 | 98.85 | 101.84 | 94.39 | 99.29 | 100.13 |
| 0.05%-3 | 96.81 | 102.8 | 96.92 | 98.29 | 102.3 |
| 0.15%-1 | 101.89 | 97.23 | 98.33 | 95.48 | 101.1 |
| 0.15%-2 | 102.84 | 98.07 | 95.7 | 99.58 | 102.6 |
| 0.15%-3 | 104.63 | 105.14 | 99.34 | 97.76 | 101.71 |
| 0.25%-1 | 103.88 | 98.97 | 98.07 | 100.16 | 99.6 |
| 0.25%-2 | 103.01 | 98.4 | 97.97 | 96.63 | 100.74 |
| 0.25%-3 | 103.27 | 98.03 | 99.05 | 98.52 | 102.07 |
| SD | 3.21 | 2.90 | 1.59 | 1.92 | 1.15 |
| RSD | 3.17 | 2.88 | 1.64 | 1.97 | 1.14 |

Precision:

The precision of the method was evaluated by preparing and analyzing the standard solution and six replicate drug product sample solutions spiked with all Famotidine and Ibuprofen degradation impurities. The acceptance criteria set for system precision (standard solution) were- theoretical plates for Famotidine and Ibuprofen peaks should be not less than 2000, tailing factor of peaks should be not more than 2.0, and the relative standard deviation (RSD) of Famotidine and Ibuprofen peaks from six replicate injections should be NMT 5%.

Repeatability and intermediate precision were used to evaluate the method precision. The acceptance criteria set for method precision (sample solution, Analyst 1) was the RSD of individual % of impurities from the six sample preparations should be not more than 10.0%. The acceptance criteria set for intermediate precision (sample solution, Analyst 2) was the RSD of individual % of all specified impurities from both chemists should be not more than 10.0%, and the relative difference between mean impurities of the two analysts should be not more than 20.0%.

Table 7: Precision Results for Ibuprofen related degradation products:

| Impurity Name | %Relative Standard Deviation (n=6 samples) |  | Overall %RSD (Analyst 1 & 2) | Relative Difference between Analyst 1 & 2 |
| --- | --- | --- | --- | --- |
|  | Method Precision (Repeatability) | Intermediate Precision |  |  |
| Sulfoxide | 1.8 | 1.3 | 3.0 | 4.8 |
| Impurity C | 3.14 | 8.4 | 4.7 | 7.7 |
| Impurity D | 1.45 | 3.7 | 3.3 | 4.4 |
| Famotidine Impurity E | 3.64 | 2.5 | 6.9 | 6.5 |
| Famotidine Impurity F | 1.28 | 5.8 | 6.5 | 3.6 |
| Famotidine Impurity G | 1.36 | 1.7 | 1.6 | 1.9 |
| Ibuprofen Impurity C | 2.9 | 5.0 | 2.0 | 2.7 |
| Ibuprofen Impurity J | 1.9 | 6.7 | 3.4 | 2.6 |
| Ibuprofen Impurity L | 3.6 | 5.1 | 1.7 | 1.4 |
| Ibuprofen Impurity N | 2.9 | 3.2 | 3.4 | 5.9 |
| Ibuprofen Impurity K | 5.6 | 4.8 | 1.32 | 1.6 |

Robustness:

The robustness of the method is to measure small, deliberate changes to method parameters remain unaffected to quantify and to separate degradation products, remain stability-indicating method. The robustness of the developed method was established by varying the column temperature by +5°C, the mobile phase flow rate by +0.05 mL/minute, altering mobile phase “A” and “B” composition by +5% of aqueous and +5% of organic, and adjusting the buffer pH by +0.1 units.  Robustness results should meet the system suitability criteria (Tailing Factor NMT 2.0 and %RSD NMT 5.0%) for standard injections, and the resolution between the closest eluting peaks in the spiked sample solution should be not less than 1.2 for each changed parameter.

Table 8: Robustness Results:

| Robustness Condition | Ibuprofen |  | Famotidine |  |
| --- | --- | --- | --- | --- |
|  | Retention time | Tailing factor | Retention time | Tailing factor |
| Normal | 18.965 | 1.1 | 5.353 | 1.0 |
| Column Temp. 30°C | 17.733 | 0.8 | 5.866 | 1.0 |
| Column Temp. 40°C | 16.851 | 0.8 | 5.527 | 0.9 |
| Flow rate 0.45 mL/min | 18.095 | 0.8 | 5.881 | 0.98 |
| Flow rate 0.55 mL/min | 16.899 | 0.8 | 5.529 | 0.9 |
| Buffer pH 5.9 | 18.615 | 1.1 | 5.068 | 1.0 |
| Buffer pH 6.1 | 19.284 | 1.1 | 5.791 | 0.9 |
| -5% Aqueous in mobile phase A | 18.891 | 1.0 | 5.207 | 0.9 |
| +5% Aqueous in mobile phase A | 16.832 | 1.1 | 5.909 | 1.0 |
| -5% Organic in mobile phase A | 19.292 | 1.1 | 5.676 | 0.9 |
| +5% Organic in mobile phase A | 19.395 | 1.1 | 5.763 | 0.9 |
| -5% Aqueous in mobile phase B | 17.266 | 0.8 | 5.715 | 0.9 |
| +5% Aqueous in mobile phase B | 17.276 | 0.8 | 5.727 | 0.9 |
| -5% ACN in mobile phase B | 17.577 | 0.8 | 5.734 | 1.0 |
| +5% ACN in mobile phase B | 16.974 | 0.8 | 5.691 | 0.9 |
| -5% MeOH in mobile phase B | 17.614 | 0.8 | 5.761 | 1.0 |
| +5% MeOH in mobile phase B | 17.504 | 0.8 | 5.737 | 1.0 |

Solution Stability:

Standard and spiked drug product sample solutions with all Famotidine and Ibuprofen related degradation products were prepared and analyzed initially, and after storage at room temperature for 24 and 48 hours. The acceptance criteria were set as ±5.0% of the initial value for the standard solution; the percentage relative difference of known impurities should not differ by more than 25% from the initial value, and any unknown impurities generated should not differ by more than 0.05% from the initial value.

Table 9a: Standard solution stability results:

| Time | Ibuprofen |  | Famotidine |  |
| --- | --- | --- | --- | --- |
|  | Assay (%) | Absolute Difference (%) | Assay (%) | Absolute Difference (%) |
| Initial | 101.1 | n/a | 98.8 | n/a |
| 24 hours | 99.3 | 1.8 | 100.5 | 1.7 |
| 48 hours | 99.4 | 1.7 | 99.0 | 0.2 |

Table 9b: Sample solution stability results:

| Impurity Name | %Relative Difference from Initial |  |
| --- | --- | --- |
|  | 24 hours | 48 hours |
| Famotidine Sulfoxide | 5.8 | 8.8 |
| Famotidine Impurity C | 6.7 | 8.4 |
| Famotidine Impurity D | 4.8 | 3.7 |
| Famotidine Impurity E | 3.5 | 2.5 |
| Famotidine Impurity F | 3.8 | 5.8 |
| Famotidine Impurity G | 1.9 | 1.7 |
| Ibuprofen Impurity C | 2.9 | 5.0 |
| Ibuprofen Impurity J | 1.9 | 6.7 |
| Ibuprofen Impurity L | 3.6 | 5.1 |
| Ibuprofen Impurity N | 2.9 | 3.2 |
| Ibuprofen Impurity K | 5.6 | 4.8 |

Method validation:

Method validation studies were performed on the finally optimized stability-indicating RP-UPLC method in accordance with the International Conference on Harmonization (ICH) Q2(R2) and USP recommendations. The validation parameters included System Suitability, Specificity, Linearity, Accuracy, Limit of Quantitation (LOQ), Limit of Detection (LOD), Precision (Repeatability and Ruggedness), Solution Stability, and Robustness.

3. RESULTS AND DISCUSSION:

Specificity:

Based on the specificity study results, no interference was observed from the diluent or placebo peaks at the retention times of degradation impurities, Famotidine and Ibuprofen peaks. All impurity peaks were well separated from each other and from the Famotidine and Ibuprofen peaks (Fig. 3a through 3c). The system suitability parameters met the acceptance criteria. The developed method was specific and selective for the quantitation of degradation products of Ibuprofen and Famotidine in the drug product.

Forced Degradation:

Forced degradation studies were performed on the combination drug product to demonstrate the stability-indicating nature of the method. All impurities, as well as degradation products generated by induced forced degradation, were well separated from the Famotidine and Ibuprofen peaks, demonstrating that the method can detect any degradation products formed during the forced degradation studies (Tables 2a and 2b). Hence, the method was considered stability indicating.

Linearity:

Linearity was established from 0.05% to 0.5% of the nominal concentration of Ibuprofen and its related degradation products, and from 0.05% to 1.0% of the nominal concentration of Famotidine and its related degradation products. Correlation coefficients between concentrations and peak areas were greater than 0.99 for all components, as presented in Tables 3a and 3b.

Limit of Detection (LOD) and Limit of Quantitation (LOQ):

The method sensitivity was evaluated using LOD and LOQ values for Ibuprofen, Famotidine, and their impurities. The signal-to-noise (S/N) ratio values for all components at LOD injections were within the acceptance criteria (refer to Tables 4a and 4b). Similarly, the %RSD and S/N ratio values for all components at LOQ injections met the acceptance criteria (refer to Tables 5a and 5b). The LOD was established at 0.02% for famotidine, and its impurities, 0.000025% to 0.015% for ibuprofen, and its impurities. The LOQ was established at 0.05% for famotidine, and its impurities, 0.0125% to 0.05% for ibuprofen, and its impurities.

Accuracy:

For all components at each level, the recovery values ranged between 92.4% and 107.1%. These results were consistent with theoretical values, confirming the accuracy of the proposed method (Tables 6a and 6b). The developed and validated test method was accurate from 0.05% to 0.75% of nominal sample concentration for Famotidine degradation products and from 0.05% to 0.25% for Ibuprofen degradation products.

Precision:

The %RSD values of Famotidine and Ibuprofen peaks obtained from six replicate injections of the standard solution were well within the acceptance criteria. The %RSD of each degradation impurity within an analyst, and the %RSD and %Relative Difference of each degradation impurity between two analysts (repeatability and intermediate precision), were not greater than 10.0% (Table 7), demonstrating that the method was precise.

Robustness:

Robustness results indicated that the method was robust under deliberate variations in chromatographic conditions, including flow rate, column temperature, mobile phase composition (aqueous and organic variations), and buffer pH (Table 8).

Solution Stability:

Solution stability analysis demonstrated that standard and spiked sample solutions were stable at room temperature for up to 48 hours (Tables 9a and 9b).

4. CONCLUSION:

A rapid, accurate, and reliable stability indicating RP-UPLC method for the simultaneous quantitative determination of degradation products of Ibuprofen and Famotidine in the combined dosage form was developed. The method validation was completed by assessing specificity, linearity, LOD, LOQ, precision, accuracy, robustness, and solution stability. Six impurities of Ibuprofen (Impurity C, Impurity J, Impurity L, Impurity N, and Impurity K) and eight impurities of Famotidine (Sulfoxide, Impurity C, Impurity D, Impurity E, Impurity F, and Impurity G) were included in the development studies. The method was validated according to ICH guideline Q2(R2). An analytical method for the combined drug product containing degradation products with stability-indicating properties using RP-UPLC is not available in the literature, highlighting the originality of this study. The method can be applied for impurity testing during Quality Control release and stability studies of the pharmaceutical combined dosage form.

Disclaimer (Artificial intelligence)

Author(s) hereby declare that No generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

REFERENCES:

- Rang, H.P., Dale, M.M., Ritter, J.M., Moore, P.K.; Pharmacology. Churchill Livingstone, Edinburgh, (2003)

- Bushra, R., Aslam, N.; An overview of clinical pharmacology of ibuprofen; Oman Medical Journal, (2010); 25: 155–161. https:// doi.org/10.5001/omj.2010.49

- Youness El Bakri, Shaaban K. Mohamed, Atazaz Ahsin, Mustafa R. Abayati, Sahar M.I. Elgarhy, Hatem A. Abuelizz, Rashad Al-Salahi, Muhammad Ashfaq, Ibuprofen-based heterocyclic compound: Synthesis, crystal structure, supramolecular inspection by Hirshfeld surface analysis and concise computational study, Journal of the Indian Chemical Society, Volume 102, Issue 8, 2025,101843,ISSN 0019-4522, doi.org/10.1016/j.jics.2025.101843.

- Moffat,A.C.,Widdop,B.,Clarke,E.G.;Clarke’sanalysis of drugs and poisonsin pharmaceuticals;InternationalJournalofToxicol-ogy,(2004);3:533. Pharmaceutical Press: Cornwall,UK.

- Mukherjee, R., Bhattacharya, A., Bojkova, D., Mehdipour, A.R., Shin, D., Khan, K.S., et al.; Famotidine inhibits toll-like receptor 3- mediated inflammatory signaling in SARS-CoV-2 infection; Journal of Biological Chemistry, (2021); 297: 100925. https://doi.o rg/10.1016/j.jbc.2021.100925.

- Humphries TJ, Merritt GJ. Review article: drug interactions with agents used to treat acid-related diseases. Aliment Pharmacol Ther. 1999 Aug;13 Suppl 3:18-26. doi: 10.1046/j.1365-2036.1999.00021.x. PMID: 10491725.

- Yasufumi H., Isao Y., Yoshi I. and Shinichi T., Guanidinothiazole compounds, process for preparation and gastric inhibiting compositions containing them, US Patent No. 4283408, (1981)

- Smith JL. Clinical pharmacology of famotidine. Digestion. 1985;32 Suppl 1:15-23. doi: 10.1159/000199257. PMID: 2866132.

- Reynolds JC. Famotidine therapy for active duodenal ulcers. A multivariate analysis of factors affecting early healing. Ann Intern Med. 1989 Jul 1;111(1):7-14. doi: 10.7326/0003-4819-111-1-7. PMID: 2567589.

- Taha A.S., Laine L.A. and Grahn A., Reducing the incidence of peptic ulcers with Ibuprofen-Famotidine combined pill, HZT-501 (reduce): phase-III, double-blind multi-centre trials, Gut, 60, A8-A9 (2011)

- M. J. O’Neil, The Merck Index, Merck & Co., Whitehouse Station, NJ, USA, 13th edition, 2001.

- A. C. Moffat, M. D. Osselton, B. Widdop, and E. G. Clarke, Clarke’s, Analysis of Drugs and Poisons in Pharmceuticals,       Pharmaceutical Press, Cornwall, UK, 3rd edition, 2004.

- Han, Z., Lu, L., Wang, L., Yan, Z., Wang, X.; Development and validation of an HPLC method for simultaneous determination of ibuprofen and 17 related compounds; Chromatographia, (2017); 80: 1353–1360. https://doi.org/10.1007/s10337-017-3358-3.

- Radi, M., Ramli, Y., Karbane, M., Elalami, A., Karrouchi, K., Bekkali, A., et al.; Optimization and validation of a method for determination of ibuprofen by HPLC in different pharmaceutical forms: Tablet, syrup, gel and suppository; Journal of Chemical and Pharmaceutical Research, (2014); 6: 301–304.

- Alsirawan, M.B., Mohammad, M., Al-kasmi, B., Alhareth, K., El- Hammadi, M.; Development and validation of a simple HPLC method for the determination of ibuprofen sticking onto punch faces; International Journal of Pharmacy and Pharmaceutical Sci- ences, (2013); 5: 227–231.

- Nita, A., Tit, D.M., Copolovici, L., Melinte, C.E., Copolovici, D.M., Bungau, S., et al.; HPLC-UV method for determination of famoti- dine from pharmaceutical products; Revista de Chimie (Bucharest), (2018); 69: 297–299. https://doi.org/10.37358/RC.18.2.6093.

- Reddy, Y.R., Kumar, K.K.,  Reddy,  M.R.P.,  Mukkanti,  K.;  RP- UPLC method development and validation for the simultaneous estimation of ibuprofen and famotidine in pharmaceutical dosage form; Pharmaceutical Methods, (2012); 3: 57–61. https://doi.o rg/10.4103/2229-4708.103873.

- Helali N, Tran NT, Monser L, Taverna M. Capillary zone electrophoresis method for the determination of famotidine and related impurities in pharmaceuticals. Talanta. 2008 Jan 15;74(4):694-8. doi: 10.1016/j.talanta.2007.06.036. Epub 2007 Jul 1. PMID: 18371695.

- Sajid Husain, Sara Khalid, Nagaraju V, Nageswara Rao R. Highperformance liquid chromatographic separation and determination of small amounts of process impurities of famotidine in bulk drugs and formulations. J Chromatogr A 1996; 743: 328-34. https://doi.org/10.1016/0021-9673(96)00263-4.

- Beaulieu N, Graham SJ, Sears RW, Lovering EG. Validation of a method for the assay of related compounds in famotidine raw materials and formulations. J Pharm Biomed Anal. 1989;7(12):1705-9. doi: 10.1016/0731-7085(89)80184-0. PMID: 2490558.

- Helali, N., Darghouth, F. & Monser, L. RP-HPLC Determination of Famotidine and its Potential Impurities in Pharmaceuticals. Chromatographia 60, 455–460 (2004). https://doi.org/10.1365/s10337-004-0386-6

- USP Monograph for Famotidine Tablets

- USP Monograph for Ibuprofen Tablets

- ICH Harmonized Guideline: Validation of Analytical Procedures Q2(R2)

- Alsante KM, Ando A, Brown R, Ensing J, Hatajik TD, Kong W, Tsuda Y. The role of degradant profiling in active pharmaceutical ingredients and drug products. Adv Drug Deliv Rev. 2007 Jan 10;59(1):29-37. doi: 10.1016/j.addr.2006.10.006. Epub 2006 Nov 15. PMID: 17187892.

- Ruan J., Tattersall P., Lozano R. and Shah P., The role of forced degradation studies in stability indicating HPLC method development, Am. Pharmaceut. Rev., 9, 46-53, (2009)

- O'Neill R, Yoo O, Burcham P, Nguyen M, Lim LY. Development and Validation of a Stability-Indicating RP-HPLC Method for Edaravone Quantification. Molecules. 2025 Jul 5;30(13):2866. doi: 10.3390/molecules30132866. PMID: 40649379; PMCID: PMC12250966.

- Lixiang Zhang, Xinyu Li, Jiansong Zhang, Xiao Wang, Yuqing Fu. A Validated, Stability-Indicating HPLC Method for the Simultaneous Determination of Five Related Substances in Liraglutide Drug Substance. Biomedical Chromatography. July 2025, Volume 39, issue 7;doi.org/10.1002/bmc.70118

- Marie AA, Yassin MG, Elshenawy EA. Stability indicating RP-HPLC method for estimation of finerenone and its related substances in new dosage form. Sci Rep. 2025 Jun 20;15(1):20229. doi: 10.1038/s41598-025-07166-4. PMID: 40542131; PMCID: PMC1218128, doi.org/10.1038/s41598-025-07166-4

- Chinna Reddy Palem*, Vamshi Krishna Lekkala, Nishanth Kumar Nagamalli, Praveen Rao Balguri, Sridhar Gumudevelli, Next-Generation Dry Powder Inhalers: Advances in Characterization and Evolving Regulatory Frameworks, J. Pharm. Sci., 2025, 1 (9), 160-177. doi.org/10.5281/zenodo.17168847