Review Article

Advanced Detection and Biosensor Approaches for Cyanotoxin Monitoring in Aquatic Environment

ABSTRACT

The increasing frequency and geographic expansion of harmful cyanobacterial blooms have intensified global concerns regarding cyanotoxin contamination in freshwater systems and the associated risks to public health and ecosystem stability. Effective surveillance requires sensitive, selective, and reliable detection methods capable of addressing structurally diverse toxins, including microcystins, cylindrospermopsin, anatoxins, saxitoxins, and β-N-methylamino-L-alanine. This review describes the classification, global distribution, and toxicological significance of major cyanotoxins and critically evaluates current and emerging detection strategies. Conventional chromatographic techniques, particularly liquid chromatography–tandem mass spectrometry (LC–MS/MS), remain the reference standard due to their high sensitivity, structural specificity, and multi-toxin quantification capability, while high-resolution mass spectrometry enables non-target screening and identification of novel toxin variants. Immunological assays and protein phosphatase inhibition assays are examined as rapid and cost-effective screening tools, although their analytical limitations are discussed. The review highlights advances in biosensor technologies, including electrochemical immunosensors, aptamer-based sensors, molecularly imprinted polymer sensors, surface plasmon resonance systems, surface-enhanced Raman spectroscopy, microfluidic lab-on-a-chip platforms, multiplexed sensor arrays, and lateral flow immunoassays, emphasizing their sensitivity, portability, and potential for real-time monitoring. Comparative evaluation of detection limits and operational characteristics demonstrates that no single technique satisfies all requirements of ultra-trace sensitivity, structural confirmation, cost-effectiveness, portability, and multiplex capability. Therefore, an integrated tiered monitoring framework combining rapid screening tools with confirmatory mass spectrometric analysis is recommended. Continued methodological innovation and harmonization will be essential to strengthen cyanotoxin surveillance under evolving environmental and climatic pressures.

Keywords: Cyanotoxins; Harmful algal blooms; LC–MS/MS; High-resolution mass spectrometry; Biosensors; Aptasensors; Lateral flow immunoassay; Water quality monitoring; Early-warning systems; Environmental risk assessment

- INTRODUCTION

Cyanobacterial overgrowth, commonly referred to as harmful cyanobacterial blooms (HCBs), develops under favorable environmental conditions, including elevated nutrient concentrations, increased water temperature, and variations in salinity(Paerl et al., 2011). In recent years, these blooms have become a global environmental and public health concern, primarily due to their impact on drinking water resources. Water bodies may become contaminated either by cyanobacterial cells themselves or by their secondary metabolites, collectively known as cyanotoxins(Rastogi et al., 2015). It is estimated that approximately 50% of algal blooms produce toxins that pose significant risks to aquatic ecosystems, terrestrial organisms, livestock, and human health(Igwaran et al., 2024). To date, more than one hundred cyanotoxins with diverse chemical structures and toxicological properties have been identified. Based on their primary target organs, cyanotoxins are generally classified into three major groups: hepatotoxins, neurotoxins, and dermatotoxins (Abdallah et al., 2021). Based on their primary target organs, cyanotoxins are generally classified into three major groups: hepatotoxins, neurotoxins, and dermatotoxins(Carmichael, 1992). Cyanobacterial toxins are found in both freshwater and marine environments and have been reported in many countries across the world, including extreme regions such as the Arctic and arid desert areas(Du et al., 2019). This shows that cyanotoxins are globally widespread. However, their distribution pattern, concentration, and level of toxicity vary from one region to another, depending on local environmental and ecological conditions(Svirčev et al., 2019). Cyanobacteria produce various secondary toxic compounds called cyanotoxins, which are released into the surrounding water mainly after cell death and lysis. The presence of these toxins deteriorates water quality in aquaculture systems and agricultural settings, creating significant health risks for both humans and animals(Atoui et al., 2013; Carmichael, 1992).

- CLASSIFICATION AND TOXICOLOGICAL DIVERSITY OF CYANOTOXINS

Cyanobacteria synthesize a diverse array of biologically active secondary metabolites collectively known as cyanotoxins, which pose significant risks to aquatic ecosystems and public health. Based on their primary target organs and mechanisms of toxicity, cyanotoxins are broadly categorized into five major groups(Benayache et al., 2019). Hepatotoxins, including cylindrospermopsin (CYN), microcystins (MCs), and nodularins) (NOD) (Table 1), primarily target the liver and are among the most frequently detected toxins in freshwater environments(Abreu et al., 2018; AlKahtane et al., 2020; Bouaïcha et al., 2019). These compounds are associated with both acute hepatic injury and long-term toxic effects. Neurotoxins such as anatoxin-a (ATX), saxitoxins (STX), and β-N-methylamino-L-alanine (BMAA) affect the nervous system, leading to neuromuscular dysfunction, respiratory distress, and in severe cases, paralysis(Al-Sammak et al., 2013; Bumke-Vogt et al., 1996; Lajeunesse et al., 2012). Dermatotoxins induce skin irritation and inflammatory responses upon direct exposure, particularly during recreational or occupational contact with contaminated water. Cytotoxins exert generalized cellular toxicity by interfering with essential metabolic processes, including protein synthesis. Additionally, irritant toxins such as lipopolysaccharides (LPS) contribute to inflammatory and allergic reactions, potentially aggravating existing health conditions. It is important to note that toxin production is not restricted to a single cyanobacterial genus; multiple genera are capable of producing the same class of toxins. This overlap in toxin synthesis complicates environmental monitoring, source attribution, and risk assessment in affected aquatic systems(Agathokleous & Peñuelas, 2022; Humbert et al., 2010).

Table:1 Major Cyanotoxins, Target Organs, Producing Genera, and Toxicological Characteristics

| Toxin Class | Major Toxins | Primary Target Organ/System | Common Producing Genera | Mechanism of Action | Major Health Effects | References |
| --- | --- | --- | --- | --- | --- | --- |
| Hepatotoxins | Microcystins (MCs) | Liver | Microcystis, Anabaena (Dolichospermum), Planktothrix, Nostoc | Inhibition of protein phosphatases (PP1, PP2A) | Hepatic hemorrhage, liver failure, tumor promotion | (Bostan et al., 2018) |
|  | Nodularins (NOD) | Liver | Nodularia | Protein phosphatase inhibition | Severe hepatotoxicity | (Galat et al., n.d.) |
|  | Cylindrospermopsin (CYN) | Liver (also kidney) | Cylindrospermopsis, Aphanizomenon, Raphidiopsis | Inhibition of protein synthesis, oxidative stress | Hepatotoxicity, nephrotoxicity | (Bláhová et al., 2009) |
| Neurotoxins | Anatoxin-a (ATX) | Nervous system | Anabaena (Dolichospermum), Oscillatoria, Aphanizomenon | Nicotinic acetylcholine receptor agonist | Muscle paralysis, respiratory failure | (Rantala-Ylinen et al., 2011) |
|  | Saxitoxin (STX) | Nervous system | Aphanizomenon, Dolichospermum, Lyngbya | Blockage of voltage-gated sodium channels | Paralytic shellfish poisoning-like symptoms | (Hoff-Risseti et al., 2013) |
|  | β-N-methylamino-L-alanine (BMAA) | Nervous system | Nostoc, Anabaena, Microcystis | Excitotoxicity, protein misincorporation | Neurodegenerative disorders | (Stewart et al., 2012) |
| Dermatotoxins | Lyngbyatoxin-a | Skin | Lyngbya | Protein kinase C activation | Dermatitis, skin inflammation | (Chorus, n.d.) |
|  | Aplysiatoxins | Skin | Lyngbya | Tumor-promoting activity | Severe skin irritation | (Banker et al., 2000) |
| Cytotoxins | Cylindrospermopsin (also cytotoxic) | Multiple organs | Cylindrospermopsis, Raphidiopsis | Inhibition of protein synthesis | Multi-organ toxicity | (Bláhová et al., 2009; Hoff-Risseti et al., 2013) |
| Irritant Toxins | Lipopolysaccharides (LPS) | Immune system / Skin | Many cyanobacterial genera | Endotoxin-mediated inflammatory response | Fever, gastrointestinal and dermal irritation | (Svirčev et al., 2019) |

- STRUCTURAL DIVERSITY AND BIOSYNTHETIC PATHWAYS OF CYANOTOXINS

Cyanotoxins comprise structurally heterogeneous secondary metabolites whose biological activity is closely linked to their molecular configuration and biosynthetic origin. Rather than forming a single chemical family, these compounds arise from distinct metabolic pathways, primarily involving modular non-ribosomal peptide synthetase (NRPS) and polyketide synthase (PKS) systems(Gademann & Portmann, 2008). The modular organization of these enzymatic complexes enables structural variability, resulting in numerous toxin congeners with diverse physicochemical and toxicological characteristics. Peptide-derived hepatotoxins, such as microcystins and nodularins, possess macrocyclic frameworks that provide conformational rigidity and enhanced resistance to enzymatic degradation. In microcystins, the hydrophobic Adda moiety plays a central role in biological activity by facilitating high-affinity interactions with intracellular protein phosphatases(Kurmayer et al., 2020). Variability in amino acid residues within the cyclic structure gives rise to multiple congeners, each differing in toxicity and environmental stability. The cyclic configuration contributes not only to persistence in aquatic systems but also to selective accumulation in hepatic tissues. Alkaloid toxins demonstrate distinct structural features. Cylindrospermopsin contains a guanidinium group embedded within a tricyclic backbone and incorporates a uracil-like component, which together influence solubility and systemic distribution(Evans et al., 2019). Anatoxin-a is a compact bicyclic amine whose structural resemblance to endogenous neurotransmitters underlies its interaction with cholinergic receptors. Saxitoxins consist of complex heterocyclic scaffolds enriched with guanidinium functionalities that enable strong electrostatic interactions with voltage-gated sodium channels, thereby inhibiting neuronal signal transmission(Durán-Riveroll & Cembella, 2017).

- GLOBAL DISTRIBUTION AND GEOGRAPHIC EXPANSION OF CYANOTOXINS

Cyanotoxins have been reported from freshwater, brackish, and marine ecosystems across all inhabited continents, reflecting the ecological plasticity of toxin-producing cyanobacteria and their capacity to colonize diverse climatic zones. Historically, toxin occurrence was considered largely restricted to eutrophic temperate lakes; however, increasing surveillance and improved analytical techniques have revealed a far broader geographic distribution(Carmichael, 2001). Among the known cyanotoxins, microcystins remain the most frequently detected compounds worldwide, with documented presence in Europe, North America, Asia, Africa, South America, and even polar regions. Their widespread occurrence is largely attributed to bloom-forming genera such as Microcystis, Dolichospermum, and Planktothrix, which thrive under nutrient-enriched and thermally stratified conditions(Gaysina et al., 2024).

Cylindrospermopsin, initially described from tropical and subtropical regions, has demonstrated a notable poleward expansion over the past two decades. Reports from temperate Europe and East Asia indicate that its distribution is no longer geographically constrained, suggesting that climatic warming and hydrological modifications may be facilitating the dispersal of cylindrospermopsin-producing taxa such as Raphidiopsis(Hoff-Risseti et al., 2013). Similarly, saxitoxins and anatoxins, traditionally associated with localized freshwater systems and marine environments, are increasingly documented in inland water bodies, indicating overlapping ecological niches and adaptive flexibility among toxin-producing strains. Brackish and estuarine systems represent another important ecological interface, particularly for nodularins, which are frequently reported from semi-enclosed seas such as the Baltic region (Table 2). Meanwhile, marine cyanotoxins including lyngbyatoxins are primarily observed in tropical coastal ecosystems, where elevated sea surface temperatures and nutrient influx promote harmful algal proliferations(Ramya et al., 2024).

Notably, the detection of cyanotoxins in polar and high-altitude environments challenges earlier assumptions regarding their thermal limitations. Evidence from Antarctic and alpine lakes suggests that toxin biosynthesis is not restricted to warm climates but may instead represent an adaptive ecological strategy. Collectively, these observations indicate that cyanotoxin distribution is shaped by a complex interplay of climatic, physicochemical, and biogeographical factors(Dalu & Wasserman, 2018)

Table 2: Global Distribution and Characteristics of Major Cyanotoxins

| Toxin | Chemical Nature | Key Structural Feature | Molecular Weight (approx.) | Major Producing Genera | Typical Aquatic Environment | Global Distribution Pattern | References |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Microcystins (MCs) | Cyclic heptapeptide | Adda side chain (3-amino-9-methoxy-2,6,8-trimethyl-10-phenyldeca-4,6-dienoic acid); stable cyclic ring | ~995–1050 Da (variant dependent) | Microcystis, Dolichospermum, Planktothrix, Nostoc | Freshwater lakes, reservoirs, ponds | Most widespread cyanotoxin; reported on all continents including Antarctica | (Zagorevskii et al., 1997) |
| Nodularins (NODs) | Cyclic pentapeptide | Adda-like moiety; smaller peptide ring than MCs | ~824 Da | Nodularia | Brackish waters, estuaries | Common in Baltic Sea; also Australia and polar regions | (Foss et al., 2020) |
| Cylindrospermopsin (CYN) | Tricyclic guanidinium alkaloid | Guanidinium group linked to hydroxymethyluracil | ~415 Da | Raphidiopsis, Aphanizomenon, Dolichospermum | Freshwater reservoirs; tropical & subtropical systems | Expanding distribution in Europe, Asia, Americas, Australia | (Cartmell et al., 2017) |
| Anatoxin-a (ATX-a) | Bicyclic secondary amine alkaloid | Structural analog of acetylcholine; small bicyclic amine | ~165 Da | Dolichospermum, Oscillatoria, Aphanizomenon | Rivers, lakes, benthic mats | Reported in Europe, North America, Asia; increasing detections | (Mir et al., 2024) |
| Saxitoxins (STXs) | Tetrahydropurine alkaloid | Multiple guanidinium groups; highly polar | ~299 Da (parent STX) | Aphanizomenon, Dolichospermum, Lyngbya | Freshwater and coastal systems | Global distribution; inland and marine environments | (Testai et al., 2016) |
| β-N-methylamino-L-alanine (BMAA) | Non-protein amino acid | Small polar amino acid derivative | ~118 Da | Nostoc, Microcystis, marine cyanobacteria | Freshwater, marine, symbiotic systems | Detected in Europe, Asia, Americas | (Koksharova & Safronova, 2022) |
| Lyngbyatoxin-a | Indole alkaloid | Indolactam core; PKC-activating structure | ~437 Da | Lyngbya | Marine tropical waters | Pacific Ocean, Caribbean regions | (Du et al., 2019) |
| Lipopolysaccharides (LPS) | Endotoxin (cell wall component) | Lipid A + polysaccharide chain | Variable (high MW) | Multiple cyanobacterial genera | Freshwater and marine blooms | Globally present during cyanobacterial proliferations | (Stewart et al., 2006) |

5. DETECTION OF CYANOTOXINS

5.1. TARGETED ANALYTICAL METHODS

Targeted analytical methods remain the cornerstone of cyanotoxin detection, particularly for regulatory compliance and quantitative risk assessment. These approaches are designed to identify and quantify predefined toxin congeners with high sensitivity and selectivity. High-performance liquid chromatography (HPLC) coupled with ultraviolet (UV) or diode-array detection has historically been employed for microcystin analysis; however, limited specificity and co-elution challenges reduce its reliability in complex environmental matrices(Massey et al., 2020).

Liquid chromatography coupled with tandem mass spectrometry (LC–MS/MS) is currently regarded as the reference analytical platform. This technique enables simultaneous multi-toxin quantification with low detection limits, structural confirmation, and high reproducibility. Targeted LC–MS/MS methods are especially effective for microcystin congeners, cylindrospermopsin, anatoxins, and saxitoxins. The use of isotope-labeled internal standards further enhances analytical accuracy and compensates for matrix suppression effects. Despite its robustness, high operational cost and technical complexity limit accessibility in resource-constrained monitoring programs(Jacinavicius et al., 2023).

5.2. NON-TARGETED SCREENING APPROACHES

Non-targeted analytical strategies have gained increasing importance due to the discovery of emerging and structurally modified cyanotoxins. High-resolution mass spectrometry (HRMS), including quadrupole time-of-flight (QTOF) and Orbitrap systems, enables suspect and unknown screening without prior knowledge of toxin identity. This approach allows retrospective data analysis, which is particularly valuable when new toxin analogues are identified after sample collection(Ortiz et al., 2017). While non-targeted methods provide broader chemical coverage, challenges remain in compound annotation, spectral database limitations, and quantification without reference standards. Nonetheless, integration of non-targeted workflows with targeted confirmation significantly strengthens comprehensive cyanotoxin surveillance programs.

5.3. MOLECULAR AND GENOMIC DETECTION TOOLS

Molecular detection focuses on identifying toxin biosynthesis potential rather than the toxins themselves. Polymerase chain reaction (PCR)-based techniques target specific gene clusters responsible for toxin production, such as mcy (microcystins), cyr (cylindrospermopsin), sxt (saxitoxins), and ana (anatoxins)(Yuan & Yoon, 2022). Quantitative PCR (qPCR) allows estimation of gene copy numbers, providing insights into the abundance of toxin-producing genotypes. Digital PCR offers enhanced precision for low-abundance targets and complex matrices. Although gene detection does not confirm active toxin synthesis, it provides an early warning indicator before measurable toxin accumulation occurs. Advances in metagenomics and metatranscriptomics further enable evaluation of functional expression patterns, linking environmental drivers with toxin biosynthetic activity.(Y. Zhang et al., 2021)

.

Figure 1: Overview of major analytical approaches for cyanotoxin detection, including bioassays, immunoassays (ELISA), chromatographic–mass spectrometric techniques (LC–MS/MS, HRMS), molecular gene-based methods, and emerging biosensor technologies.

5.4. RAPID AND IN SITU DETECTION TECHNOLOGIES

Rapid and field-deployable detection technologies are increasingly being developed to enable timely assessment of cyanotoxins in aquatic environments. Immunochemical methods, particularly enzyme-linked immunosorbent assays (ELISA), remain widely used for preliminary screening due to their operational simplicity, cost-effectiveness, and high analytical throughput(J. Liu et al., 2023). Nevertheless, cross-reactivity among toxin congeners and matrix-related interferences may compromise quantitative accuracy, thereby necessitating confirmatory analysis using more selective instrumental techniques for regulatory applications.

Biosensor-based platforms employing electrochemical, optical, or aptamer-based recognition elements represent emerging alternatives for on-site toxin detection. Advances in nanomaterials and signal transduction systems have enhanced analytical sensitivity, specificity, and response time. These technologies offer rapid quantification with minimal sample preparation, supporting decentralized monitoring strategies in both drinking water treatment facilities and natural water bodies(Y. Li et al., 2024; Z. Li et al., 2019).

Portable analytical devices and microfluidic systems further contribute to in situ detection by reducing reliance on centralized laboratory infrastructure. Such systems are particularly advantageous in remote or resource-limited settings where immediate analytical feedback is critical for risk management decisions. Although remote sensing technologies are primarily applied to estimate cyanobacterial biomass rather than direct toxin concentrations, they play an important role in early warning systems. Surveillance data, can improve predictive modeling of toxin occurrence and bloom toxicity potential. Collectively, rapid and in situ detection technologies enhance temporal monitoring resolution and strengthen proactive management frameworks for cyanobacterial bloom events(Akbarnejad Nesheli et al., 2024).

5.5 BIOSENSOR TECHNOLOGIES

Biosensors have emerged as versatile and sensitive platforms for cyanotoxin detection, combining a selective biorecognition element with a physical transducer to convert binding events into measurable signals. They offer rapid response, high sensitivity, and potential for field deployment, making them highly suitable for environmental monitoring of cyanotoxins(Kulabhusan & Campbell, 2021; Y. Li et al., 2024). Detection limits for biosensors often range from 0.1 to 5 ng/L, approaching those of advanced chromatographic techniques, while reducing sample preparation time and reagent use. Key biosensor types include:

5.5.1 Aptamer-Based Sensors (Aptasensors)

Aptasensors utilize short single-stranded DNA or RNA molecules that specifically bind to target cyanotoxins such as microcystins, cylindrospermopsin, and saxitoxins. Compared to antibodies, aptamers offer higher chemical stability, reproducibility, and cost-effectiveness. Electrochemical aptasensors detect binding events via changes in current, voltage, or impedance, achieving detection limits of 0.1–2 ng/L. Optical aptasensors, including fluorescence and FRET-based designs, allow real-time monitoring with enhanced signal amplification. Aptasensors are particularly suitable for portable, on-site monitoring and can be adapted for multiplexed detection of multiple toxins in complex water matrices(Lan et al., 2022; K. Zhang et al., 2020).

5.5.2 Electrochemical Immunosensors

Electrochemical immunosensors combine antigen–antibody interactions with electrochemical transduction. They are highly sensitive (LOD: 0.1–5 ng/L) and can provide rapid, quantitative results. Integration with nanomaterials, such as gold nanoparticles or graphene, enhances surface area and electron transfer efficiency, improving sensitivity and response time. These sensors are suitable for both laboratory and field applications, though careful matrix validation is required(X. Liu et al., 2019).

5.5.3 Molecularly Imprinted Polymer (MIP) Sensors

MIP-based sensors employ synthetic polymers with specific binding sites complementary to the target cyanotoxin. They are chemically stable, reusable, and resistant to harsh environmental conditions. MIP sensors have achieved LODs in the range of 0.5–5 ng/L.(García et al., 2022) While less sensitive than aptasensors in some cases, their robustness and long shelf-life make them advantageous for remote or decentralized monitoring programs.

5.5.4 Optical Biosensors

Optical biosensors include surface plasmon resonance (SPR), localized SPR (LSPR), surface-enhanced Raman spectroscopy (SERS), fluorescence, and chemiluminescence platforms. SPR and LSPR allow label-free, real-time monitoring of toxin–receptor interactions with LODs typically between 10–70 ng/L. SERS offers ultra-trace detection (LOD: 0.01–1 ng/L) using plasmonic nanostructures, while fluorescence and chemiluminescence provide highly sensitive signal amplification for rapid assays(Nurrohman & Chiu, 2021). Optical biosensors are particularly valuable for mechanistic studies, early-warning systems, and multi-toxin detection.

5.5.7 Lateral Flow Immunoassays (LFIA)

Lateral flow assays are paper-based devices designed for rapid, on-site detection of cyanotoxins. They are simple, inexpensive, and provide qualitative or semi-quantitative results within minutes(Kinyua et al., 2025). LODs typically range from 1–50 ng/L. LFIA is particularly useful for preliminary screening in decentralized monitoring programs, though confirmatory laboratory analysis is recommended for regulatory purposes.

5.5.8 Multiplexed and Array-Based Biosensors

Multiplexed biosensors combine multiple recognition elements to detect several cyanotoxins simultaneously. These platforms, including microarrays and sensor arrays, improve monitoring efficiency and provide a comprehensive assessment of cyanotoxin presence in environmental samples. Sensitivity varies with the platform, generally achieving LODs in the 0.1–10 ng/L range(Z. Li et al., 2019).

Table 3:. Analytical Performance and Sensitivity of Cyanotoxin Detection Methods

| Detection Technique | Typical LOD Range | Target Toxins (Common) | Analytical Capabilities | References |
| --- | --- | --- | --- | --- |
| HPLC–UV/DAD | 0.5–1 µg/L | MCs | Limited specificity; matrix interference possible | (Bouteiller et al., 2022) |
| HPLC–FLD (Fluorescence Detection) | 0.02–0.1 µg/L | MCs, CYN (after derivatization) | Improved sensitivity; requires chemical derivatization | (Zeng et al., 2017) |
| LC–MS/MS | 0.01–0.5 ng/L | MCs, CYN, ATX, STXs | Gold standard; high specificity and multi-toxin capability | (Volante & Villa, 2017) |
| High-Resolution MS (Orbitrap/QTOF) | 0.1–1 ng/L | MC variants, emerging toxins | Enables non-target and suspect screening | (Picardo et al., 2021) |
| ELISA | 0.05–0.1 µg/L | Primarily MCs, CYN, STXs | Rapid screening; congener cross-reactivity possible | (He et al., 2017) |
| Protein Phosphatase Inhibition Assay (PPIA) | ~0.1 µg/L | Microcystins, Nodularins | Functional toxicity-based detection | (Alba Posse et al., 2023) |
| Electrochemical Immunosensors | 0.5–5 ng/L | MC-LR mainly | Portable; enhanced sensitivity via nanomaterials | (Dai et al., 2025) |
| Aptamer-Based Biosensors | 0.1–5 ng/L | MC-LR | High selectivity; adaptable to multiple platforms | (G. Zhang et al., 2018) |
| Aptamer-Based Electrochemical Sensor | 0.1–2 ng/L | MC-LR | High selectivity; stable synthetic recognition elements | (Wei et al., 2022) |
| Surface Plasmon Resonance (SPR) | 10–70 ng/L | MC-LR | Label-free real-time optical detection | (Tan et al., 2023) |
| Surface-Enhanced Raman Spectroscopy (SERS) | 0.01–1 ng/L | MC-LR | Ultra-sensitive; requires specialized substrates | (Qin et al., 2024) |
| Fluorescence Polarization Assay | 0.05–0.1 µg/L | Microcystins | Rapid homogeneous assay format | (H. Zhang et al., 2017) |
| Capillary Electrophoresis (CE) | 0.1–1 µg/L | MCs, CYN | Fast separation; moderate sensitivity | (Carmona-Molero et al., 2024) |
| MALDI–TOF MS | 1–100 ng/L | MC variants | Rapid toxin profiling in extracts | (Ahuja et al., 2023) |
| Microfluidic Lab-on-a-Chip Systems | 1–10 ng/L | MC-LR | Field-deployable; low reagent consumption | (Abedi-Firouzjah et al., 2025) |
| Colorimetric Nanoparticle Sensors | 5–50 ng/L | MC-LR | Visual detection; suitable for rapid screening | (Yang et al., 2011) |
| Fluorescence Resonance Energy Transfer (FRET) Sensor | 0.1–5 ng/L | MC-LR | Highly sensitive fluorescence-based detection | (Lee & Son, 2019) |
| Chemiluminescent Immunosensor | 0.01–1 ng/L | MC-LR | Enhanced signal intensity; high analytical sensitivity | (Pang et al., 2020) |
| Quartz Crystal Microbalance (QCM) Biosensor | 1–10 ng/L | MC-LR | Mass-sensitive detection; real-time analysis | (Hou et al., 2016) |

- DISCUSSION

The comparative assessment of cyanotoxin detection technologies demonstrates substantial variation in analytical sensitivity, specificity, operational complexity, and suitability for regulatory implementation. As summarized in Table 3, detection limits span several orders of magnitude, ranging from sub-ng/L levels for advanced mass spectrometric techniques to µg/L levels for conventional chromatographic and colorimetric methods. This broad analytical spectrum reflects both technological evolution and the diverse objectives of monitoring programs, from rapid screening to confirmatory quantification. Liquid chromatography coupled with tandem mass spectrometry (LC–MS/MS) consistently exhibits the highest analytical sensitivity among targeted methods, with reported limits of detection (LOD) commonly between 0.01 and 0.5 ng/L for microcystins and other cyanotoxins. Such sensitivity is well below the provisional guideline value of 1 µg/L for microcystin-LR in drinking water established by the World Health Organization and documented in Toxic Cyanobacteria in Water. The capacity of LC–MS/MS to simultaneously quantify multiple congeners with structural confirmation renders it the current reference method for regulatory and research applications. High-resolution mass spectrometry (HRMS), including Orbitrap and QTOF platforms, further enhances analytical coverage by enabling suspect and non-target screening, thereby addressing the growing recognition of structurally diverse and emerging cyanotoxin analogues reported in journals such as Water Research and Toxins.

Conventional chromatographic techniques such as HPLC–UV typically exhibit LODs in the range of 0.5–1 µg/L, reflecting comparatively lower sensitivity and susceptibility to matrix interference. Fluorescence detection following derivatization improves sensitivity to approximately 0.02–0.1 µg/L, yet remains inferior to MS-based platforms in terms of structural specificity. These methods, while historically significant, are increasingly limited to supplementary or resource-constrained applications. Immunochemical assays, particularly ELISA, generally achieve LODs around 0.05–0.1 µg/L for microcystins. Although adequate for screening relative to health-based guideline thresholds, cross-reactivity among congeners may result in overestimation of total toxin concentrations. Protein phosphatase inhibition assays demonstrate similar sensitivity (~0.1 µg/L) but measure functional toxicity rather than specific molecular identity. As discussed in Harmful Algae, such bioassays provide useful hazard indication but lack the analytical resolution required for detailed congener profiling. Emerging biosensor technologies display highly variable but often impressive sensitivity. Electrochemical immunosensors and aptamer-based sensors frequently report LODs between 0.1 and 5 ng/L, approaching those of chromatographic–mass spectrometric techniques under controlled conditions(Xie et al., 2025). Chemiluminescent and fluorescence resonance energy transfer (FRET)-based systems have demonstrated detection limits as low as 0.01–1 ng/L. Surface-enhanced Raman spectroscopy (SERS) platforms, leveraging nanostructured substrates, may achieve LODs in the 0.01–1 ng/L range, positioning them among the most sensitive reported methods. However, reproducibility, substrate stability, and matrix interference remain critical barriers to routine environmental implementation. Surface plasmon resonance (SPR) and quartz crystal microbalance (QCM) biosensors typically exhibit LODs between 1 and 70 ng/L, offering real-time and label-free detection capabilities. Microfluidic lab-on-a-chip systems similarly report detection limits around 1–10 ng/L, with the added advantages of reduced reagent consumption and portability. Colorimetric nanoparticle-based assays, while attractive for rapid field screening, generally present higher detection limits (5–50 ng/L), limiting their utility for ultra-trace quantification.

Overall, the comparative limits of detection (LODs) indicate that no single analytical platform simultaneously satisfies all essential performance criteria, including ultra-trace sensitivity, structural specificity, operational cost-efficiency, portability, and comprehensive multi-toxin capability. Each methodological category presents inherent trade-offs between analytical precision and practical applicability. Therefore, a tiered monitoring framework represents the most rational strategy. In this approach, rapid immunochemical assays or sensor-based technologies are employed for preliminary screening and early risk identification, whereas confirmatory analysis using liquid chromatography–tandem mass spectrometry (LC–MS/MS) ensures accurate quantification and congener-specific structural verification. Harmonization of analytical validation protocols, standardized quality assurance procedures, and interlaboratory calibration remains imperative to guarantee reproducibility and global comparability of cyanotoxin monitoring data.

With the increasing frequency, spatial expansion, and seasonal persistence of cyanobacterial blooms driven by eutrophication and climate warming, the demand for sensitive, rapid, and scalable detection technologies is expected to intensify. Future advancements should prioritize multiplexed platforms capable of simultaneous detection of diverse toxin classes, enhanced analytical robustness in complex environmental matrices, and integration with predictive modeling and early-warning systems. In this context, rapid lateral flow sensor technologies are emerging as promising field-deployable tools, offering cost-effective, user-friendly, and real-time screening capabilities that may substantially strengthen decentralized monitoring and public health protection strategies(Alves et al., 2025). When comparatively evaluated, a clear performance hierarchy emerges. LC–MS/MS and HRMS provide the lowest detection limits with the highest structural certainty, making them indispensable for confirmatory analysis. Advanced biosensors, although increasingly sensitive, require comprehensive validation in natural waters characterized by high dissolved organic carbon, fluctuating pH, and co-occurring metabolites. Immunoassays occupy an intermediate position, balancing sensitivity and operational simplicity but lacking molecular discrimination. A critical observation from the compiled data is the predominant analytical emphasis on microcystin-LR as the model analyte. While its toxicological relevance justifies extensive study, other cyanotoxins such as cylindrospermopsin, anatoxins, and saxitoxins receive comparatively less methodological coverage in sensor development.

- CONCLUSION

Cyanotoxins continue to pose a significant global threat to water quality, aquatic ecosystems, and public health due to the increasing frequency, geographic expansion, and persistence of harmful cyanobacterial blooms. Over the past decades, substantial advances in detection technologies have greatly enhanced our ability to identify and quantify these toxins, ranging from conventional chromatographic and immunoassay methods to advanced mass spectrometry and emerging biosensor platforms. Each technique offers distinct advantages: chromatographic and mass spectrometric approaches provide high sensitivity and structural specificity; immunoassays and bioassays allow rapid screening; and biosensors, particularly aptamer-based and multiplexed platforms, offer portability, real-time monitoring, and the potential for on-site application. Despite these advancements, no single method simultaneously fulfills all requirements of ultra-trace detection, multi-toxin coverage, rapidity, field deployability, and cost-effectiveness. Therefore, a tiered monitoring strategy, integrating rapid screening tools with confirmatory LC–MS/MS analysis, remains the most robust and practical approach for comprehensive cyanotoxin assessment. Emerging portable biosensors, including lateral flow assays, microfluidic lab-on-a-chip devices, and multiplexed sensor arrays, show particular promise for decentralized, real-time monitoring, complementing laboratory-based techniques and supporting early-warning programs. Future research should focus on developing multi-analyte, matrix-robust, and field-deployable platforms, alongside harmonized validation procedures to ensure data comparability across laboratories and regions. Coupling advanced detection technologies with predictive modeling and early-warning frameworks will be critical for proactive risk management, allowing timely mitigation of cyanotoxin exposure and sustainable protection of water resources under evolving environmental and climate change scenarios.

Competing Interests

The authors declare that they have no known competing financial or non-financial interests that could have influenced the work reported in this manuscript.

Consent (Where Applicable)

Not applicable for this study, as no human participants or personal data were involved.

Ethical Approval (Where Applicable)

Not applicable for this study, as no animal or human experiments  were conducted.

Acronyms and Abbreviations

- ATX – Anatoxin-a

- BMAA – β-N-methylamino-L-alanine

- CE – Capillary Electrophoresis

- CYN – Cylindrospermopsin

- DAD – Diode Array Detector

- ELISA – Enzyme-Linked Immunosorbent Assay

- FRET – Fluorescence Resonance Energy Transfer

- GC–MS – Gas Chromatography–Mass Spectrometry

- HPLC – High-Performance Liquid Chromatography

- HRMS – High-Resolution Mass Spectrometry

- LC–FLD – Liquid Chromatography with Fluorescence Detection

- LC–MS/MS – Liquid Chromatography–Tandem Mass Spectrometry

- LFIA – Lateral Flow Immunoassay

- LOD – Limit of Detection

- LOQ – Limit of Quantification

- LSPR – Localized Surface Plasmon Resonance

- MEKC – Micellar Electrokinetic Chromatography

- MIP – Molecularly Imprinted Polymer

- µPAD – Microfluidic Paper-Based Analytical Device

- MCs – Microcystins

- NOD – Nodularins

- PPIA – Protein Phosphatase Inhibition Assay

- QCM – Quartz Crystal Microbalance

- SPR – Surface Plasmon Resonance

- SERS – Surface-Enhanced Raman Spectroscopy

- TOF – Time-of-Flight (Mass Spectrometry)

- UPLC – Ultra-Performance Liquid Chromatography

- UV – Ultraviolet

- WHO – World Health Organization

References

Abdallah, M. F., Van Hassel, W. H. R., Andjelkovic, M., Wilmotte, A., & Rajkovic, A. (2021). Cyanotoxins and Food Contamination in Developing Countries: Review of Their Types, Toxicity, Analysis, Occurrence and Mitigation Strategies. Toxins, 13(11), 786. https://doi.org/10.3390/toxins13110786

Abedi-Firouzjah, R., Tavassoli, M., Khezerlou, A., Mazaheri, Y., Alizadeh-Sani, M., Ehsani, A., & Moore, M. D. (2025). Recent Advances in Applications of Aptasensors/Nanomaterials Platform for Food and Biomedical: A Review. Food Analytical Methods, 18(1), 1–26. https://doi.org/10.1007/s12161-024-02693-8

Abreu, V. A. C., Popin, R. V., Alvarenga, D. O., Schaker, P. D. C., Hoff-Risseti, C., Varani, A. M., & Fiore, M. F. (2018). Genomic and Genotypic Characterization of Cylindrospermopsis raciborskii: Toward an Intraspecific Phylogenetic Evaluation by Comparative Genomics. Frontiers in Microbiology, 9, 306. https://doi.org/10.3389/fmicb.2018.00306

Agathokleous, E., & Peñuelas, J. (2022). Monitoring, Regulation, and Mitigation of Cyanotoxins in the Environment to Protect Human Health and Wildlife. Environmental Science & Technology, 56(20), 14225–14227. https://doi.org/10.1021/acs.est.2c06618

Ahuja, V., Singh, A., Paul, D., Dasgupta, D., Urajová, P., Ghosh, S., Singh, R., Sahoo, G., Ewe, D., & Saurav, K. (2023). Recent Advances in the Detection of Food Toxins Using Mass Spectrometry. Chemical Research in Toxicology, 36(12), 1834–1863. https://doi.org/10.1021/acs.chemrestox.3c00241

Akbarnejad Nesheli, S., Quackenbush, L. J., & McCaffrey, L. (2024). Estimating Chlorophyll-a and Phycocyanin Concentrations in Inland Temperate Lakes across New York State Using Sentinel-2 Images: Application of Google Earth Engine for Efficient Satellite Image Processing. Remote Sensing, 16(18), 3504. https://doi.org/10.3390/rs16183504

Alba Posse, E. J., González, C., Carriquiriborde, P., Nadra, A., & Gasulla, J. (2023). Optimization and validation of a protein phosphatase inhibition assay for accessible microcystin detection. Talanta, 255, 124174. https://doi.org/10.1016/j.talanta.2022.124174

AlKahtane, A. A., Abushouk, A. I., Mohammed, E. T., ALNasser, M., Alarifi, S., Ali, D., Alessia, M. S., Almeer, R. S., AlBasher, G., Alkahtani, S., Aleya, L., & Abdel-Daim, M. M. (2020). Fucoidan alleviates microcystin-LR-induced hepatic, renal, and cardiac oxidative stress and inflammatory injuries in mice. Environmental Science and Pollution Research, 27(3), 2935–2944. https://doi.org/10.1007/s11356-019-06931-z

Al-Sammak, M. A., Hoagland, K. D., Snow, D. D., & Cassada, D. (2013). Methods for simultaneous detection of the cyanotoxins BMAA, DABA, and anatoxin-a in environmental samples. Toxicon, 76, 316–325. https://doi.org/10.1016/j.toxicon.2013.10.015

Alves, E., Gurupadayya, B. M., & Prabhakaran, P. (2025). Next-Generation Miniaturized Separation Platforms: Converging Detection, Automation, and Sustainable Design for Intelligent Analytical Science. Critical Reviews in Analytical Chemistry, 1–50. https://doi.org/10.1080/10408347.2025.2553122

Atoui, A., Hafez, H., & Slim, K. (2013). Occurrence of toxic cyanobacterial blooms for the first time in L ake K araoun, L ebanon. Water and Environment Journal, 27(1), 42–49. https://doi.org/10.1111/j.1747-6593.2012.00324.x

Banker, R., Teltsch, B., Sukenik, A., & Carmeli, S. (2000). 7-Epicylindrospermopsin, a Toxic Minor Metabolite of the Cyanobacterium Aphanizomenon o valisporum from Lake Kinneret, Israel. Journal of Natural Products, 63(3), 387–389. https://doi.org/10.1021/np990498m

Benayache, N.-Y., Nguyen-Quang, T., Hushchyna, K., McLellan, K., Afri-Mehennaoui, F.-Z., & Bouaïcha, N. (2019). An Overview of Cyanobacteria Harmful Algal Bloom (CyanoHAB) Issues in Freshwater Ecosystems. In D. Gökçe (Ed.), Limnology—Some New Aspects of Inland Water Ecology. IntechOpen. https://doi.org/10.5772/intechopen.84155

Bláhová, L., Oravec, M., Maršálek, B., Šejnohová, L., Šimek, Z., & Bláha, L. (2009). The first occurrence of the cyanobacterial alkaloid toxin cylindrospermopsin in the Czech Republic as determined by immunochemical and LC/MS methods. Toxicon, 53(5), 519–524. https://doi.org/10.1016/j.toxicon.2009.01.014

Bostan, H. B., Taghdisi, S. M., Bowen, J. L., Demertzis, N., Rezaee, R., Panahi, Y., Tsatsakis, A. M., & Karimi, G. (2018). Determination of microcystin-LR, employing aptasensors. Biosensors and Bioelectronics, 119, 110–118. https://doi.org/10.1016/j.bios.2018.08.003

Bouaïcha, N., Miles, C., Beach, D., Labidi, Z., Djabri, A., Benayache, N., & Nguyen-Quang, T. (2019). Structural Diversity, Characterization and Toxicology of Microcystins. Toxins, 11(12), 714. https://doi.org/10.3390/toxins11120714

Bouteiller, P., Lance, E., Guérin, T., & Biré, R. (2022). Analysis of Total-Forms of Cyanotoxins Microcystins in Biological Matrices: A Methodological Review. Toxins, 14(8), 550. https://doi.org/10.3390/toxins14080550

Bumke-Vogt, C., Mailahn, W., Rotard, W., & Chorus, I. (1996). A highly sensitive analytical method for the neurotoxin anatoxin-a, using GC-ECD, and first application to laboratory cultures. Phycologia, 35(sup6), 51–61. https://doi.org/10.2216/i0031-8884-35-6S-51.1

Carmichael, W. W. (1992). Cyanobacteria secondary metabolites—The cyanotoxins. Journal of Applied Bacteriology, 72(6), 445–459. https://doi.org/10.1111/j.1365-2672.1992.tb01858.x

Carmichael, W. W. (2001). Health Effects of Toxin-Producing Cyanobacteria: “The CyanoHABs.” Human and Ecological Risk Assessment: An International Journal, 7(5), 1393–1407. https://doi.org/10.1080/20018091095087

Carmona-Molero, R., Aparicio-Muriana, M. M., Lara, F. J., García-Campaña, A. M., & Olmo-Iruela, M. D. (2024). Capillary electrophoresis tandem mass spectrometry to determine multiclass cyanotoxins in reservoir water and spinach samples. Journal of Chromatography A, 1717, 464666. https://doi.org/10.1016/j.chroma.2024.464666

Cartmell, C., Evans, D. M., Elwood, J. M. L., Fituri, H. S., Murphy, P. J., Caspari, T., Poniedziałek, B., & Rzymski, P. (2017). Synthetic analogues of cyanobacterial alkaloid cylindrospermopsin and their toxicological activity. Toxicology in Vitro, 44, 172–181. https://doi.org/10.1016/j.tiv.2017.07.007

Chorus, I. (n.d.). Toxic Cyanobacteria in Water; A Guide to Their Public Health Consequences, Monitoring and Management; Second Edition.

Dai, H., Liu, J., Wang, S., Wang, B., Kai, T., Wu, P., & Ding, P. (2025). Recent advances in optical sensors for microcystin-LR: From recognition elements to signal transduction. The Analyst, 150(8), 1470–1489. https://doi.org/10.1039/D4AN01576B

Dalu, T., & Wasserman, R. J. (2018). Cyanobacteria dynamics in a small tropical reservoir: Understanding spatio-temporal variability and influence of environmental variables. Science of The Total Environment, 643, 835–841. https://doi.org/10.1016/j.scitotenv.2018.06.256

Du, X., Liu, H., Yuan, L., Wang, Y., Ma, Y., Wang, R., Chen, X., Losiewicz, M., Guo, H., & Zhang, H. (2019). The Diversity of Cyanobacterial Toxins on Structural Characterization, Distribution and Identification: A Systematic Review. Toxins, 11(9), 530. https://doi.org/10.3390/toxins11090530

Durán-Riveroll, L., & Cembella, A. (2017). Guanidinium Toxins and Their Interactions with Voltage-Gated Sodium Ion Channels. Marine Drugs, 15(10), 303. https://doi.org/10.3390/md15100303

Evans, D. M., Hughes, J., Jones, L. F., Murphy, P. J., Falfushynska, H., Horyn, O., Sokolova, I. M., Christensen, J., Coles, S. J., & Rzymski, P. (2019). Elucidating cylindrospermopsin toxicity via synthetic analogues: An in vitro approach. Chemosphere, 234, 139–147. https://doi.org/10.1016/j.chemosphere.2019.06.021

Foss, A. J., Miles, C. O., Wilkins, A. L., Rise, F., Trovik, K. W., Cieslik, K., & Aubel, M. T. (2020). Analysis of total microcystins and nodularins by oxidative cleavage of their ADMAdda, DMAdda, and Adda moieties. Analytica Chimica Acta: X, 6, 100060. https://doi.org/10.1016/j.acax.2020.100060

Gademann, K., & Portmann, C. (2008). Secondary Metabolites from Cyanobacteria: Complex Structures and Powerful Bioactivities. Current Organic Chemistry, 12(4), 326–341. https://doi.org/10.2174/138527208783743750

Galat, D. L., Verdin, J. P., & Sims, L. L. (n.d.). Large-scale patterns of Nodularia spumigena blooms in Pyramid Lake, Nevada, determined from Landsat imagery: 1972-1986.

García, Y., Vera, M., Giraldo, J. D., Garrido-Miranda, K., Jiménez, V. A., Urbano, B. F., & Pereira, E. D. (2022). Microcystins Detection Methods: A Focus on Recent Advances Using Molecularly Imprinted Polymers. Analytical Chemistry, 94(1), 464–478. https://doi.org/10.1021/acs.analchem.1c04090

Gaysina, L. A., Novikova, E. O., Gibadullina, N. B., Padalka, A. A., & Pavlyuk, T. E. (2024). Mutual Influence of Cyanobacteria and Green Algae in Cocultures Using the Example of Dolichospermum spiroides, Planktothrix agardhii, and Chlorella vulgaris. Inland Water Biology, 17(6), 977–984. https://doi.org/10.1134/S1995082924700627

He, X., Stanford, B. D., Adams, C., Rosenfeldt, E. J., & Wert, E. C. (2017). Varied influence of microcystin structural difference on ELISA cross-reactivity and chlorination efficiency of congener mixtures. Water Research, 126, 515–523. https://doi.org/10.1016/j.watres.2017.09.037

Hoff-Risseti, C., Dörr, F. A., Schaker, P. D. C., Pinto, E., Werner, V. R., & Fiore, M. F. (2013). Cylindrospermopsin and Saxitoxin Synthetase Genes in Cylindrospermopsis raciborskii Strains from Brazilian Freshwater. PLoS ONE, 8(8), e74238. https://doi.org/10.1371/journal.pone.0074238

Hou, L., Ding, Y., Zhang, L., Guo, Y., Li, M., Chen, Z., & Wu, X. (2016). An ultrasensitive competitive immunosensor for impedimetric detection of microcystin-LR via antibody-conjugated enzymatic biocatalytic precipitation. Sensors and Actuators B: Chemical, 233, 63–70. https://doi.org/10.1016/j.snb.2016.04.034

Humbert, J. F., Quiblier, C., & Gugger, M. (2010). Molecular approaches for monitoring potentially toxic marine and freshwater phytoplankton species. Analytical and Bioanalytical Chemistry, 397(5), 1723–1732. https://doi.org/10.1007/s00216-010-3642-7

Igwaran, A., Kayode, A. J., Moloantoa, K. M., Khetsha, Z. P., & Unuofin, J. O. (2024). Cyanobacteria Harmful Algae Blooms: Causes, Impacts, and Risk Management. Water, Air, & Soil Pollution, 235(1), 71. https://doi.org/10.1007/s11270-023-06782-y

Jacinavicius, F. R., Valverde Campos, T. G., Passos, L. S., Pinto, E., & Geraldes, V. (2023). A rapid LC-MS/MS method for multi-class identification and quantification of cyanotoxins. Toxicon, 234, 107282. https://doi.org/10.1016/j.toxicon.2023.107282

Kinyua, D. M., Memeu, D. M., Mugo Mwenda, C. N., Ventura, B. D., & Velotta, R. (2025). Advancements and Applications of Lateral Flow Assays (LFAs): A Comprehensive Review. Sensors, 25(17), 5414. https://doi.org/10.3390/s25175414

Koksharova, O. A., & Safronova, N. A. (2022). Non-Proteinogenic Amino Acid β-N-Methylamino-L-Alanine (BMAA): Bioactivity and Ecological Significance. Toxins, 14(8), 539. https://doi.org/10.3390/toxins14080539

Kulabhusan, P. K., & Campbell, K. (2021). Recent trends in the detection of freshwater cyanotoxins with a critical note on their occurrence in Asia. Trends in Environmental Analytical Chemistry, 32, e00150. https://doi.org/10.1016/j.teac.2021.e00150

Kurmayer, R., Entfellner, E., Weisse, T., Offterdinger, M., Rentmeister, A., & Deng, L. (2020). Chemically labeled toxins or bioactive peptides show a heterogeneous intracellular distribution and low spatial overlap with autofluorescence in bloom-forming cyanobacteria. Scientific Reports, 10(1), 2781. https://doi.org/10.1038/s41598-020-59381-w

Lajeunesse, A., Segura, P. A., Gélinas, M., Hudon, C., Thomas, K., Quilliam, M. A., & Gagnon, C. (2012). Detection and confirmation of saxitoxin analogues in freshwater benthic Lyngbya wollei algae collected in the St. Lawrence River (Canada) by liquid chromatography–tandem mass spectrometry. Journal of Chromatography A, 1219, 93–103. https://doi.org/10.1016/j.chroma.2011.10.092

Lan, Y., He, B., Tan, C. S., & Ming, D. (2022). Applications of Smartphone-Based Aptasensor for Diverse Targets Detection. Biosensors, 12(7), 477. https://doi.org/10.3390/bios12070477

Lee, E.-H., & Son, A. (2019). Fluorescence resonance energy transfer based quantum dot-Aptasensor for the selective detection of microcystin-LR in eutrophic water. Chemical Engineering Journal, 359, 1493–1501. https://doi.org/10.1016/j.cej.2018.11.027

Li, Y., Zhang, D., Zeng, X., Liu, C., Wu, Y., & Fu, C. (2024). Advances in Aptamer-Based Biosensors for the Detection of Foodborne Mycotoxins. Molecules, 29(16), 3974. https://doi.org/10.3390/molecules29163974

Li, Z., Zhang, S., Yu, T., Dai, Z., & Wei, Q. (2019). Aptamer-Based Fluorescent Sensor Array for Multiplexed Detection of Cyanotoxins on a Smartphone. Analytical Chemistry, 91(16), 10448–10457. https://doi.org/10.1021/acs.analchem.9b00750

Liu, J., Xing, Y., Lin, Y., Xie, Y., & Zhou, X. (2023). Effect of pretreatment approach on the ELISA-based detection of cyanotoxins in water: Analysis and application. Science of The Total Environment, 871, 161988. https://doi.org/10.1016/j.scitotenv.2023.161988

Liu, X., Tang, Y., Liu, P., Yang, L., Li, L., Zhang, Q., Zhou, Y., & Khan, Md. Z. H. (2019). A highly sensitive electrochemical aptasensor for detection of microcystin-LR based on a dual signal amplification strategy. The Analyst, 144(5), 1671–1678. https://doi.org/10.1039/C8AN01971A

Massey, I. Y., Wu, P., Wei, J., Luo, J., Ding, P., Wei, H., & Yang, F. (2020). A Mini-Review on Detection Methods of Microcystins. Toxins, 12(10), 641. https://doi.org/10.3390/toxins12100641

Mir, S. A., Razzokov, J., Mukherjee, V., Baitharu, I., & Nayak, B. (2024). An exploration of the binding prediction of anatoxin-a and atropine to acetylcholinesterase enzyme using multi-level computer simulations. Physical Biology, 21(1), 016002. https://doi.org/10.1088/1478-3975/ad0caa

Nurrohman, D. T., & Chiu, N.-F. (2021). A Review of Graphene-Based Surface Plasmon Resonance and Surface-Enhanced Raman Scattering Biosensors: Current Status and Future Prospects. Nanomaterials, 11(1), 216. https://doi.org/10.3390/nano11010216

Ortiz, X., Korenkova, E., Jobst, K. J., MacPherson, K. A., & Reiner, E. J. (2017). A high throughput targeted and non-targeted method for the analysis of microcystins and anatoxin-A using on-line solid phase extraction coupled to liquid chromatography–quadrupole time-of-flight high resolution mass spectrometry. Analytical and Bioanalytical Chemistry, 409(21), 4959–4969. https://doi.org/10.1007/s00216-017-0437-0

Paerl, H. W., Hall, N. S., & Calandrino, E. S. (2011). Controlling harmful cyanobacterial blooms in a world experiencing anthropogenic and climatic-induced change. Science of The Total Environment, 409(10), 1739–1745. https://doi.org/10.1016/j.scitotenv.2011.02.001

Pang, P., Lai, Y., Zhang, Y., Wang, H., Conlan, X. A., Barrow, C. J., & Yang, W. (2020). Recent Advancement of Biosensor Technology for the Detection of Microcystin-LR. Bulletin of the Chemical Society of Japan, 93(5), 637–646. https://doi.org/10.1246/bcsj.20190365

Picardo, M., Núñez, O., & Farré, M. (2021). A data independent acquisition all ion fragmentation mode tool for the suspect screening of natural toxins in surface water. MethodsX, 8, 101286. https://doi.org/10.1016/j.mex.2021.101286

Qin, N., Liu, J., Li, F., & Liu, J. (2024). Recent Advances in Aptasensors for Rapid Pesticide Residues Detection. Critical Reviews in Analytical Chemistry, 54(8), 3592–3613. https://doi.org/10.1080/10408347.2023.2257795

Ramya, M., Elumalai, S., & Umamaheswari, A. (2024). Analysis of cyanotoxins in Desertifilum and Leptolyngbya from Veeranam Lake: A potential health risk for Chennai, India. Environmental Sciences Europe, 36(1), 1. https://doi.org/10.1186/s12302-023-00791-8

Rantala-Ylinen, A., Känä, S., Wang, H., Rouhiainen, L., Wahlsten, M., Rizzi, E., Berg, K., Gugger, M., & Sivonen, K. (2011). Anatoxin-a Synthetase Gene Cluster of the Cyanobacterium Anabaena sp. Strain 37 and Molecular Methods To Detect Potential Producers. Applied and Environmental Microbiology, 77(20), 7271–7278. https://doi.org/10.1128/AEM.06022-11

Rastogi, R. P., Madamwar, D., & Incharoensakdi, A. (2015). Bloom Dynamics of Cyanobacteria and Their Toxins: Environmental Health Impacts and Mitigation Strategies. Frontiers in Microbiology, 6. https://doi.org/10.3389/fmicb.2015.01254

Stewart, I., Eaglesham, G. K., McGregor, G. B., Chong, R., Seawright, A. A., Wickramasinghe, W. A., Sadler, R., Hunt, L., & Graham, G. (2012). First Report of a Toxic Nodularia spumigena (Nostocales/ Cyanobacteria) Bloom in Sub-Tropical Australia. II. Bioaccumulation of Nodularin in Isolated Populations of Mullet (Mugilidae). International Journal of Environmental Research and Public Health, 9(7), 2412–2443. https://doi.org/10.3390/ijerph9072412

Stewart, I., Schluter, P. J., & Shaw, G. R. (2006). Cyanobacterial lipopolysaccharides and human health – a review. Environmental Health, 5(1), 7. https://doi.org/10.1186/1476-069X-5-7

Svirčev, Z., Lalić, D., Bojadžija Savić, G., Tokodi, N., Drobac Backović, D., Chen, L., Meriluoto, J., & Codd, G. A. (2019). Global geographical and historical overview of cyanotoxin distribution and cyanobacterial poisonings. Archives of Toxicology, 93(9), 2429–2481. https://doi.org/10.1007/s00204-019-02524-4

Tan, J., Dai, Z., Zhou, K., Zhang, L., He, M., Tan, Y., & Zhou, X. (2023). An Ultrasensitive and Universal Surface Plasmonic Biosensor for Detection of Micropollutants in Aquatic Environments. Environmental Science & Technology, 57(22), 8313–8322. https://doi.org/10.1021/acs.est.3c01328

Testai, E., Scardala, S., Vichi, S., Buratti, F. M., & Funari, E. (2016). Risk to human health associated with the environmental occurrence of cyanobacterial neurotoxic alkaloids anatoxins and saxitoxins. Critical Reviews in Toxicology, 46(5), 385–419. https://doi.org/10.3109/10408444.2015.1137865

Volante, M., & Villa, E. (2017). Advanced and Consolidated Separation Methods for the Determination of Cyanobacterial Toxins in Aquatic Systems. Current Chromatography, 4(2). https://doi.org/10.2174/2213240604666170531081457

Wei, X., Wang, S., Zhan, Y., Kai, T., & Ding, P. (2022). Sensitive Identification of Microcystin-LR via a Reagent-Free and Reusable Electrochemical Biosensor Using a Methylene Blue-Labeled Aptamer. Biosensors, 12(8), 556. https://doi.org/10.3390/bios12080556

Xie, A., Wu, W., & Jin, M. (2025). Electrochemical aptasensing strategies for emerging organic pollutants in environmental analysis. Analytical Methods, 17(38), 7586–7607. https://doi.org/10.1039/D5AY01084E

Yang, C., Wang, Y., Marty, J.-L., & Yang, X. (2011). Aptamer-based colorimetric biosensing of Ochratoxin A using unmodified gold nanoparticles indicator. Biosensors and Bioelectronics, 26(5), 2724–2727. https://doi.org/10.1016/j.bios.2010.09.032

Yuan, J., & Yoon, K.-J. (2022). Overview of PCR Methods Applied for the Identification of Freshwater Toxigenic Cyanobacteria. In W. N. Hozzein (Ed.), Cyanobacteria—Recent Advances in Taxonomy and Applications. IntechOpen. https://doi.org/10.5772/intechopen.97701

Zagorevskii, D., Holmes, J., Watson, C., & Eyler, J. (1997). A tandem mass spectrometry and Fourier transform ion cyclotron resonance (FTICR) study of RMn+ (crown-ether) complexes in the gas phase. European Journal of Mass Spectrometry, 3(1), 27. https://doi.org/10.1255/ejms.22

Zeng, Z., Ji, Z., Hu, N., Bai, B., Wang, H., & Suo, Y. (2017). A sensitive pre-column derivatization method for the analysis of free fatty acids by RP-HPLC with fluorescence detector and its application to Caragana species. Journal of Chromatography B, 1064, 151–159. https://doi.org/10.1016/j.jchromb.2017.07.037

Zhang, G., Li, C., Wu, S., & Zhang, Q. (2018). Label-free aptamer-based detection of microcystin-LR using a microcantilever array biosensor. Sensors and Actuators B: Chemical, 260, 42–47. https://doi.org/10.1016/j.snb.2017.12.112

Zhang, H., Yang, S., Beier, R. C., Beloglazova, N. V., Lei, H., Sun, X., Ke, Y., Zhang, S., & Wang, Z. (2017). Simple, high efficiency detection of microcystins and nodularin-R in water by fluorescence polarization immunoassay. Analytica Chimica Acta, 992, 119–127. https://doi.org/10.1016/j.aca.2017.09.010

Zhang, K., Li, H., Wang, W., Cao, J., Gan, N., & Han, H. (2020). Application of Multiplexed Aptasensors in Food Contaminants Detection. ACS Sensors, 5(12), 3721–3738. https://doi.org/10.1021/acssensors.0c01740

Zhang, Y., Thompson, K. N., Branck, T., Yan Yan, Nguyen, L. H., Franzosa, E. A., & Huttenhower, C. (2021). Metatranscriptomics for the Human Microbiome and Microbial Community Functional Profiling. Annual Review of Biomedical Data Science, 4(1), 279–311. https://doi.org/10.1146/annurev-biodatasci-031121-103035