Review Article

Volatile Organic Compounds in Exhaled Breath as Diagnostic Biomarkers for Diabetes: Advances, Limitations, and Future Directions

Abstract

Diabetes mellitus remains a major global health challenge, and the invasiveness, cost, and logistical constraints of current diagnostic methods limit early detection and effective monitoring. Breathomics, the analysis of volatile organic compounds (VOCs) in exhaled breath, has emerged as a promising non-invasive approach for diabetes detection and metabolic monitoring. Breath VOCs reflect a range of interconnected physiological processes involved in diabetes pathophysiology, including altered glucose and lipid metabolism, ketogenesis, oxidative stress, inflammation, and host–microbiome interactions. This review summarizes current evidence on diabetes-associated breath VOCs, with emphasis on ketone-related compounds, alcohols, hydrocarbons, aldehydes, and sulfur-containing metabolites. We also examine analytical technologies used for VOC detection, from mass spectrometry–based platforms to sensor-based systems and emerging point-of-care devices, alongside statistical and machine learning approaches for identifying complex breath signatures. Importantly, interpreting breath VOC profiles remains challenging due to the high dimensionality of VOC datasets and the influence of physiological, environmental, and behavioral confounders. Breath-based diagnostics, therefore, involve substantial analytical and computational complexity, as disease-related signals must be distinguished from background biological variability and external contamination. Clinical applications in diabetes screening, glycemic monitoring, and risk assessment are discussed, including emerging studies in low-resource and special population settings. However, significant barriers to clinical translation remain, including biological variability, methodological heterogeneity, difficulties in interpreting complex VOC patterns, and the lack of large-scale validation and regulatory approval. Future directions should prioritise standardization of breath sampling and analysis, integration with multi-omics and digital health frameworks, and robust multicenter clinical validation. Overall, this review provides a balanced assessment of the opportunities and challenges of breath-based diagnostics and positions breathomics as a promising complementary tool in precision diabetology rather than a replacement for established biochemical testing.

Keywords: Breathomics; Volatile organic compounds; Diabetes mellitus; Acetone; Non-invasive diagnostics; Metabolic biomarkers; Oxidative stress; Machine learning; Precision medicine

1. Introduction

Diabetes mellitus is one of the biggest and fastest-growing public health issues in the world. Urbanization, sedentary lifestyles, dietary changes, and population ageing are the main causes of its rising incidence in both high- and low-income nations(Hossain et al., 2024). Because a significant percentage of people with diabetes or prediabetes go years without receiving a diagnosis, growing metabolic dysfunction causes microvascular and macrovascular problems. This makes early detection crucial. Diagnostic methods that allow for the early, scalable, and patient-friendly detection of dysglycemia are therefore desperately needed, especially in environments with limited access to laboratory facilities(Campagnoli et al., 2025).

The current diagnostic standards, such as the oral glucose tolerance test (OGTT), fasting plasma glucose (FPG), and glycated haemoglobin (HbA1c), have significant limitations in addition to their recognized clinical value. Anaemia, hemoglobinopathies, and chronic renal disease are among the disorders that might impact red blood cell turnover(Samajdar et al., 2026). HbA1c measures the average glycaemic exposure over the previous months. FPG measures glucose levels just once and might not detect postprandial dysregulation, whereas OGTT is sensitive but time-consuming, cumbersome, and not well adapted for recurrent monitoring or large-scale screening. When taken as a whole, these limitations make early risk classification, frequent assessment, and widespread population-level deployment impractical(Iafusco et al., 2023).

The methodical examination of volatile organic compounds (VOCs) in exhaled breath, or breathomics, has become a viable non-invasive option for the detection and tracking of metabolic diseases(Tian et al., 2025). Endogenous metabolism, oxidative stress, lipid peroxidation, and host-microbiome interactions are all real-time biochemical activities that are reflected in exhaled volatile organic compounds (VOCs). variations in acetone and related chemicals, as well as variations in insulin signalling, ketogenesis, and glucose and fatty acid metabolism, produce distinctive volatile organic compound (VOC) signatures in breath(Oyerinde et al., 2023a). Developments in sensor technology, analytical chemistry, and computer modelling have significantly increased breath-based metabolic profiling's sensitivity, specificity, and interpretability(Kokkotis et al., 2025).

The objective of this review is to critically evaluate the most recent studies on exhaled volatile organic compounds (VOCs) as biomarkers for diabetes monitoring and diagnosis. Specifically, we look at the molecular causes of VOCs linked to diabetes, analyse breath analysis using analytical and computational methods, review clinical validation trials, and pinpoint important methodological, translational, and regulatory issues. This study attempts to elucidate the practical potential of breathomics as a tool for non-invasive, precision-oriented diabetes diagnoses and management by combining developments, constraints, and future directions.

2. Biological Basis of Exhaled VOCs in Diabetes

Determining the diagnostic significance of volatile organic compounds (VOCs) in exhaled breath requires an understanding of their biological sources. Instead of being haphazard results, breath volatile organic compounds (VOCs) are a reflection of integrated physiological, inflammatory, and metabolic activities that take place all throughout the body. Breath VOC profiles fluctuate in predictable ways as a result of diabetes's unique alterations to numerous of these activities(Moura et al., 2023a).

2.1 Origin of VOCs in Human Breath

Endogenous Metabolic Pathways

Endogenous metabolism is a major source of exhaled volatile organic compounds. Small volatile molecules are produced by normal physiological functions such as the metabolism of carbohydrates, lipids, and amino acids. These molecules can diffuse into the bloodstream and eventually be expelled through the lungs(Chou et al., 2024a). The synthesis and relative abundance of these molecules are changed in metabolic diseases by changes in substrate utilisation and enzymatic flux. For instance, the spectrum of hydrocarbons, ketones, alcohols, and aldehydes found in breath is directly impacted by alterations in glycolysis, β-oxidation, and amino acid catabolism(Liu et al., 2025).

Oxidative Stress and Lipid Peroxidation

Under physiological conditions, reactive oxygen species (ROS) produced during normal metabolism are strictly controlled. Through processes like mitochondrial malfunction, the production of advanced glycation end products, and the activation of pro-oxidant pathways, chronic hyperglycemia and insulin resistance in diabetes contribute to oxidative stress(Ibiam et al., 2023; Masenga et al., 2023). Polyunsaturated fatty acids undergo lipid peroxidation to form volatile hydrocarbons and aldehydes (such as pentanal, hexanal, and ethane), many of which are volatile enough to be breathed. These substances function as indirect indicators of systemic metabolic stress and oxidative damage(Dragoev, 2024).

Microbiome–Host Metabolic Interactions

The human volatilome is greatly influenced by the gut bacteria. Alcohols, short-chain fatty acids, sulfur-containing chemicals, and other volatile organic compounds (VOCs) that can enter the bloodstream are produced by microbial fermentation of food substrates(Oyerinde et al., 2023b). Diabetes is linked to changes in the makeup and function of the gut microbiota, which may alter the patterns of VOC generation. A growing body of research indicates that microbiome dysbiosis has a role in diabetes-specific breath profiles, notwithstanding the difficulty in distinguishing host-derived from microbiome-derived volatile organic compounds(Okafor et al., 2024; Shi et al., 2024).

Pulmonary Gas Exchange Mechanisms

Depending on their blood–air partition coefficients, volatile organic compounds (VOCs) in the circulation diffuse across the alveolar–capillary membrane. Real-time reflection of systemic metabolic conditions is made possible by compounds with high volatility and appropriate solubility, which quickly equilibrate between blood and alveolar air(Stiekema et al., 2025). VOC concentrations are thus influenced by pulmonary ventilation, perfusion, and lung function, highlighting the significance of standardised breath collecting procedures to reduce physiological variability unrelated to metabolic disease(Xinliang et al., 2024).

2.2 Pathophysiological Links Between Diabetes and VOC Profiles

Altered Glucose and Fatty Acid Metabolism

Diabetes is characterized by impaired glucose uptake and utilization, accompanied by increased reliance on fatty acid oxidation for energy production. This metabolic change results in different flow across the tricarboxylic acid cycle and β-oxidation pathways, generating unique volatile organic compounds such as alcohols and alkanes(Stratmann et al., 2022). The potential of VOCs for early illness identification is highlighted by the fact that these alterations can be identified even before overt hyperglycemia manifests clinically(C. Li et al., 2024a).

Ketogenesis and Acetone Production

Acetone is one of the most often reported VOCs linked to diabetes. Hepatic ketogenesis is triggered in conditions of insulin resistance or insufficiency by decreased cellular glucose availability(Gladding et al., 2022). Acetone is created through the spontaneous decarboxylation of acetoacetate, while β-hydroxybutyrate and acetoacetate are formed as alternative energy substrates. Due to its high volatility, acetone is easily detected in exhaled breath and is associated with glycaemic control, the degree of ketosis, and the risk of diabetic ketoacidosis, especially in type 1 diabetes(Sha et al., 2022a).

Insulin Resistance–Associated Metabolic Shifts

Insulin resistance causes more subtle metabolic changes in type 2 diabetes and prediabetes than in overt ketosis(Aedh et al., 2023). Low-grade mitochondrial inefficiency, altered amino acid metabolism, and enhanced lipolysis are a few of these. Rather than relying just on individual molecules, these alterations result in complex VOC patterns rather than single dominant biomarkers, which supports the employment of multivariate and pattern-based analytical techniques(T. Wang et al., 2026).

Inflammatory and Oxidative Pathways

Diabetes is characterised by chronic low-grade inflammation, which also causes tissue damage, insulin resistance, and endothelial dysfunction. VOCs produced by lipid and protein oxidation are further increased by inflammatory signalling, which intensifies oxidative stress(Weinberg Sibony et al., 2024). The necessity for disease-specific VOC panels and strong validation is highlighted by the fact that many VOCs linked to diabetes overlap with those found in other chronic metabolic and inflammatory disorders due to the coexistence of oxidative and inflammatory pathways(Z. Wang et al., 2024a).

The main basic processes by which diabetes-related metabolic dysregulation results in disease-specific volatile organic molecules that can be found in exhaled breath are depicted in Figure 1.

Figure 1. Mechanistic pathways linking diabetes-related metabolic dysregulation to exhaled volatile organic compounds. Insulin resistance and hyperglycemia brought on by diabetes change how glucose and fats are metabolised, increasing fatty acid oxidation and hepatic ketogenesis. Aldehydes and hydrocarbons are produced by these activities, which also produce reactive oxygen species that cause oxidative stress and lipid peroxidation, as well as ketone bodies like acetone. Moreover, diabetes-induced changes in the makeup of the gut microbiota and hepatic metabolism produce more volatile metabolites at the same time. During pulmonary gas exchange, circulating volatile organic compounds (VOCs) migrate across the alveolar–capillary membrane and are then found in exhaled breath, where they may be used as non-invasive indicators of metabolic failure.

3. Key VOC Biomarkers Associated with Diabetes

Recurrent volatile organic compounds (VOCs) linked to diabetes have been found in an expanding body of breathomics research. Oxidative stress, host-microbiome interactions, and underlying metabolic dysregulation are all reflected in these volatile organic compounds. Crucially, combinations of volatile organic compounds (VOCs) and their relative abundance patterns have better diagnostic and prognostic value than any single VOC that is entirely specific to diabetes(Z. Wang et al., 2024b).

3.1 Ketone-Related VOCs

In the study of diabetes, ketones are the most often reported and biologically interpretable indicators(Veneti et al., 2023).

In exhaled breath, acetone is the most common ketone found. Acetoacetate's spontaneous decarboxylation during hepatic ketogenesis is the main cause of it. Increased fatty acid oxidation results in increased ketone body formation in conditions of insulin insufficiency or impaired glucose utilisation, and acetone's high volatility makes it easy for it to diffuse into the alveolar air(Manolis et al., 2023).

There is evidence from several studies that the concentrations of breath acetone are correlated with blood ketone levels and, to a lesser degree, with HbA1c and plasma glucose(Huang et al., 2023). Acetone levels are very high in:

- Type 1 diabetes

- Poorly controlled type 2 diabetes

- Diabetic ketoacidosis (DKA)

Although less volatile and less frequently detected than acetone, acetoacetate-derived volatile organic compounds (VOCs) indirectly contribute to breath ketone signatures. The mechanistic connection between changed energy metabolism and exhaled VOC patterns is supported by their presence(Chou et al., 2024b).

Key limitation: Acetone can rise with extended fasting, ketogenic diets, or vigorous activity; it is not unique to diabetes. Consequently, its diagnostic utility is greatest when analysed in the context of multivariate VOC patterns and clinical settings.

3.2 Aldehydes and Hydrocarbons

Aldehydes and hydrocarbons are primarily associated with lipid peroxidation and oxidative stress, two processes that are persistently elevated in diabetes(Dong & Tong, 2025).

Ethanal (acetaldehyde) may come from oxidative mechanisms, microbial fermentation, or endogenous metabolism. Individuals with diabetes have been found to have elevated levels, although confounding factors linked to food and alcohol use need to be carefully managed(Goldman et al., 2025).

Pentanal and hexanal are byproducts of polyunsaturated fatty acid lipid peroxidation. Their presence in exhaled breath is indicative of systemic oxidative damage, which is strongly associated with inflammatory signalling, mitochondrial malfunction, and persistent hyperglycemia in diabetes(Oyerinde et al., 2023c).

Isoprene, one of the most prevalent hydrocarbons in human breath, is a result of the mevalonate pathway, which is used to biosynthesise cholesterol(Sukul et al., 2023). Diabetes has been linked to altered isoprene levels, which may be a reflection of altered muscle metabolism, oxidative stress, and lipid metabolism.. However, the stand-alone diagnostic value of isoprene is limited by its high sensitivity to physiological parameters such as age, sex, physical activity, and circadian rhythm(F. Zhang et al., 2024a).

3.3 Alcohols, Sulfur-Containing Compounds, and Other VOCs

Alcohols and chemicals containing sulphur constitute a more diverse group of VOCs linked to diabetes and are highly impacted by hepatic metabolism and microbial activity(Oyerinde et al., 2023d).

Methanol and ethanol in breath can originate from food sources, intestinal microbial fermentation, or endogenous metabolic activities. Diabetes has been linked to altered levels, which may be the result of altered hepatic clearance ability and gut microbiota composition. However, there are significant external confounders; interpretation must be done carefully(Andaloro et al., 2025).

Dimethyl sulfide (DMS) and associated sulfur-containing volatile organic compounds are generated by hepatic sulphur amino acid pathways and microbial metabolism(Hansen & Venkatachalam, 2023). Impaired hepatic metabolism and metabolic dysfunction, which are prevalent in diabetes and insulin resistance, have been associated with elevated DMS. Rather than directly addressing glucose metabolism, these substances may offer indirect insight into disruptions in the liver-gut axis(Contreras-Zentella et al., 2025).

Table 1 lists the main volatile organic compounds (VOCs) linked to diabetes, emphasising their suggested metabolic origins, reported direction of change, and possible clinical importance in order to put the variety of VOCs reported in diabetes breathomics research into context.

Table 1. Major VOCs Implicated in Diabetes

| VOC | Biochemical Origin | Direction of Change in Diabetes* | Clinical Relevance |
| --- | --- | --- | --- |
| Acetone | Ketogenesis (acetoacetate decarboxylation) | ↑ | Marker of ketosis, glycemic control, DKA risk |
| Acetoacetate derivatives | Hepatic fatty acid oxidation | ↑ | Reflect altered energy metabolism |
| Ethanal (acetaldehyde) | Oxidative stress, microbial metabolism | ↑ | An indicator of metabolic and oxidative stress |
| Pentanal / Hexanal | Lipid peroxidation | ↑ | Marker of oxidative damage |
| Isoprene | Cholesterol biosynthesis (mevalonate pathway) | Variable | Reflects lipid metabolism and physiological stress |
| Methanol | Microbial fermentation, endogenous metabolism | Variable | Gut–liver axis involvement |
| Ethanol | Microbial metabolism, hepatic clearance | Variable | Influenced by the microbiome and liver function |
| Dimethyl sulfide | Sulfur amino acid metabolism, microbiome | ↑ | An indicator of metabolic and hepatic dysfunction |

The term "direction of change" describes patterns found in several studies; there is significant inter-individual heterogeneity.

4. Analytical Technologies for Breath VOC Detection

In order to detect volatile organic compounds (VOCs) in exhaled breath accurately and consistently, the analytical platform used is essential. Clinical readiness, throughput, sensitivity, and specificity of diabetic breathomics technologies vary greatly. It is crucial to comprehend these variations in order to evaluate translational potential and understand published results(Mortazavi et al., 2025a).

4.1 Mass Spectrometry–Based Approaches

As a result of their great sensitivity and chemical specificity, mass spectrometry (MS)-based methods are regarded as the analytical gold standard for breath VOC identification and quantification(Schulz et al., 2023).

Gas Chromatography–Mass Spectrometry (GC–MS)
Complex volatile organic compounds (VOCs) can be separated using GC-MS and then identified at the chemical level using mass spectrum libraries. It is especially useful for biomarker discovery and mechanistic research since it provides outstanding specificity and permits structural validation of individual VOCs(Palmisani et al., 2025). A common method for characterising VOCs linked to diabetes, including acetone, aldehydes, and hydrocarbons, is GC-MS(C. Li et al., 2024b).
However, the relevance of GC-MS for point-of-care or large-scale screening applications is limited because it necessitates substantial sample preparation, trained operators, and laboratory equipment(Rozsypal, 2026).

Proton Transfer Reaction–Mass Spectrometry (PTR–MS)
PTR-MS allows high-sensitivity, real-time VOC detection without the need for chromatographic separation. Acetone and other tiny volatile compounds can be dynamically monitored with it. Compound identification may be complicated by the technique's weakness in processing(Epping & Koch, 2023a).

Selected Ion Flow Tube–Mass Spectrometry (SIFT–MS)
Another real-time method that measures VOCs using established ion-molecule reaction kinetics is SIFT-MS. It provides reliable quantification and less sample preparation. Its compound coverage is limited to predetermined target analytes, just like PTR-MS, and thorough profiling is less practical than GC-MS(Swift et al., 2023).

Sensitivity, Specificity, and Reproducibility Considerations
Although the analytical performance of MS-based techniques is unmatched, inter-study variability is still a problem(Lv et al., 2025). Reproducibility between cohorts and laboratories can be greatly impacted by variations in breath collecting techniques, ambient background correction, calibration techniques, and data processing pipelines. Standardisation is still a crucial unmet requirement(Son et al., 2024).

4.2 Sensor and Electronic Nose (e-Nose) Technologies

Even though MS-based methods have unparalleled analytical performance, inter-study variability remains an issue. Differences in breath collection methods, ambient background adjustment, calibration methods, and data processing pipelines can significantly affect reproducibility between cohorts and labs. One important unmet need is standardisation(Westphal et al., 2022).

Metal Oxide Semiconductor (MOS) Sensors
VOCs are detected using MOS sensors by the use of variations in electrical resistance following gas adsorption. They are affordable, durable, and amenable to miniaturisation. They react to large classes of volatile organic compounds (VOCs) rather than specific ones, and they are extremely sensitive to changes in temperature and humidity(Epping & Koch, 2023b).

Nanomaterial-Based Sensors
Sensors based on metal nanoparticles, graphene, and carbon nanotubes have been made possible by developments in nanotechnology. In comparison to traditional MOS sensors, these materials provide enhanced sensitivity and adjustable selectivity(Bakhshpour-Yücel et al., 2025). Although there has been little clinical validation, nanomaterial-based sensors in diabetes research have shown the capacity to distinguish between the breath patterns of people with and without diabetes(X. Wang et al., 2023).

Pattern Recognition vs Compound-Specific Detection
E-nose systems usually do not name specific volatile organic compounds (VOCs), in contrast to MS-based techniques(Aghili et al., 2023). Rather, multivariate statistics or machine learning are used to analyse the composite response patterns that are produced. Although this pattern-based method can be quite effective in diagnosis, it has issues with cross-platform reproducibility, regulatory approval, and biological interpretability(Shtepliuk et al., 2025).

4.3 Emerging Technologies

Current technology advancements are designed to close the gap between clinical usability and analytical rigour(Livieri et al., 2025).

Microfluidic Breath Analyzers
Breath sampling, VOC separation, and detection are all integrated into small devices with small sample volumes using microfluidic platforms. These tools provide less chance of contamination and more control over sample settings. They show promise for standardised and scalable breath analysis, albeit still being primarily experimental(Azimzadeh et al., 2025).

Wearable and Point-of-Care Breath Sensors
A potential paradigm change for frequent or continuous metabolic monitoring is represented by wearable breath sensors and portable point-of-care devices(Vitazkova et al., 2024). Outside of clinical contexts, these devices may make it possible to track metabolic states over time, such as ketosis and glycaemic excursions. But issues with long-term dependability, calibration stability, and sensor drift are still unsolved(Alhaddad et al., 2023).

For diabetic breathomics, mass spectrometry-based methods now offer the most accurate and comprehensible data, especially during the discovery and validation stages(F. Zhang et al., 2024b). Although sensor-based and emerging technologies have great potential for clinical translation, routine clinical use cannot be verified until additional standardisation, extensive validation, and regulatory review are completed(Mennella et al., 2024).

5. Data Analysis and Pattern Recognition in Breathomics

Breathomics produces high-dimensional datasets made up of many VOC properties that are connected(Sadaka et al., 2024). Robust computational techniques are necessary to extract clinically significant patterns because of the biological variability of diabetes and the impact of physiological and environmental factors. At this point, analytical rigour plays a major role in determining diagnostic performance and reproducibility(Farnoosh et al., 2025).

5.1 Multivariate Statistical Approaches

Principal Component Analysis (PCA)

In exploratory breathomics research, PCA is a commonly employed unsupervised dimensionality reduction method(Jacokes et al., 2025). Using PCA, correlated VOC variables are converted into orthogonal principle components, which makes it easier to see how groups with and without diabetes cluster. PCA is useful for identifying outliers, batch effects, and dominating variance structures even though it does not immediately offer diagnostic classification(N. Zhang et al., 2024).

Partial Least Squares–Discriminant Analysis (PLS-DA)

A supervised technique called PLS-DA is frequently used to model class separation based on specified labels (diabetes vs. controls, for example). It enables the identification of VOCs that most significantly contribute to group discrimination by combining classification and dimensionality reduction(Aizpitarte et al., 2026). However, if cross-validation and external validation are not used strictly, PLS-DA is vulnerable to overfitting(Ghasemzadeh et al., 2024).

Clustering Techniques

Without prior class labels, natural groupings within VOC datasets are found using hierarchical clustering and k-means clustering. These methods are very helpful in identifying subphenotypes, such as differentiating between oxidative stress-dominant and ketosis-dominant profiles in diabetic populations(Haji et al., 2023).

Limitation: Complex nonlinear interactions between volatile organic compounds (VOCs) and metabolic states may not be adequately captured by traditional multivariate approaches, which presume linear connections(Chen et al., 2023).

5.2 Machine Learning and Artificial Intelligence

Machine learning (ML) and artificial intelligence (AI) techniques are becoming more prevalent due to the growing complexity of breathomics datasets(Royce et al., 2024).

Supervised vs Unsupervised Models

Support vector machines (SVM), random forests, gradient boosting, and neural networks are examples of supervised models that are trained on labelled datasets in order to predict glycaemic states or diagnostic categories. Compared to conventional statistical techniques, these models frequently attain greater classification accuracy(X. Li et al., 2025).

Autoencoders and sophisticated clustering algorithms are examples of unsupervised learning approaches that find latent patterns without predetermined outcomes, perhaps revealing unexpected metabolic groupings or disease pathways(Chaudhry et al., 2023).

Feature Selection and Model Interpretability

To avoid model instability and improve biological interpretability, feature selection is essential. Permutation importance ranking, LASSO regression, and recursive feature elimination are some of the methods used to find the most informative volatile organic compounds(Bulut et al., 2025). However, for clinical acceptance and regulatory approval, very complicated models (such deep neural networks) may compromise interpretability in favour of predictive performance(Zubair et al., 2024).

Risk of Overfitting and Dataset Bias

Small, single-center datasets are used in many breathomics investigations, which raises the possibility of overfitting a situation in which models perform well on training data but poorly on external validation cohorts(Ko et al., 2026). Additionally, nutritional disparities, device-specific artefacts, and demographic imbalances may contribute to dataset bias. Reports of performance indicators (such as accuracy, AUC, sensitivity, and specificity) may exaggerate their practical usefulness in the absence of multicenter validation and standardised methodologies(Alipour & Alipour, 2025).

6. Clinical Applications and Evidence Base

The clinical utility of breath VOC analysis is its ultimate value. Although proof-of-concept studies show promise, the quality of the data differs depending on the application(Moura et al., 2023b).

6.1 Diagnosis and Screening of Diabetes

Type 1 vs Type 2 Diabetes Differentiation

In type 1 diabetes, breath acetone levels are typically more noticeably high, especially during insulin insufficiency or ketoacidosis(Jones et al., 2025). On the other hand, rather than overt ketosis, type 2 diabetes is frequently characterised by more subtle changes in VOC patterns associated with oxidative stress and insulin resistance. Due to the lack of strong head-to-head validation studies, multivariate VOC signatures may help with phenotypic distinction(Krause & De Vito, 2023).

Pre-Diabetes Detection Potential

Detectable changes in VOC profiles may result from early metabolic dysregulation in prediabetes before glucose or HbA1c diagnostic thresholds are exceeded(Cai et al., 2026). Pattern-based breath analysis appears to provide a reasonable level of accuracy in distinguishing between prediabetes and normoglycemia, according to a number of small-scale investigations. However, in order to ascertain predictive usefulness and cost-effectiveness, extensive prospective longitudinal investigations are required(Rondanelli et al., 2023).

6.2 Monitoring Glycemic Control and Disease Progression

Correlation with HbA1c and Glucose Variability

In certain investigations, breath acetone has demonstrated a moderate connection with HbA1c levels and short-term glycaemic swings(Pokora et al., 2025). Near real-time metabolic information may be obtained from breath VOCs, in contrast to HbA1c, which represents long-term glycaemic exposure. This temporal benefit might enhance current monitoring techniques, especially for dynamic metabolic states(Pugliese et al., 2022).

Detection of Diabetic Ketoacidosis (DKA) Risk

Increased breath acetone levels have been repeatedly linked to the risk of ketosis and DKA. Rapid, non-invasive screening in emergency situations or remote monitoring scenarios may be made possible by breath-based detection. However, further standardisation is needed for clinical standards for actionable decision-making(Sha et al., 2022b).

6.3 Special Populations

Pediatric Patients

Non-invasive breath monitoring may be especially helpful for kids and teenagers with type 1 diabetes, as it lessens the need for frequent finger-prick testing. Initial research shows viability, but growth, dietary, and activity-related variability needs to be taken into consideration(Moses et al., 2023).

Pregnant Women (Gestational Diabetes)

Due to physiological metabolic changes that occur during pregnancy, gestational diabetes mellitus (GDM) poses diagnostic problems. Although the findings is still preliminary and confounding from pregnancy-related metabolic changes must be carefully considered, breathomics may possibly provide supplemental screening tools(Mittal et al., 2025).

Low-Resource and LMIC Settings

Portable and inexpensive breath sensors could offer scalable screening options in settings with limited laboratory testing infrastructure(Durán Cotrina et al., 2026). However, prior to deployment, it is necessary to address environmental interference, calibration stability, and device robustness. Furthermore, in order to prevent diagnostic disparities, validation in a variety of populations is crucial(Yang et al., 2025).

The majority of the evidence comes from small, diverse cohorts, while early clinical studies show excellent diagnostic performance for breath-based VOC analysis in diabetes(Gudiño-Ochoa et al., 2024a). In order for breathomics to be regarded as a clinically validated diagnostic or monitoring tool, large multicenter trials using standardised procedures are necessary(Yockell-Lelièvre et al., 2025a).

The translational workflow from breath collection and VOC detection to computational analysis and clinical decision-making in diabetes management is shown in Figure 2.

Figure 2. Translational workflow from breath collection to clinical decision-making in diabetes.
Standardised breath collection (e.g., end-tidal sample or portable devices) is the first step in the workflow. Next, volatile organic compounds are analytically detected utilising mass spectrometry-based platforms or sensor-based technologies. To produce diagnostic or monitoring outputs, extracted VOC properties are subjected to multivariate statistical analysis or machine learning-based pattern recognition. Clinical applications such as glycaemic monitoring, risk stratification, and diabetes screening are informed by these outputs. Regulatory permission, multicenter validation, and standardisation are essential cross-cutting prerequisites for clinical implementation..

7. Limitations and Challenges

Despite significant conceptual and technological advancements, there are a number of interconnected barriers to the practical application of breath VOC analysis for diabetes(Magnano et al., 2024a). To guarantee dependability and clinical credibility, these issues must be resolved. They include biological variability, methodological limitations, and regulatory barriers(Zheng et al., 2024a).

7.1 Biological Variability

Numerous physiological and behavioural factors can mask disease-specific signals in exhaled volatile organic compound (VOC) patterns(Zheng et al., 2024b).

Diet, Age, Sex, and Circadian Rhythm
Dietary consumption significantly and instantly affects the VOC composition of breath, especially for alcohols, sulfur-containing chemicals, and ketones(Oyerinde et al., 2023e). Inter-individual variability is further influenced by variations in body composition, hormone regulation, and metabolism related to age and sex(Barbão et al., 2025). Variations in VOC levels that are dependent on the time of day are caused by circadian rhythms, which also alter metabolic flux and lung ventilation. Diagnostic models may show decreased specificity if these aspects are not carefully controlled or adjusted(R. Wang et al., 2025).

Comorbidities and Medication Effects
Obesity, cardiovascular illness, liver failure, and chronic renal disease are common comorbid diseases that can independently change VOC patterns in people with diabetes(Kreiner et al., 2023). Insulin, metformin, statins, and antihypertensive drugs are examples of commonly used drugs that affect metabolic processes associated with the formation of volatile organic compounds. It is still very difficult to separate signals specific to diabetes from effects linked to comorbidities and therapy(Campagnoli et al., 2025).

7.2 Technical and Methodological Constraints

Lack of Standardization in Breath Sampling
There is currently no well recognised procedure for collecting breath in diabetes studies(Marfatia et al., 2025). Inconsistent results between studies are caused by differences in pre-sampling circumstances, breath volume, collection equipment, and sampling techniques (e.g., mixed expiratory breath vs. end-tidal breath). Meta-analytic synthesis and cross-study comparability are restricted by this lack of harmonisation(Mortazavi et al., 2025b).

Inter-Instrument Variability
Sensitivity, detection limits, and compound coverage vary throughout analytical platforms, especially between mass spectrometry systems and sensor-based instruments(Guo et al., 2025). Reproducibility between laboratories and clinical locations can be complicated by significant differences in calibration procedures and data processing pipelines, even within the same technology class(Tsakalof et al., 2024).

Environmental Contamination
Breath measurements can be distorted by interior contaminants, ambient air composition, and laboratory background volatile organic compounds if they are not well managed(Moura et al., 2023c). For low-abundance VOCs and in field-based or point-of-care settings, environmental contamination is particularly problematic, highlighting the necessity of strict background correction and quality\control protocols(Silva et al., 2025).

7.3 Clinical and Regulatory Barriers

Reproducibility Across Cohorts
Many breathomics research have small sample sizes, are exploratory in nature, and are single-center. Models created in these settings frequently do not generalise to other groups with distinct dietary habits, environmental exposures, or demography. Therefore, proving repeatability across separate cohorts is an essential requirement for clinical acceptance(Yockell-Lelièvre et al., 2025b).

Validation Against Gold Standards
Breath-based diagnostics must be verified against recognised gold standards, such as HbA1c, plasma glucose measures, and ketone assays, in order to be approved by regulators and clinicians(Jarnda et al., 2025). Standardised performance benchmarks have not been established consistently, and correlations are currently moderate and context-dependent(Goshrani et al., 2025).

Regulatory Approval Pathways (FDA, EMA)
Regulatory bodies need unambiguous proof of clinical utility, clinical validity, and analytical validity. Other issues with algorithm openness, model update, and post-market surveillance come up for breath diagnoses that are AI-driven or pattern-based(Olawade et al., 2026). The lack of widespread regulatory approval for any breath-based VOC test for diabetes at this time emphasises the field's early translational stage(Magnano et al., 2024b).

8. Ethical, Privacy, and Implementation Considerations

The growing intersections of breathomics with AI and digital health need for careful evaluation of implementation and ethical considerations(Gudiño-Ochoa et al., 2024b).

Data Ownership and Biometric Privacy
Breath VOC profiles are biometric health data that may be sensitive. Particularly when cloud-based analytics are used, it is crucial to have clear frameworks for data ownership, storage, and secondary usage in order to preserve public trust and ensure patient privacy(McKenzie et al., 2026).

Clinical Accountability of AI-Driven Diagnostics
AI-powered breath analysis tools call into question clinician accountability and decision-making power. To ensure responsibility when algorithmic outputs impact clinical decisions, it is necessary to clearly define the roles of clinicians, developers, and healthcare organisations(Maleki Varnosfaderani & Forouzanfar, 2024).

Equity in Access and Deployment
Although breath-based diagnostics are frequently marketed as accessible and inexpensive, health inequities may be made worse by uneven implementation or skewed training datasets(Ferrara, 2023). For responsible implementation, it is crucial to provide validation in a variety of groups and fair access across socioeconomic circumstances(Joseph, 2025).

9. Future Directions

Coordinated methodological, technological, and clinical efforts will be needed to address the constraints that currently exist(Zamiri & Esmaeili, 2024).

9.1 Standardization and Harmonization

A fundamental priority is the creation of accepted standards for breath collection, storage, analysis, and reporting. Meta-analyses, regulatory evaluation, and reproducibility would all be accelerated by standardised procedures and minimum reporting requirements(Zhou et al., 2025).

9.2 Integration with Multi-Omics and Digital Health

Breathomics + Metabolomics + Genomics
The accuracy of diagnosis and biological interpretability may be improved by combining breath VOC data with blood-based metabolomics, genomes, and microbiome profiles(Gallos et al., 2023). These multi-omics techniques may shed light on the causal relationships between metabolic disorders and VOC signatures(Gutierrez Reyes et al., 2024).

Continuous Monitoring and Digital Twins
The accuracy of diagnosis and biological interpretability may be improved by combining breath VOC data with blood-based metabolomics, genomes, and microbiome profiles. These multi-omics techniques may shed light on the causal relationships between metabolic disorders and VOC signatures(Moura et al., 2023d).

9.3 Translational and Clinical Trial Pathways

Large-Scale Longitudinal Studies
To determine the prognostic value and temporal dynamics of VOC changes, prospective studies that follow people from normoglycemia through prediabetes to overt diabetes are required(Choi et al., 2025).

Real-World Clinical Validation
It is crucial to evaluate feasibility, user acceptability, and practical performance in everyday clinical settings, such as primary care and community-based screening(Gong et al., 2023).

Cost-Effectiveness and Health System Integration
Adoption will depend on proving economic value in comparison to current diagnostic techniques. While delivering useful information, integration into healthcare workflows must reduce burden(Raunaq et al., 2025).

The breathomics literature constantly acknowledges the limits and future directions mentioned above. While technology advancement is rapid, considerable evidence gaps remain, and cautious interpretation is required until standardized, large-scale validation studies are completed(Carrick et al., 2025).

10. Conclusion

The understanding of how volatile organic molecules in exhaled breath represent the oxidative, inflammatory, and metabolic disruptions that define diabetes has significantly increased thanks to developments in breathomics. A scientifically sound basis for breath-based diagnostics is provided by repeatable correlations between diabetes and particular VOC classes, including ketone-related substances like acetone, as well as aldehydes and hydrocarbons associated with oxidative stress. The topic of breath VOC analysis has advanced from proof-of-concept to translational significance thanks to parallel advancements in analytical technologies, sensor development, and computer modelling.

Despite these developments, breath-based VOC analysis is still not clinically prepared to be used as a stand-alone diabetes monitoring or diagnostic tool. Reproducibility and generalisability are hampered by significant biological variability, inconsistent sampling and analytical procedures, and a lack of multicenter validation. Furthermore, a lot of claimed diagnostic performances may exaggerate their usefulness in the real world because they are based on small, diverse cohorts. As of right now, breathomics should be seen as a supplementary method that could enhance rather than replace current biochemical diagnoses.

In the future, breath-based diagnostics may have a significant impact on precision diabetology if present issues are methodically resolved. The next crucial steps are rigorous clinical validation in a variety of populations, integration with multi-omics data, and standardisation of procedures. Breathomics may eventually make non-invasive, scalable, and patient-centered tools for diabetes early detection, risk stratification, and dynamic monitoring possible with further technological advancement and evidence generation. This is especially true in situations where traditional testing is difficult or impractical.

In the future, if present issues are methodically resolved, breath-based diagnostics may contribute significantly to precision diabetology. The next steps must include standardising procedures, integrating multi-omics data, and conducting thorough clinical validation across a range of populations. Breathomics may eventually make non-invasive, scalable, and patient-centered tools for diabetes early detection, risk stratification, and dynamic monitoring possible with further technological advancement and evidence generation—especially in situations where traditional testing is difficult or impractical.

Disclaimer (Artificial intelligence)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

REFERENCES

Aedh, A. I., Alshahrani, M. S., Huneif, M. A., Pryme, I. F., & Oruch, R. (2023). A Glimpse into Milestones of Insulin Resistance and an Updated Review of Its Management. Nutrients, 15(4). https://doi.org/10.3390/nu15040921

Aghili, N. S., Rasekh, M., Karami, H., Edriss, O., Wilson, A. D., & Ramos, J. (2023). Aromatic Fingerprints: VOC Analysis with E-Nose and GC-MS for Rapid Detection of Adulteration in Sesame Oil. Sensors, 23(14). https://doi.org/10.3390/s23146294

Aizpitarte, D. P., Larrañaga, E., Mayor, U., Isla, A., Amigo, J. M., & Bartolomé, L. (2026). Untargeted Metabolomics and Multivariate Data Processing to Reveal SARS-CoV-2 Specific VOCs for Canine Biodetection. Chemosensors, 14(2). https://doi.org/10.3390/chemosensors14020035

Alhaddad, A. Y., Aly, H., Gad, H., Elgassim, E., Mohammed, I., Baagar, K., Al-Ali, A., Sadasivuni, K. K., Cabibihan, J.-J., & Malik, R. A. (2023). Longitudinal Studies of Wearables in Patients with Diabetes: Key Issues and Solutions. Sensors, 23(11). https://doi.org/10.3390/s23115003

Alipour, M., & Alipour, A. (2025). Algorithmic Bias in AI-Based Diabetes Care: Systematic Review of Model Performance, Equity Reporting, and Physiological Label Bias. InfoScience Trends, 2(5), 33–46. https://doi.org/10.61186/ist.202502.05.04

Andaloro, S., De Gaetano, V., Cardone, F., Ianiro, G., Cerrito, L., Pallozzi, M., Stella, L., Gasbarrini, A., & Ponziani, F. R. (2025). Autobrewery Syndrome and Endogenous Ethanol Production in Patients with MASLD: A Perspective from Chronic Liver Disease. International Journal of Molecular Sciences, 26(15), 7345. https://doi.org/10.3390/ijms26157345

Azimzadeh, M., Khashayar, P., Mousazadeh, M., Daneshpour, M., Rostami, M., Goodlett, D. R., Manji, K., Fardindoost, S., Akbari, M., & Hoorfar, M. (2025). Volatile organic compounds (VOCs) detection for the identification of bacterial infections in clinical wound samples. Talanta, 292, 127991. https://doi.org/10.1016/j.talanta.2025.127991

Bakhshpour-Yücel, M., Aljayyousi, N., Osman, B., Lortlar Ünlü, N., Denizli, A., & Ünlü, M. S. (2025). Nanomaterial-Based Sensing Systems to Detect Neuropharmaceutical Compounds and Neurotransmitters. Sensors (Basel, Switzerland), 25(11), 3256. https://doi.org/10.3390/s25113256

Barbão, K. E. G., Pavanello, A., Oliveira, F. M., Santos, N. Q., Valdés-Badilla, P., Marchiori, L. L. M., Franchini, E., & Branco, B. H. M. (2025). Variation in Body Composition Components Across Different Age Groups and Proposal of Age-Specific Normative Tables: A Cross-Sectional Study. Nutrients, 17(9). https://doi.org/10.3390/nu17091435

Bulut, O., Tan, B., Mazzullo, E., & Syed, A. (2025). Benchmarking Variants of Recursive Feature Elimination: Insights from Predictive Tasks in Education and Healthcare. Information, 16(6). https://doi.org/10.3390/info16060476

Cai, A., Portengen, L., Lenters, V., Remy, S., Zhang, Y., Hassen, H. Y., Dunn, K., Pinto-Pacheco, B., Koppelman, G. H., Legler, J., Gehring, U., Walker, D. I., & Vermeulen, R. (2026). Metabolic perturbations associated with per- and polyfluoroalkyl substances and their relationships with glycated hemoglobin in the Dutch PIAMA birth cohort. Environment International, 208, 110113. https://doi.org/10.1016/j.envint.2026.110113

Campagnoli, L. I. M., Varesi, A., Fahmideh, F., Hakimizad, R., Petkovic, P., Barbieri, A., Marchesi, N., & Pascale, A. (2025). From Diabetes to Degenerative Diseases: The Multifaceted Action of Metformin. International Journal of Molecular Sciences, 26(19). https://doi.org/10.3390/ijms26199748

Carrick, F. R., Daniels, P., Pelletier, S., Prysmakova, S., Hankir, A., Abdulrahman, M., & Al-Rumaihi, N. (2025). The Exchange Breathing Method for Seizure Intervention: A Historical and Scientific Review of Epilepsy and Its Evolving Therapeutic Paradigms. Journal of Personalized Medicine, 15(8). https://doi.org/10.3390/jpm15080385

Chaudhry, M., Shafi, I., Mahnoor, M., Vargas, D. L. R., Thompson, E. B., & Ashraf, I. (2023). A Systematic Literature Review on Identifying Patterns Using Unsupervised Clustering Algorithms: A Data Mining Perspective. Symmetry, 15(9). https://doi.org/10.3390/sym15091679

Chen, W.-Y., Fu, Y.-P., Tu, H., Zhong, W., & Zhou, L. (2023). The association between exposure to volatile organic compounds and serum lipids in the US adult population. Lipids in Health and Disease, 22, 129. https://doi.org/10.1186/s12944-023-01895-z

Choi, W., Moon, J. H., Choe, H. J., Chang, H. H., Kondal, D., Narayan, K. M. V., & Cho, N. H. (2025). Longitudinal insights into the natural history of Type 2 diabetes among Koreans: A 20‐year community‐based prospective cohort study. Journal of Internal Medicine, 298(4), 336–348. https://doi.org/10.1111/joim.70010

Chou, H., Godbeer, L., Allsworth, M., Boyle, B., & Ball, M. L. (2024a). Progress and challenges of developing volatile metabolites from exhaled breath as a biomarker platform. Metabolomics, 20(4), 72. https://doi.org/10.1007/s11306-024-02142-x

Chou, H., Godbeer, L., Allsworth, M., Boyle, B., & Ball, M. L. (2024b). Progress and challenges of developing volatile metabolites from exhaled breath as a biomarker platform. Metabolomics, 20(4), 72. https://doi.org/10.1007/s11306-024-02142-x

Contreras-Zentella, M. L., Hernández-Espinosa, L. C., & Hernández-Muñoz, R. (2025). Oxidative Stress in Liver Metabolic Dysfunction and Diseases, with a Focus on Hepatogenic Diabetes: Effect of Alcohol Consumption. Antioxidants, 14(12). https://doi.org/10.3390/antiox14121494

Dong, Y., & Tong, Y. (2025). Lipid Peroxidation in Diabetic Kidney Disease: Mechanism and Natural Solution. International Journal of Molecular Sciences, 26(19). https://doi.org/10.3390/ijms26199764

Dragoev, S. G. (2024). Lipid Peroxidation in Muscle Foods: Impact on Quality, Safety and Human Health. Foods, 13(5). https://doi.org/10.3390/foods13050797

Durán Cotrina, S. V., Acevedo, C. M. D., & Carrillo Gómez, J. K. (2026). Portable Electronic Olfactometer for Non-Invasive Screening of Canine Ehrlichiosis: A Proof-of-Concept Study Using Machine Learning. Veterinary Sciences, 13(1), 88. https://doi.org/10.3390/vetsci13010088

Epping, R., & Koch, M. (2023a). On-Site Detection of Volatile Organic Compounds (VOCs). Molecules, 28(4). https://doi.org/10.3390/molecules28041598

Epping, R., & Koch, M. (2023b). On-Site Detection of Volatile Organic Compounds (VOCs). Molecules, 28(4), 1598. https://doi.org/10.3390/molecules28041598

Farnoosh, R., Abnoosian, K., Isewid, R. A., & Javaheri, D. (2025). DiabetesXpertNet: An innovative attention-based CNN for accurate type 2 diabetes prediction. PLOS One, 20(9), e0330454. https://doi.org/10.1371/journal.pone.0330454

Ferrara, E. (2023). Fairness and Bias in Artificial Intelligence: A Brief Survey of Sources, Impacts, and Mitigation Strategies. Sci, 6(1). https://doi.org/10.3390/sci6010003

Gallos, I. K., Tryfonopoulos, D., Shani, G., Amditis, A., Haick, H., & Dionysiou, D. D. (2023). Advancing Colorectal Cancer Diagnosis with AI-Powered Breathomics: Navigating Challenges and Future Directions. Diagnostics, 13(24). https://doi.org/10.3390/diagnostics13243673

Ghasemzadeh, H., Hillman, R. E., & Mehta, D. D. (2024). Toward Generalizable Machine Learning Models in Speech, Language, and Hearing Sciences: Estimating Sample Size and Reducing Overfitting. Journal of Speech, Language, and Hearing Research : JSLHR, 67(3), 753–781. https://doi.org/10.1044/2023_JSLHR-23-00273

Gladding, P. A., Cooper, M., Young, R., Loader, S., Smith, K., Zarate, E., Green, S., Boas, S. G. V., Shepherd, P., Kakadiya, P., Thorstensen, E., Keven, C., Coe, M., Jüllig, M., Zhang, E., & Schlegel, T. T. (2022). Metabolomics and a Breath Sensor Identify Acetone as a Biomarker for Heart Failure. Biomolecules, 13(1). https://doi.org/10.3390/biom13010013

Goldman, M. R., Molina-Castro, M., Etkins, J. C., Koide, T. L., Ramchandani, V. A., Plawecki, M. H., Mennella, J. A., & Pepino, M. Y. (2025). Recent advances in alcohol metabolism: From the gut to the brain. Physiological Reviews, 105(4), 2501–2535. https://doi.org/10.1152/physrev.00053.2024

Gong, D., Chen, X., Yang, L., Zhang, Y., Zhong, Q., Liu, J., Yan, C., Cai, Y., Yang, W., & Wang, J. (2023). From normal population to prediabetes and diabetes: Study of influencing factors and prediction models. Frontiers in Endocrinology, 14, 1225696. https://doi.org/10.3389/fendo.2023.1225696

Goshrani, A., Lin, R., O’Neal, D., & Ekinci, E. I. (2025). Time in range—A new gold standard in type 2 diabetes research? Diabetes, Obesity & Metabolism, 27(5), 2342–2362. https://doi.org/10.1111/dom.16279

Gudiño-Ochoa, A., García-Rodríguez, J. A., Ochoa-Ornelas, R., Cuevas-Chávez, J. I., & Sánchez-Arias, D. A. (2024a). Noninvasive Diabetes Detection through Human Breath Using TinyML-Powered E-Nose. Sensors, 24(4). https://doi.org/10.3390/s24041294

Gudiño-Ochoa, A., García-Rodríguez, J. A., Ochoa-Ornelas, R., Cuevas-Chávez, J. I., & Sánchez-Arias, D. A. (2024b). Noninvasive Diabetes Detection through Human Breath Using TinyML-Powered E-Nose. Sensors (Basel, Switzerland), 24(4), 1294. https://doi.org/10.3390/s24041294

Guo, Z., Li, J., Zeng, L., Wang, P., Li, M., Su, C., & Wang, S. (2025). Advances in research on novel technologies for the detection of exogenous contaminants in traditional Chinese medicine. Frontiers in Pharmacology, 16, 1658241. https://doi.org/10.3389/fphar.2025.1658241

Gutierrez Reyes, C. D., Alejo-Jacuinde, G., Perez Sanchez, B., Chavez Reyes, J., Onigbinde, S., Mogut, D., Hernández-Jasso, I., Calderón-Vallejo, D., Quintanar, J. L., & Mechref, Y. (2024). Multi Omics Applications in Biological Systems. Current Issues in Molecular Biology, 46(6), 5777–5793. https://doi.org/10.3390/cimb46060345

Haji, S. H., Jacksi, K., & Salah, R. M. (2023). A Semantics-Based Clustering Approach for Online Laboratories Using K-Means and HAC Algorithms. Mathematics, 11(3). https://doi.org/10.3390/math11030548

Hansen, A. W., & Venkatachalam, K. V. (2023). Sulfur-Element containing metabolic pathways in human health and crosstalk with the microbiome. Biochemistry and Biophysics Reports, 35, 101529. https://doi.org/10.1016/j.bbrep.2023.101529

Hossain, Md. J., Al‐Mamun, Md., & Islam, Md. R. (2024). Diabetes mellitus, the fastest growing global public health concern: Early detection should be focused. Health Science Reports, 7(3), e2004. https://doi.org/10.1002/hsr2.2004

Huang, J., Yeung, A. M., Bergenstal, R. M., Castorino, K., Cengiz, E., Dhatariya, K., Niu, I., Sherr, J. L., Umpierrez, G. E., & Klonoff, D. C. (2023). Update on Measuring Ketones. Journal of Diabetes Science and Technology, 18(3), 714–726. https://doi.org/10.1177/19322968231152236

Iafusco, D., Franceschi, R., Maguolo, A., Nuzio, S. G., Crinò, A., Delvecchio, M., Iughetti, L., Maffeis, C., Calcaterra, V., & Manco, M. (2023). From Metabolic Syndrome to Type 2 Diabetes in Youth. Children, 10(3). https://doi.org/10.3390/children10030516

Ibiam, A., Ubani, C., Okafor, C., Olorunkosebi, M. T., & Fagbemi, B. T. (2023). Epigenetic footprints of heavy metal exposure: Biochemical mechanisms and public health implications. International Journal of Clinical Biology and Biochemistry, 5(2), 53–61. https://doi.org/10.33545/26646188.2023.v5.i2a.110

Jacokes, Z., Adoremos, I., Hussain, A. R., Newman, B. T., Pelphrey, K. A., & Van Horn, J. D. (2025). Unsupervised Dimensionality Reduction Techniques for the Assessment of ASD Biomarkers. Pacific Symposium on Biocomputing. Pacific Symposium on Biocomputing, 30, 614–630. https://doi.org/10.1142/9789819807024_0044

Jarnda, K. V., Dai, H., Ali, A., Bestman, P. L., Trafialek, J., Roberts-Jarnda, G. P., Anaman, R., Kamara, M. G., Wu, P., & Ding, P. (2025). A Review on Optical Biosensors for Monitoring of Uric Acid and Blood Glucose Using Portable POCT Devices: Status, Challenges, and Future Horizons. Biosensors, 15(4). https://doi.org/10.3390/bios15040222

Jones, K. E., Petersen, M. C., Markov, A. M., Salam, M., Krutilova, P., McKee, A. M., Bohnert, K. L., Adamson, S. E., & McGill, J. B. (2025). Breath Acetone Correlates With Capillary β-hydroxybutyrate in Type 1 Diabetes. Journal of Diabetes Science and Technology, 19322968251334640. https://doi.org/10.1177/19322968251334640

Joseph, J. (2025). Algorithmic bias in public health AI: A silent threat to equity in low-resource settings. Frontiers in Public Health, 13, 1643180. https://doi.org/10.3389/fpubh.2025.1643180

Ko, Y.-H., Hung, C.-S., Lin, C.-H. R., Wu, D.-W., Huang, C.-H., Lin, C.-T., & Tsai, J.-H. (2026). Tackling Imbalanced Data in Chronic Obstructive Pulmonary Disease Diagnosis: An Ensemble Learning Approach with Synthetic Data Generation. Bioengineering, 13(1). https://doi.org/10.3390/bioengineering13010105

Kokkotis, C., Moustakidis, S., Swift, S. J., Kontopidou, F., Kavouras, I., Doulamis, A., & Giannoukos, S. (2025). Artificial Intelligence and Machine Learning in the Diagnosis and Prognosis of Diseases Through Breath Analysis: A Scoping Review. Information, 16(11). https://doi.org/10.3390/info16110968

Krause, M., & De Vito, G. (2023). Type 1 and Type 2 Diabetes Mellitus: Commonalities, Differences and the Importance of Exercise and Nutrition. Nutrients, 15(19), 4279. https://doi.org/10.3390/nu15194279

Kreiner, F. F., Schytz, P. A., Heerspink, H. J. L., Scholten, B. J. von, & Idorn, T. (2023). Obesity-Related Kidney Disease: Current Understanding and Future Perspectives. Biomedicines, 11(9). https://doi.org/10.3390/biomedicines11092498

Li, C., Wang, J., Wang, L., Guo, J., Li, J., Li, X., Li, L., Zhang, J., & Suo, X. (2024a). Volatile organic compounds exposure in relation to glucose homeostasis and type 2 diabetes in older adults from the NHANES. Scientific Reports, 14, 30075. https://doi.org/10.1038/s41598-024-81255-8

Li, C., Wang, J., Wang, L., Guo, J., Li, J., Li, X., Li, L., Zhang, J., & Suo, X. (2024b). Volatile organic compounds exposure in relation to glucose homeostasis and type 2 diabetes in older adults from the NHANES. Scientific Reports, 14, 30075. https://doi.org/10.1038/s41598-024-81255-8

Li, X., Ding, F., Zhang, L., Zhao, S., Hu, Z., Ma, Z., Li, F., Zhang, Y., Zhao, Y., & Zhao, Y. (2025). Interpretable machine learning method to predict the risk of pre-diabetes using a national-wide cross-sectional data: Evidence from CHNS. BMC Public Health, 25, 1145. https://doi.org/10.1186/s12889-025-22419-7

Liu, H., Wang, S., Wang, J., Guo, X., Song, Y., Fu, K., Gao, Z., Liu, D., He, W., & Yang, L.-L. (2025). Energy metabolism in health and diseases. Signal Transduction and Targeted Therapy, 10, 69. https://doi.org/10.1038/s41392-025-02141-x

Livieri, G., Mangina, E., Protopapadakis, E. D., & Panayiotou, A. G. (2025). The gaps and challenges in digital health technology use as perceived by patients: A scoping review and narrative meta-synthesis. Frontiers in Digital Health, 7, 1474956. https://doi.org/10.3389/fdgth.2025.1474956

Lv, M., Liu, H., Wang, M., Wang, D., Li, H., Lu, X., Guo, Z., & Li, Q. (2025). Small Scale Multi-Object Segmentation in Mid-Infrared Image Using the Image Timing Features–Gaussian Mixture Model and Convolutional-UNet. Sensors, 25(11). https://doi.org/10.3390/s25113440

Magnano, M. C., Ahmed, W., Wang, R., Bergant Marušič, M., Fowler, S. J., & White, I. R. (2024a). Exhaled volatile organic compounds and respiratory disease: Recent progress and future outlook. TrAC Trends in Analytical Chemistry, 176, 117739. https://doi.org/10.1016/j.trac.2024.117739

Magnano, M. C., Ahmed, W., Wang, R., Bergant Marušič, M., Fowler, S. J., & White, I. R. (2024b). Exhaled volatile organic compounds and respiratory disease: Recent progress and future outlook. TrAC Trends in Analytical Chemistry, 176, 117739. https://doi.org/10.1016/j.trac.2024.117739

Maleki Varnosfaderani, S., & Forouzanfar, M. (2024). The Role of AI in Hospitals and Clinics: Transforming Healthcare in the 21st Century. Bioengineering, 11(4), 337. https://doi.org/10.3390/bioengineering11040337

Manolis, A. S., Manolis, T. A., & Manolis, A. A. (2023). Ketone Bodies and Cardiovascular Disease: An Alternate Fuel Source to the Rescue. International Journal of Molecular Sciences, 24(4). https://doi.org/10.3390/ijms24043534

Marfatia, K., Ni, J., Preda, V., & Nasiri, N. (2025). Is Breath Best? A Systematic Review on the Accuracy and Utility of Nanotechnology Based Breath Analysis of Ketones in Type 1 Diabetes. Biosensors, 15(1), 62. https://doi.org/10.3390/bios15010062

Masenga, S. K., Kabwe, L. S., Chakulya, M., & Kirabo, A. (2023). Mechanisms of Oxidative Stress in Metabolic Syndrome. International Journal of Molecular Sciences, 24(9). https://doi.org/10.3390/ijms24097898

McKenzie, M., Irac, S. E., Chen, Z., Moradi, A., Jenner, A., Nguyen, Q., & Rashidieh, B. (2026). Integrative spatial omics and artificial intelligence: Transforming cancer research with omics data and AI. Seminars in Cancer Biology, 119, 65–82. https://doi.org/10.1016/j.semcancer.2026.01.002

Mennella, C., Maniscalco, U., De Pietro, G., & Esposito, M. (2024). Ethical and regulatory challenges of AI technologies in healthcare: A narrative review. Heliyon, 10(4), e26297. https://doi.org/10.1016/j.heliyon.2024.e26297

Mittal, R., Prasad, K., Lemos, J. R. N., Arevalo, G., & Hirani, K. (2025). Unveiling Gestational Diabetes: An Overview of Pathophysiology and Management. International Journal of Molecular Sciences, 26(5). https://doi.org/10.3390/ijms26052320

Mortazavi, S., Makouei, S., Abbasian, K., & Danishvar, S. (2025a). Exhaled Breath Analysis (EBA): A Comprehensive Review of Non-Invasive Diagnostic Techniques for Disease Detection. Photonics, 12(9). https://doi.org/10.3390/photonics12090848

Mortazavi, S., Makouei, S., Abbasian, K., & Danishvar, S. (2025b). Exhaled Breath Analysis (EBA): A Comprehensive Review of Non-Invasive Diagnostic Techniques for Disease Detection. Photonics, 12(9). https://doi.org/10.3390/photonics12090848

Moses, J. C., Adibi, S., Wickramasinghe, N., Nguyen, L., Angelova, M., & Islam, S. M. S. (2023). Non-invasive blood glucose monitoring technology in diabetes management: Review. mHealth, 10, 9. https://doi.org/10.21037/mhealth-23-9

Moura, P. C., Raposo, M., & Vassilenko, V. (2023a). Breath volatile organic compounds (VOCs) as biomarkers for the diagnosis of pathological conditions: A review. Biomedical Journal, 46(4), 100623. https://doi.org/10.1016/j.bj.2023.100623

Moura, P. C., Raposo, M., & Vassilenko, V. (2023b). Breath volatile organic compounds (VOCs) as biomarkers for the diagnosis of pathological conditions: A review. Biomedical Journal, 46(4), 100623. https://doi.org/10.1016/j.bj.2023.100623

Moura, P. C., Raposo, M., & Vassilenko, V. (2023c). Breath volatile organic compounds (VOCs) as biomarkers for the diagnosis of pathological conditions: A review. Biomedical Journal, 46(4), 100623. https://doi.org/10.1016/j.bj.2023.100623

Moura, P. C., Raposo, M., & Vassilenko, V. (2023d). Breath volatile organic compounds (VOCs) as biomarkers for the diagnosis of pathological conditions: A review. Biomedical Journal, 46(4), 100623. https://doi.org/10.1016/j.bj.2023.100623

Okafor, C., Ibiam, V. A., Fagbemi, B. T., Ubani, C., & Olorunkosebi, M. T. (2024). Microbial dysbiosis and antibiotic resistance in cancer development and therapy. International Journal of Molecular Biology and Biochemistry, 6(1), 68–77. https://doi.org/10.33545/26646501.2024.v6.i1a.105

Olawade, D. B., Plabon, S. B., Ojo, A., Ogunbona, M. A., Makanjuola, B. D., & Olasilola, O. R. (2026). Human in the loop artificial intelligence in healthcare: Applications, outcomes, and implementation challenges. International Journal of Medical Informatics, 213, 106362. https://doi.org/10.1016/j.ijmedinf.2026.106362

Oyerinde, A. S., Selvaraju, V., Babu, J. R., & Geetha, T. (2023a). Potential Role of Oxidative Stress in the Production of Volatile Organic Compounds in Obesity. Antioxidants, 12(1), 129. https://doi.org/10.3390/antiox12010129

Oyerinde, A. S., Selvaraju, V., Babu, J. R., & Geetha, T. (2023b). Potential Role of Oxidative Stress in the Production of Volatile Organic Compounds in Obesity. Antioxidants, 12(1). https://doi.org/10.3390/antiox12010129

Oyerinde, A. S., Selvaraju, V., Babu, J. R., & Geetha, T. (2023c). Potential Role of Oxidative Stress in the Production of Volatile Organic Compounds in Obesity. Antioxidants, 12(1). https://doi.org/10.3390/antiox12010129

Oyerinde, A. S., Selvaraju, V., Babu, J. R., & Geetha, T. (2023d). Potential Role of Oxidative Stress in the Production of Volatile Organic Compounds in Obesity. Antioxidants, 12(1). https://doi.org/10.3390/antiox12010129

Oyerinde, A. S., Selvaraju, V., Babu, J. R., & Geetha, T. (2023e). Potential Role of Oxidative Stress in the Production of Volatile Organic Compounds in Obesity. Antioxidants, 12(1). https://doi.org/10.3390/antiox12010129

Palmisani, J., Aresta, A. M., Vergaro, V., Mancini, G., Mazzola, M. C., Nisi, M. R., Pastore, L., Pizzillo, V., Vietro, N. D., Boncristiani, C., Ciccarella, G., Zambonin, C., Gennaro, G. de, & Gilio, A. D. (2025). Volatile Organic Compounds (VOCs) in Neurodegenerative Diseases (NDDs): Diagnostic Potential and Analytical Approaches. Molecules, 30(19). https://doi.org/10.3390/molecules30194028

Pokora, B., Pokora, K., Binienda, A., & Fichna, J. (2025). The ketogenic diet in Parkinson’s disease: A potential therapeutic strategy. Pharmacological Reports, 77(6), 1491–1513. https://doi.org/10.1007/s43440-025-00799-2

Pugliese, G., Trefz, P., Weippert, M., Pollex, J., Bruhn, S., Schubert, J. K., Miekisch, W., & Sukul, P. (2022). Real-time metabolic monitoring under exhaustive exercise and evaluation of ventilatory threshold by breathomics: Independent validation of evidence and advances. Frontiers in Physiology, 13, 946401. https://doi.org/10.3389/fphys.2022.946401

Raunaq, F. F., Islam, S., Anam, Md. Z., & Bari, A. B. M. M. (2025). Assessing the challenges to digital technology adoption in the healthcare sector: Implications for sustainability in emerging economies. Informatics and Health, 2(2), 194–209. https://doi.org/10.1016/j.infoh.2025.09.001

Rondanelli, M., Barrile, G. C., Cavioni, A., Donati, P., Genovese, E., Mansueto, F., Mazzola, G., Patelli, Z., Pirola, M., Razza, C., Russano, S., Sivieri, C., Tartara, A., Valentini, E. M., & Perna, S. (2023). A Narrative Review on Strategies for the Reversion of Prediabetes to Normoglycemia: Food Pyramid, Physical Activity, and Self-Monitoring Innovative Glucose Devices. Nutrients, 15(23). https://doi.org/10.3390/nu15234943

Royce, N., Cronjé, H. T., Kengne, A. P., Kruger, H. S., Dolman-Macleod, R. C., & Pieters, M. (2024). HbA1c comparable to fasting glucose in the external validation of the African Diabetes Risk Score and other established risk prediction models in Black South Africans. BMC Endocrine Disorders, 24, 213. https://doi.org/10.1186/s12902-024-01735-w

Rozsypal, T. (2026). Critical review of field-based forensics of chemical warfare agents in urban matrices: Integrating detection, sampling, and GC–MS identification in a deployable laboratory. TrAC Trends in Analytical Chemistry, 197, 118684. https://doi.org/10.1016/j.trac.2026.118684

Sadaka, K., Dalvand, B., Faruqui, Z., Aqeel, S., Ghoohestani, M., & Goodarzi, M. (2024). Metabolomics of volatile organic compounds (VOCs) in infectious diseases. TrAC Trends in Analytical Chemistry, 181, 118024. https://doi.org/10.1016/j.trac.2024.118024

Samajdar, S. S., Joshi, S. R., Misra, A., & Vikram, N. K. (2026). The limitations and fallacies of relying on glycosylated hemoglobin for diagnosing and monitoring diabetes in Indian populations. The Lancet Regional Health - Southeast Asia, 45, 100724. https://doi.org/10.1016/j.lansea.2026.100724

Schulz, E., Woollam, M., Grocki, P., Davis, M. D., & Agarwal, M. (2023). Methods to Detect Volatile Organic Compounds for Breath Biopsy Using Solid-Phase Microextraction and Gas Chromatography–Mass Spectrometry. Molecules, 28(11). https://doi.org/10.3390/molecules28114533

Sha, M. S., Maurya, M. R., Shafath, S., Cabibihan, J.-J., Al-Ali, A., Malik, R. A., & Sadasivuni, K. K. (2022a). Breath Analysis for the In Vivo Detection of Diabetic Ketoacidosis. ACS Omega, 7(5), 4257–4266. https://doi.org/10.1021/acsomega.1c05948

Sha, M. S., Maurya, M. R., Shafath, S., Cabibihan, J.-J., Al-Ali, A., Malik, R. A., & Sadasivuni, K. K. (2022b). Breath Analysis for the In Vivo Detection of Diabetic Ketoacidosis. ACS Omega, 7(5), 4257–4266. https://doi.org/10.1021/acsomega.1c05948

Shi, Y., Peng, G., Gebremariam, A. A., Iqbal, M. M., Baghaei Daemi, H., Khan, M. A., Ullah, R., & Wang, D. (2024). Analytical insights, modulation and compositional dynamics of the feline gut microbiota: A review. Animal Diseases, 4(1), 36. https://doi.org/10.1186/s44149-024-00140-z

Shtepliuk, I., Montelius, K., Eriksson, J., & Puglisi, D. (2025). Adaptive Machine Learning for Electronic Nose‐Based Forensic VOC Classification. Advanced Science, 12(36), e04657. https://doi.org/10.1002/advs.202504657

Silva, J. R., Quinta-Ferreira, R. M., & Castro, L. M. (2025). Biological Treatments for VOC-Contaminated Off-Gas: Advances, Challenges, and Energetic Valorization Opportunities. Sustainability, 17(11). https://doi.org/10.3390/su17114802

Son, A., Kim, W., Park, J., Park, Y., Lee, W., Lee, S., & Kim, H. (2024). Mass Spectrometry Advancements and Applications for Biomarker Discovery, Diagnostic Innovations, and Personalized Medicine. International Journal of Molecular Sciences, 25(18). https://doi.org/10.3390/ijms25189880

Stiekema, L. C. A., Chou, H., Craster, A., Wrench, B., Bianchi, K., Gallipoli, P., Davies, J. K., Gribben, J. G., & Riches, J. C. (2025). Analysis of volatile organic compounds in exhaled breath of blood cancer patients identifies products of lipid peroxidation as biomarkers for lymphoma detection. HemaSphere, 9(7), e70168. https://doi.org/10.1002/hem3.70168

Stratmann, B., Eggers, B., Mattern, Y., Carvalho, T. S. de, Marcus, K., & Tschoepe, D. (2022). Chronic Hyperglycaemia Inhibits Tricarboxylic Acid Cycle in Rat Cardiomyoblasts Overexpressing Glucose Transporter Type 4. International Journal of Molecular Sciences, 23(13). https://doi.org/10.3390/ijms23137255

Sukul, P., Richter, A., Junghanss, C., Schubert, J. K., & Miekisch, W. (2023). Origin of breath isoprene in humans is revealed via multi-omic investigations. Communications Biology, 6, 999. https://doi.org/10.1038/s42003-023-05384-y

Swift, S. J., Španěl, P., Sixtová, N., & Demarais, N. (2023). How to Use Ion-Molecule Reaction Data Previously Obtained in Helium at 300 K in the New Generation of Selected Ion Flow Tube Mass Spectrometry Instruments Operating in Nitrogen at 393 K. Analytical Chemistry, 95(29), 11157–11163. https://doi.org/10.1021/acs.analchem.3c02173

Tian, J., Zhang, Q., Peng, M., Guo, L., Zhao, Q., Lin, W., Chen, S., Liu, X., Xie, S., Wu, W., Li, Y., Wang, J., Cao, J., Wang, P., & Zhou, M. (2025). Exhaled volatile organic compounds as novel biomarkers for early detection of COPD, asthma, and PRISm: A cross-sectional study. Respiratory Research, 26, 173. https://doi.org/10.1186/s12931-025-03242-5

Tsakalof, A., Sysoev, A. A., Vyatkina, K. V., Eganov, A. A., Eroshchenko, N. N., Kiryushin, A. N., Adamov, A. Y., Danilova, E. Y., & Nosyrev, A. E. (2024). Current Role and Potential of Triple Quadrupole Mass Spectrometry in Biomedical Research and Clinical Applications. Molecules, 29(23). https://doi.org/10.3390/molecules29235808

Veneti, S., Grammatikopoulou, M. G., Kintiraki, E., Mintziori, G., & Goulis, D. G. (2023). Ketone Bodies in Diabetes Mellitus: Friend or Foe? Nutrients, 15(20). https://doi.org/10.3390/nu15204383

Vitazkova, D., Foltan, E., Kosnacova, H., Micjan, M., Donoval, M., Kuzma, A., Kopani, M., & Vavrinsky, E. (2024). Advances in Respiratory Monitoring: A Comprehensive Review of Wearable and Remote Technologies. Biosensors, 14(2). https://doi.org/10.3390/bios14020090

Wang, R., Maidstone, R., Ahmed, W., Singh, D., Ray, D., Loudon, A., Simpson, A., Fowler, S. J., & Durrington, H. J. (2025). Circadian variability in breath volatiles is affected by the timing of inhaled corticosteroids in asthma. ERJ Open Research, 11(6), 00277–02025. https://doi.org/10.1183/23120541.00277-2025

Wang, T., Zhang, M., Chen, W., Chen, L., Xie, M., & Yun, Y.-H. (2026). Lipidomics combined with amino acids and their derivatives: Targeted metabolomics analysis for the quality deterioration of coconut water. Current Research in Food Science, 12, 101350. https://doi.org/10.1016/j.crfs.2026.101350

Wang, X., Lim, E. G., Hoettges, K., & Song, P. (2023). A Review of Carbon Nanotubes, Graphene and Nanodiamond Based Strain Sensor in Harsh Environments. C, 9(4). https://doi.org/10.3390/c9040108

Wang, Z., Chen, D., Peng, L., Wang, X., Ding, Q., Li, L., & Xu, T. (2024a). Exposure to volatile organic compounds is a risk factor for diabetes retinopathy: A cross-sectional study. Frontiers in Public Health, 12, 1347671. https://doi.org/10.3389/fpubh.2024.1347671

Wang, Z., Chen, D., Peng, L., Wang, X., Ding, Q., Li, L., & Xu, T. (2024b). Exposure to volatile organic compounds is a risk factor for diabetes retinopathy: A cross-sectional study. Frontiers in Public Health, 12, 1347671. https://doi.org/10.3389/fpubh.2024.1347671

Weinberg Sibony, R., Segev, O., Dor, S., & Raz, I. (2024). Overview of oxidative stress and inflammation in diabetes. Journal of Diabetes, 16(10), e70014. https://doi.org/10.1111/1753-0407.70014

Westphal, K., Dudzik, D., Waszczuk-Jankowska, M., Graff, B., Narkiewicz, K., & Markuszewski, M. J. (2022). Common Strategies and Factors Affecting Off-Line Breath Sampling and Volatile Organic Compounds Analysis Using Thermal Desorption-Gas Chromatography-Mass Spectrometry (TD-GC-MS). Metabolites, 13(1). https://doi.org/10.3390/metabo13010008

Xinliang, Z., Achkasov, E. E., Gavrikov, L. K., Yuchen, L., Zhang, C., Dudnik, E. N., Rumyantseva, O., Beeraka, N. M., & Glazachev, O. S. (2024). Assessing the importance and safety of hypoxia conditioning for patients with occupational pulmonary diseases: A recent clinical perspective. Biomedicine & Pharmacotherapy, 178, 117275. https://doi.org/10.1016/j.biopha.2024.117275

Yang, C., Wu, R., Zhao, Y., & Xiang, J. (2025). Portable Low-Cost Sensors for Environmental Monitoring in China: A Comprehensive Review of Application, Challenges, and Opportunities. Sensors, 26(1). https://doi.org/10.3390/s26010085

Yockell-Lelièvre, H., Philip, R., Kaushik, P., Masilamani, A. P., & Meterissian, S. H. (2025a). Breathomics: A Non-Invasive Approach for the Diagnosis of Breast Cancer. Bioengineering, 12(4), 411. https://doi.org/10.3390/bioengineering12040411

Yockell-Lelièvre, H., Philip, R., Kaushik, P., Masilamani, A. P., & Meterissian, S. H. (2025b). Breathomics: A Non-Invasive Approach for the Diagnosis of Breast Cancer. Bioengineering, 12(4). https://doi.org/10.3390/bioengineering12040411

Zamiri, M., & Esmaeili, A. (2024). Methods and Technologies for Supporting Knowledge Sharing within Learning Communities: A Systematic Literature Review. Administrative Sciences, 14(1). https://doi.org/10.3390/admsci14010017

Zhang, F., Shan, S., Fu, C., Guo, S., Liu, C., & Wang, S. (2024a). Advanced Mass Spectrometry-Based Biomarker Identification for Metabolomics of Diabetes Mellitus and Its Complications. Molecules, 29(11). https://doi.org/10.3390/molecules29112530

Zhang, F., Shan, S., Fu, C., Guo, S., Liu, C., & Wang, S. (2024b). Advanced Mass Spectrometry-Based Biomarker Identification for Metabolomics of Diabetes Mellitus and Its Complications. Molecules, 29(11). https://doi.org/10.3390/molecules29112530

Zhang, N., Casasent, T. D., Casasent, A. K., Kumar, S. V., Wakefield, C., Broom, B. M., Weinstein, J. N., & Akbani, R. (2024). PCA-Plus: Enhanced principal component analysis with illustrative applications to batch effects and their quantitation. bioRxiv, 2024.01.02.573793. https://doi.org/10.1101/2024.01.02.573793

Zheng, W., Pang, K., Min, Y., & Wu, D. (2024a). Prospect and Challenges of Volatile Organic Compound Breath Testing in Non-Cancer Gastrointestinal Disorders. Biomedicines, 12(8). https://doi.org/10.3390/biomedicines12081815

Zheng, W., Pang, K., Min, Y., & Wu, D. (2024b). Prospect and Challenges of Volatile Organic Compound Breath Testing in Non-Cancer Gastrointestinal Disorders. Biomedicines, 12(8). https://doi.org/10.3390/biomedicines12081815

Zhou, Y., Qiu, X., Yuan, T., Wang, Q., Du, L., Wang, L., & Ding, Z. (2025). Research hotspots and frontiers of application of mass spectrometry breath test in respiratory diseases. Frontiers in Medicine, 12, 1618588. https://doi.org/10.3389/fmed.2025.1618588

Zubair, I. M., Lee, Y.-S., & Kim, B. (2024). A New Permutation-Based Method for Ranking and Selecting Group Features in Multiclass Classification. Applied Sciences, 14(8). https://doi.org/10.3390/app14083156