Evaluation of Physicochemical Parameters in Surface Water along Trans-Amadi River, Port Harcourt, Rivers State, Nigeria

ABSTRACT

The study which was conducted along the Trans-Amadi River with the view of assessing the impact of various activities occurring along the river was done in 2025. Levels of various physicochemical characteristics of the surface water were determined using standard methods of analysis after three months of sampling at Nkpogu (station 1), Amad-ama (station 2) and koko-ama (station 3). The results for the mean concentrations of parameters in surface water showed that temperature ranged from  27.00C and 29.00C; Conductivity ranged from 1,885 µS/cm to 1,960 µS/cm; pH ranged from 6.20 and 6.50; phosphate levels ranged from 29.42 mg/l to 36.52 mg/l; nitrate varied from 5.972 mg/l to 7.428 mg/l; Dissolved Oxygen (DO) ranged from 5.91 mg/l to 6.05 mg/l; Biochemical Oxygen Demand (BOD) ranged from 11.07 mg/l to 16.10 mg/l; chemical oxygen demand varied between 16.61 mg/l and 24.15 mg/l; Total dissolved solids values ranged from 943.671 mg/l to 987.378 mg/l; turbidity varied between 10.532 NTU and 13.842 NTU, total suspended solids was between 14.842 mg/l and 17.314 mg/l, Salinity values exist between 10.86 mg/l and 12.69 mg/l; chloride ranged from 6.58 mg/l to 7.69 mg/l; Total Hydrocarbon Concentration (THC) ranged from 4.811 mg/l to 15.943 mg/l. While the levels of DO were below International Standard Limits, levels of BOD were higher than the standard limits. These observations showed that the River was polluted due to input of anthropogenic activities and hence not fit for human consumption and as such there should be thorough clean up.

Keywords: Evaluation, Physical, chemical, Parameters

1 INTRODUCTION

The world seems to be occupied mostly by water. This is because about 70% of the earth’s surface is occupied by water and 30% by land. Though, the water volume being constant, 97% of the total volume is saline while only 3% existed as freshwater. Of the 3% that existed as freshwater, over 2% is frozen in glaziers, ice cap and as snow while about 0.3% actually existed as surface water in the form of lakes, swamps, creeks and rivers (USGS-Earth’s Water Distribution, 2012). Research has shown that a person needs 50 to 100 liters of water per day to meet physiological and hygienic needs of the body (Rumalongo et al., 2017). Though, not evenly distributed, the minute quantity of freshwater systems (lakes, swamps, creeks, and rivers) is the water that is readily available for both human consumption and other domestic activities especially in rural areas where dwellers do not have access to pipe-borne water either due to decay or complete absence of portable water infrastructure. Hence there is need to ensure that these freshwater is portable enough for the use of the locales, since, it appears these rural residents depend more on the freshwater system.

However, poor management, population growth, increasing water demand, over exploitation and environmental degradation, climatic condition and uneven distribution have significantly contributed to the worsening of the state of water resources, leading to a situation where water demand outstrips available resources. Lack of access to freshwater is a very serious problem that has prevented much of human development and by far causing water stress and scarcity, hence freshwater bodies need to be protected from practices that may cause its deterioration.

In River State, lots of water bodies (salt and freshwater) existed in the form of creeks and streams. They are New Calabar River, Miniokoro stream, Minichida stream, Ntawogba stream, Mininwaja stream and Agbonchia stream. Others are Brass, Forcados, Amadi, Sombriero, Nun, and Njaba rivers. These water bodies are usually affected by the activities of oil exploration and exploitation done in the region and transported by the tides and the rains (UNEP, 2011). It has been reported that a volume of 115,000 barrels resulting from an average of 273 oil spills has occurred in the Niger Delta with little recovery (Vincent-Akpua et al., 2015). Other route of pollutants are runoffs, anthropogenic activities such as washing, bathing, dredging, defecation and most time throwing of waste materials into the River.

The Trans-Amadi River is one of the important water bodies located in the Port Harcourt. The river is an extension of the Nwaja River that cut across the NLNG vicinity within the Trans-Amadi area of Port Harcourt. Residents of communities such as Nkpogu, Amadi-ama and Koko-ama around the coastline of the river mostly rely on the river for their day to day domestic, agricultural and recreational needs; however, the River is always put to constant effluent discharged by companies within its vicinity. Dredging activities, runoffs, plastics and erosion also contribute to the pollution source of the river. Discharges into the River can alter the water physicochemical parameters such as temperature, transparency, Dissolved oxygen (DO), hydrogen ion concentration (pH) and electrical conductivity and many other parameters thereby making the water unfit for human and other aquatic organisms. These and other conditions have made the people’s hope of having access to portable drinking water as well as water that will naturally be conducive for aquatic animals defeated. Meanwhile, regardless of activities that go on around and within the water body, residents living near the banks of the rivers continue to obtain water and aquatic animals from the river for domestic reasons without considering its effect, thereby exposing inhabitants to water borne diseases which can cause serious health problems. Hence there is need to continually monitor the levels of these parameters (physical, chemical and nutrients) in the surface water so that awareness will continually be established both for the locals and Government. Therefore, in light of the above, there is need for constant monitoring of the river; hence this study is conducted to evaluate the status of physicochemical parameters of the river.

2    MATERIALS AND METHOD

2.1 Description of Study Area

A familiarization tour of the study area was embarked upon before sampling was carried out and permit sort. The study area is the stretch of Trans-Amadi River in Port Harcourt City Local Government Area of Rivers State. The river flows from Nkpogu through Amad-ama within the vicinity of NLNG at eastern by-pass to koko-ama. The river is a fresh water type. Residential communities are located along the bank of the river. Also located along the river are oil companies and manufacturing companies. Transportation by boat is also predominant in the area. There is also dredging, sewage discharge, swimming, washing and fishing activities around the river. Discharges from the companies and runoffs from the nearby communities usually find its way into the river thereby making the water to be contaminated. The River flows through several key places from upstream to downstream, out of which three sampling stations were identified based on accessibility to represent the sampling stations. The stations are Nkpogu (station 1), Amad-ama (station 2) and koko-ama (station 3).

2.2 Sample Collection

At each station of the River, surface water samples were collected in plastic containers for the measurement of physicochemical parameters, nutrients parameters and total hydrocarbon concentration. The sample bottles were thoroughly washed and allowed to dry. The washed bottles were rinsed with dilute nitric acid and allowed to dry. The bottles were dipped into the water to a depth of 30 cm3 and covered while inside the water to prevent air entering into the sample. Physical parameters such as pH, Temperature, Turbidity, Total dissolved solid (TDS) and Electrical conductivity) determinations were carried out according to American Public Health Agency (APHA, 1998). The samples were carried in an ice chest container to the laboratory for analysis.

2.3 Analysis of Physicochemical Parameters

Determination of pH, conductivity and total dissolved solids: pH, conductivity and total dissolved solids (TDS) were measured with a portable meter (Model 350) according to method used by Rahmanian et al., (2015).

Determination of turbidity: The assessments of turbidity in the water were done according to the method of Dirican (2015). Turbidity meter (HACH Model 2100An) was used to determine the turbidity of the water samples. The meter was initially standardized with deionized water before the water was transferred to the samples and the readings taken after stability of the figures on the meter. The values obtained were recorded in nephelometric turbidity units (NTU).

Determination of salinity: Salinity of the water was measured according to the method of Dirican (2015). The salinity of the water was determined by the use of a digital electronic meter. Firstly, electrical conductivity of the meter was adequately calibrated. The probes were inserted into the sample and moved up and down to remove all the air bubbles around the probes (electrodes). The probes were allowed to control the water temperature and reading of the salinity was taken. The probes were cleaned by inserting them into the deionized water before taken other readings. The observed values were recorded in mg/L.

Determination of total suspended solids: The total suspended solid (TSS) was analyzed using the filtration method (APHA, 1995). Precisely, 50 cm3 of water sample was measured and transferred into a previously weighed vacuum glass fiber filter. The content was filtered. The fiber filter was removed at the end of the filtration. The residue was placed in aluminum dish and oven dried at a temperature of 100 0C to remove all the water in the sample. The heating of the aluminum dish containing the sample was done for about 2 hours. The filter was weighed again and the weight was noted. The weight of the total suspended solid was calculated from the gain in weight of the aluminum dish as;

TSS = Post wt of filter – pre wt x1000 cm2

Volume of sample used (mL)

Determination of dissolved oxygen: Modified Winkler-azide method (Lind, 1979; APHA, 1985) was used to determine the dissolved oxygen (DO). Dissolved oxygen was determined by filling DO bottles with the water sample. Air bubbles were completely removed from the sample. Manganese sulphate (2 cm3) was inserted into the sample by dipping the pipette directly into it. 2 cm3 of alkali-iodide-azide reagent was also added to the mixture. The content was mixed thoroughly and a precipitate was formed. 3cm3 of concentrated sulphuric acid was added to the surface of the sample solution. The content was again mixed thoroughly by inverting the container several times. The mouth of the bottle was stoppered with aluminum foil and rubber band. The sample was then stored in a cool dark place for eight hours. Precisely, 203 cm3 of the sample was transferred into a conical flask and titrated against a solution of sodium thiosulphate to a straw yellow colour. A volume 2 cm3 of starch was added to the conical flask in the presence of starch indicator. The colour turned. The titration of the sample with starch was continued until the solution was turned colourless. At this stage, the dissolved oxygen content was calculated and recorded in mg/L.

DO = Vol of sodium thiosulphate x 0.2 x 1000

Vol of sample taken

Determination of biochemical oxygen demand: Biochemical oxygen demand (BOD) was analyzed on the same sample of water that initially was analyzed for DO using the Modified Winkler-azide method (Lind, 1979; APHA, 1985). The water samples after the DO test were kept in a BOD incubator (a dark cupboard) at a temperature of 20 0C for five days. On the fifth day, the samples were brought out and the same process that was done for the DO analysis was carried out on the samples. The result obtained was calculated and recorded as BOD5.

Determination of chemical oxygen demand: Chemical oxygen demand (COD) was determined using the method described in APHA (1998). Chemical oxygen demand was determined by measuring 2.5 cm3 of water sample and 2.5 cm3 of distilled water into two different test tubes. The distilled water serves as a blank. To these samples, 1.5 cm3 of potassium dichromate was added separately to each of them. To both tubes, 3.5 cm3 of sulphuric acid was added and the tubes were tightly capped sealed. The two tubes were transferred to a COD digester operated at 150 0C for two hours. At the expiry of the two hours, the digester was allowed to cool to room temperature. The content was then transferred into a conical flask. Two drops of ferroin indicator was added to the contents in the flasks. These were individually titrated against freshly prepared ferrous ammonium sulphate. The titration was continued to obtain a reddish brown colour and the concentration of COD was calculated and recorded in mg/L.

COD   = A-B x N x 8 x 1000

Volume of sample taken

Where;

A = Volume ferrous ammonium sulphate for blank

B = Volume ferrous ammonium sulphate for the sample

N = Normality of ferrous ammonium sulphate

V = Volume of sample

Determination of phosphates: The method of APHA (1995) was used to evaluate the concentrations of phosphate in the water samples. The process of mild acid hydrolysis was carried out on the sample to convert the phosphate content in the sample to the orthophosphate, which is soluble. Then colorimetric determination of the concentration of phosphate was carried out on the sample. To 100 cm3 of the water sample, a drop of phenolphthalein indicator was used. The colour was adjusted by the addition of 7 M NaOH solution to the sample until it completely turned red. A concentrated sulphuric acid was added to the solution and allowed to boil for 90 minutes. During the boiling process, water was added to the boiling sample continuously to maintain the volume within a range of 10 – 50 cm3. The sample was allowed to cool and then made up to the initial volume of 100 cm3. The transmittance of the sample was then obtained at spectrophotometric wavelength of 690 nm as against that of the blank solution. The result obtained was compared with those recorded from the calibration curve from standard phosphate solution. The phosphate concentration was calculated and recorded in mg/L.

Phosphate conc. = Phosphate content x 1000

Volume sample

Determination of nitrates: The method of APHA (1995) was used to evaluate the concentrations of nitrates in the water samples. The determinations of nitrates were carried out using the HACH spectrophotometer (Model 3900 DR, USA). Analytical tablets Nitra VerR5 nitrate reagent was added to the water sample and the content was vigorously shaken to form a homogenous mixture. The mixture was allowed to settle for 10 minutes for proper reaction. About 1.5 – 2 cm3 of the reacted homogenate was transferred into a cuvette which was placed in the spectrophotometer and the concentration determined at a spectrophotometric wavelength of 890 nm. Blanks were used to calibrate the instrument and for quality and reliability test. Finally, nitrate concentration was obtained from a calibration curve from standard nitrate solution and r-ecorded as mg/L.

Determination of chlorides: Chlorides in water samples were determined by the method of APHA (1998). The determinations of chloride concentration in the samples were determined through titrimetric method. A volume of 100 cm3 of the water sample was transferred to 250 cm3 volumetric flask using pipette. To the sample, two drops of potassium chromate indicator was added. The sample-indicator mixture was titrated against a 0.0282 M silver nitrate solution to a brick red colour. A blank titration was also conducted and the value of the standardized silver nitrate solution used was recorded. The concentration of chloride in the sample was calculated and recorded in mg/L.

Cl-1 conc. = (Vs – Vb) x normality x 35.5 x 1000

Volume of sample taken

Where;

Vs = Volume of silver nitrate used for the sample

Vb = Volume of silver nitrate used for the blank

3. RESULTS AND DISCUSSION

Table 1: Distribution of Physicochemical Characteristics in Trans-Amadi River

| Parameters | Station 1 | Station 2 | Station 3 | Mean±SD | WHO |
| --- | --- | --- | --- | --- | --- |
| Physical |  |  |  |  |  |  |
| Temperature (0C) | 29.0 | 28.5 | 27.0 | 28.16±1.04 | 29.5 |  |
| EC (µS/cm) | 1,885 | 1,920 | 1,960 | 1,921.66±37.5 | 5,000 |  |
| Turbidity (NTU) | 13.84 | 11.65 | 10.53 | 12.00±1.68 | ˂15.0 |  |
| TDS (mg/l) | 943.67 | 965.58 | 987.37 | 965.54±21.85 | 5,000 |  |
| TSS (mg/l) | 14.84 | 17.31 | 15.18 | 15.77±1.33 |  |  |
| Chemical |  |  |  |  |  |  |
| pH | 6.20 | 6.46 | 6.50 | 6.38±0.16 | 6.5-8.5 |  |
| Salinity(mg/l) | 10.86 | 12.69 | 11.64 | 11.73±0.91 | 500 |  |
| Chloride (mg/l) | 6.58 | 7.69 | 7.05 | 7.10±0.55 | 200 |  |
| Nutrient |  |  |  |  |  |  |
| NO3- (mg/l) | 6.11 | 7.42 | 5.97 | 6.50±0.79 | 45.0 |  |
| PO43- (mg/l) | 29.42 | 36.52 | 33.58 | 33.17±3.56 | 50 |  |
| Gross Organic |  |  |  |  |  |  |
| THC (mg/l) | 15.94 | 6.52 | 4.81 | 9.09±5.99 | 20.00 |  |
| DO (mg/l) | 5.91 | 5.95 | 6.05 | 5.97±0.07 | ˂7.5 |  |
| BOD (mg/l) | 11.07 | 16.10 | 12.50 | 13.22±2.59 | 4.0 |  |
| COD (mg/l) | 16.61 | 24.15 | 18.75 | 19.83±3.88 | 40 |  |

WHO = World Health Organization; Mean±SD = Mean and Standard deviation.

The results of evaluated physicochemical parameters of the Trans-Amadi River are listed on table 1 as shown above. The values of temperature in the various stations ranged from 27.00C in station 3 through 28.500C in station 2 to 29.00C in station 1 with a mean of 28.16±1.04. The recorded values were below the WHO maximum permissible limit of 29.500C for drinking water. The value recorded in this study was higher to values (18.3 ± 0.69 and 25.1 ± 0.69 0C) reported by Mulamattathil et al., (2015) in Mafikeng dam, South Africa. This could be as a result of variation in the two regions. The value (26-320C) reported in River Benue, within Makurdi Metropolis was higher to the value recorded in the present study. In the Niger delta, Edori and Nna, (2018) and Makinde et al., (2015) also reported higher values in the New Calabar river and Ekerekana and Buguma Creeks respectively. The extent to which the water is hot or cold is consequent on the growth and developmental form of aquatic biomes. The fluctuation of water temperature slightly depends on variations of temperature during the day, whether hot or cold. Every living plant or animal in water has temperature range that can support optimum growth and survival of their various breeds.

The electrical conductivity of the water varied from 1,885 – 1,960 µS/cm with a mean value of 1,921.66±37.5µS/cm. The observed values from all the stations in the river were lower than the 2500 - 5000 µS/cm stipulated guideline by WHO. The values recorded in this study was high compared with the values (1406.67±80.09 µS/cm) reported by Kpee et al., (2020) in Nta-Wogba stream in Port Harcourt, Rivers State. Other authors (Edori et al., 2020; Edori and Aniekan, 2021; Edori O.S and Edori E.S, 2021; Edori etal, 2021) also have similar observation from their studies. This may be an indication of high content of inorganic ions in the water due to disposal of sewage which contains salts and ions at elevated concentrations (Murhekar, 2011; Suthar, etal, 2009). Values (26,567±464.28 µS/cm) reported by Edori etal, (2019) in surface water of Silver River, Southern Ijaw, Bayelsa State was very high compared with the one recorded in the present study indicating that there was more ions in the silver river water.

Turbidity values obtained in water from Trans-Amadi River varied from 10.532 - 13.842 NTU and a mean value of 12.00±1.68 NTU. The values observed for turbidity in the present work are higher than the 5.0 NTU permissible limits by WHO standard. The major impediment cause by turbidity is the prevention of light penetration, which causes deleterious effect on aquatic flora and fauna and thereby depreciating water quality (Edori and Udongwo, 2021). The obtained value for turbidity in the current work was low in comparison with levels (225±274 and 359±318) recorded around Sagbama Creek, Bayelsa by Iyama et al., (2019). Higher values were also recorded by Edori (2020) and Kpee et al., (2020) in their study of properties of surface water from Ede Onyima Creek, Okarki-Engenni and Nta-Wogba stream in Port Harcourt, Rivers State. This could be as a result of the presence of higher amount of colloidal and fine particles dispersed in water. However, lower value of 6.967 NTU was recorded from surface water of Elelenwo River, Rivers State by Edori et al., (2020).

Values of total dissolved solids (TDS) in an aquatic environment underscores the concentration of ions present in a given water medium whose sizes may be lesser than 2 microns. It is a measure of organic matter, inorganic salts and must materials found in water solution, be it ground or surface water (USEPA, 1986). The amount of total dissolved solids observed in this study ranged from 943.671 – 987.378 mg/L below the WHO maximum permissible limits of 5000 mg/L and a mean value of 965.54±21.85. The mean value was recorded as 17.08±0.78 mg/L. Findings obtain from studies conducted by Edori O.S and Edori E.S (2021) showed that lower value (17.66±2.08 mg/L) was recorded in surface water of Orashi River, Rivers State, in surface water of Ogbia axis of Kolo Creek, Bayelsa State (Edori etal, 2021) and in surface water of mini Whuo Stream in Port Harcourt, Rivers State (Edori etal, 2021). However, in Euphrates River between Heet and Ramadi Cities, India, the values recorded Al-Heety et al., (2011) were higher above the WHO maximum permissible limits.

Total suspended solids (TSS) in water can either be through anthropogenic or natural factors. Such factors or activities include excavation, road construction, mining, land slide, land tilling, and building of houses (Edori etal, 2020), however, natural causes of increase in suspended particles in water results from re-suspension of sediment silt particles due to turbulent flow of aquatic system and algae. In the present work, the level of total suspended solids ranged from 14.842 mg/L in station 1 to 17.314 mg/L in station 2 and a mean value of 15.77±1.33. The recorded levels were below the maximum permissible limits of 500 mg/L set by WHO. Data obtained from studies carried out in Euphrates River between Heet and Ramadi Cities, India by Al-Heety et al., (2011) showed that the levels recorded were higher than those measured in the present study. Elsewhere, range of values (12.55-49.57 mgL-1) obtained from River Benue, within Makurdi Metropolis as reported by Anhwange et al., (2012) were also higher to those recorded in the current work. The lower level of total suspended solids measured in this study may be due to low loosening of soil due to erosion and runoffs into water bodies. The values (17.78±3.07 mg/L) measured by Edori etal, (2019) in surface water of Silver River, Southern Ijaw, Bayelsa State were however in agreement with those recorded in the present study.

The level of pH varied from 6.20 to 6.50 across the stations	with mean and standard deviation of 6.38±0.16 which is an indication of acidity of the water body. Station 1 and 2 was highly acidic showing values of 6.20 and 6.46 respectively. However, the value of 6.50 recorded in station 3 was within the recommended range of 6.5 - 8.5 for drinking water set by WHO. The level of pH was low when compared with the value 106.10-147 recorded by Anhwange et al., (2012) in River Benue, within Makurdi Metropolis in the northern part of Nigeria. The value does not also agree perfectly with range 6.56 to 7.0 reported by Ani et al., (2016) when studying the physicochemical parameters of some selected Rivers in Ebonyi State. The level recorded in this work was however high when compared with the observations of other authors in the southern part of the country (Agbugui and Deekae, 2014; Edori and Nna, 2018; Iyama et al., 2019). In some areas within the Niger delta, the level agrees with the ones recorded in the present study (Edori etal, 2019; Edori 2020; Kpee et al., 2020). The value range of pH observed in station 3 falls within the range of good water quality within the Niger delta. This may be due to the flowing rate of the river which shows that whatever that is discharged into it is carried away almost immediately and so may not have time to impact on it. Water in station 1 and 2 may pose a moderate risk since it is out of the permissible limits. factors that may influence the pH of water include the presence of organic acids, which are occasioned by decaying plants and dissolution of minerals containing sulphides (Todd, 1980).

The result of chloride concentration in the river ranged between 6.58 – 7.69 mg/L. The observed mean concentration of chlorides in the river was 7.10±0.55mg/L. The different stations values were all lower than the WHO required standard of 200 mg/L for potable water. The mean value (219.03±10.11mg/L) of chloride measured by Kpee et al., (2020) in surface water of Nta-Wogba stream in Port Harcourt, Rivers State were higher than those recorded in the present work as well as the maximum limits of 200 mg/L set by WHO. Mean values (7108.667±310.201mg/L) obtained by Edori et al., (2020) from surface water of Elelenwo River, Rivers State were also greater than that of the current study. The presence of high concentration of chloride in water shows a sewage imposed water pollution. The low level of chlorides observed in the present work might be due to controlled discharge of industrial effluent by industries within the area into the river and non-contaminated runoffs. Chloride in water enhances electrical conductivity and corrosion rate of metallic materials (Edori and Nna 2018), hence, the low level of chloride in this study correspond to the reduced level of electrical conductivity of the river.

The salinity result obtained from the sampled stations varied from 10.86 – 12.69 mg/L with a recorded mean value of 11.73±0.91. These values are lower than the WHO limit of 500 mg/L. The range of level (24.36±4.83-24.82±4.97mg/L) measured by Edori etal, (2021) in the surface water of mini Whuo Stream in Port Harcourt, Rivers State, though below the WHO set standard were greater than the level recorded in the present study. Also, findings from studies carried out by Edori etal, (2021) in surface water from Ogbia axis of Kolo Creek, Bayelsa State showed that levels (26.57±1.03 mg/L) of salinity were high. However, low levels (9.79±0.27 mg/L) were recorded by Edori O.S and Edori E.S (2021) in surface water from Orashi River, Rivers State. Salinity controls the mass to volume ration of water and is the major cause of water stratification. The presence of raised values of water salinity can lead to corrosion of technological equipment and structures such as bridges. It affects the health and general wellbeing of natural aquatic vegetation and thereby causes death of animals and plants within a given ecological ecosystem. The low content of salinity in the river is because the period of sampling was rainy season where rain water and flooding affects the saline content of water.

The concentrations of nitrates in the river varied from 5.972 – 7.428 mg/L with a mean value of 6.50±0.79 mg/L. These values were lower than the 45.0 mg/L guideline value of WHO for drinking water. The concentrations observed in this study were higher than levels (4.93±0.61 mg/L) measured in Silver River, Southern Ijaw, Bayelsa State by Edori etal, (2019). Levels recorded by Edori (2020) in surface water from Ede Onyima Creek, Okarki-Engenni, Rivers State and that which was recorded in Nta-Wogba stream in Port Harcourt by Kpee et al., (2020) were within the maximum permissible limits set by WHO. Nitrates are always present in water environments, but human factors or activities usually lead to their increased occurrence in water. The major contributing human activity that lead to increased nitrates in water is agricultural practices (fertilizers and livestock farming), which is followed by industrial discharges and effluents from sewage sludge. Human and animal excreta generally cause an increase in the concentrations of nitrate in the aquatic surroundings. In this study, the low level of nitrate may be due to non-discharge of fertilizer runoff since there are no farms around the study area.

The amount of phosphate from the river was between 29.42 and 36.52 mg/L. The mean value observed from the stations was 33.17±3.56mg/L. Values measured in all the stations were lower than the WHO value of 50.0 mg/L. The mean concentration of 0.500±0.016 mg/L obtained in surface water of Elelenwo River, Rivers State by Edori et al., (2020) were lower than those recorded in the present study, same as those (15.65±5.76 mg/L and 4.16±5.19 mg/L) recorded in Orashi River, Rivers State by Edori O.S and Edori E.S (2021) and Ogbia axis of Kolo Creek, Bayelsa State by Edori etal, (2021). The presence of phosphate in water bodies arose from fertilizers from farmlands carried by runoffs and also from direct discharge of wastes into rivers by the rural dwellers. The high presences of phosphate in domestic water may cause muscle damage, kidney failure and effect breathing. Hence excessive phosphate concentration in water bodies can lead to eutrophication and reduction in the amount of dissolved oxygen in water. In this study, the low level of phosphate may be due to non-discharge of fertilizer runoff since there are no farms around the study area.

Dissolved oxygen content of the water from the river after examining it in each stations were vari-ed from 5.91 – 6.05 mg/L and the mean value was 5.97±0.07mg/L. The observed values were lower than the WHO required limits of 7.5 mg/L for drinking water. Mean values of 4.44 ± 0.70 mg/L measured in Ogbor River, Abia State by Okey-Wokeh et al., (2021) agreed with results obtained in this study, same with 6.88±0.51mg/l recorded in new calabar-bonny river, Porthacourt by Agbugui and Deekae (2014). Edori and Nna, (2018) also recorded lower results (2.62 ± 0.02-5.02 ± 0.31 mg/L) at Rumuolumeni Axis, New Calabar river, Rivers State. Higher values were recorded in different sources of water in rural settings in Kenya by Sila (2019). Low dissolved oxygen content in the water as observed in the present work signifies a water system where aquatic biomes are burden or stressed for lack of oxygen in the water. Low values of dissolved oxygen are caused by high temperature, amount of sewage and other waste present in the water, growth of aquatic plants covering the surface of the water and flow system of the water (Edori and Udongwo, 2021). Dissolved oxygen is important for survival of fishes and other water inhabiting organisms and is responsible for the sustenance of several chemical reactions necessary for suitable water functions (Iloba and Shomule, 2020). The presence of aquatic plants interferes with photosynthetic and respiratory activities of plants and animals in water, which is consequent on the amount of oxygen produced and consumed by plants and animals dwelling in the water (Soundarapandian etal, 2009).

Chemical Oxygen demand level of the water from the river varied from 16.61 mg/L in station 1 through 18.75 mg/L in station 3 to 24.15 mg/L in station 2 and a mean value of 19.83±3.88. The observed mean value was 24.03±21.94 mg/L. These range of values recorded were lower than the WHO value of 40.0 mg/L for potable water. The results 91.60 and 128.93 mgL-1 obtained from River Benue, within Makurdi Metropolis by Anhwange et al., (2012) were higher than those recorded in the current study, same as those observed (50.13±3.21 mg/L) in surface water of Silver River, Southern Ijaw, Bayelsa State by Edori etal, (2019). However, Lower levels (1.07±0.41 to 0.58±0.41) were measured by Iyama et al., (2019) in surface water quality around Sagbama Creek, Bayelsa. COD is a measure of the quantity of Dissolved Oxygen that is consumed to complete oxidation, which is also responsible for reduction in the oxygen holding capacity of the water and detrimental to aquatic organisms. The inputs of substance into water that are not subject to biodegradation give rise to elevated COD. However, the low level of COD measured in this study may be no tide attracts less organic matter into the river which reduces the organic water content and thus the COD of the water.

The Biochemical Oxygen Demand content of the water samples from the river varied from 11.07 - 12.50 mg/L. The observed mean value was 13.22±2.59mg/L. All the values observed were higher than the WHO value of 4.0 mg/L for drinking water. Lowest levels (0.72±0.49 to 0.39±0.27, 3.0) were reported by Iyama et al., (2019) and Olubanjo and Adeleke (2020) in surface water around Sagbama Creek, Bayelsa and River Osse in Kogi State. Edori and Nna, (2018) also recorded lower values (4.28 ± 1.08-6.11 ± 1.33 mg/L) in Rumuolumeni Axis of New Calabar River, Rivers State to those recorded in this study. Greater levels (33.20±2.33 mg/L) were also measured in surface water of Silver River, Southern Ijaw, Bayelsa State by Edori etal, (2019). Islam etal, (2021) and Zhang etal, (2022) also reported similar findings. BOD is a function of the amount of oxygen essential for microorganisms to decompose organic matter present in wastewater in aerobic condition. An increase in the level of biochemical oxygen demand is due to organic matter present in water resulting from domestic waste, livestock and industrial waste that contains elevated levels of organic pollutants (Abaidooand etal, 2015). The level of organic matter present in water is commensurate with the amount of oxygen demanded (Edori et al. 2019), which implies that BOD is dependent on the amount of biodegradable substances present in water, which when high cause a reduction in available DO. The higher level in this study implies that there are more organic pollutants in the river.

CONCLUSION

From results obtained for analysis done on the water body, it was showed that turbidity and dissolved oxygen gave levels that were lower compared with the standard limits. On the other hand, it was further showed that the value obtained for biochemical oxygen demand was higher. Based on the findings, it is therefore showed that the water was not fit for human consumption as a result of anthropogenic inputs which have contributed to greater amount of organic materials causing low level of dissolved oxygen and high levels of biochemical oxygen demand in the water body. The levels of these parameters in the water suggest that it is polluted and not conducive for the habitation of aquatic organisms.

Disclaimer (Artificial intelligence)

Author(s) hereby declare that NO generative AI technologies such as Large Language Models (ChatGPT, COPILOT, etc.) and text-to-image generators have been used during the writing or editing of this manuscript.

REFERENCES

Abu G.O & Egenonu C. (2008). The current pollution status of the new Calabar River in the Niger Delta region of Southern Nigeria: A survey of 
antibiogram profiles of its bacterial isolates. African Journal of Environmental Science and Technology, 2(6), 134-141

Al-Heety E.A, Turky A.M & Al-Othman E.M (2011). Physico-Chemical Assessment of Euphrates River between Heet and Ramadi Cities, Iraq. Journal of Water Resource and Protection, 3, 812-823

Anhwange B.A, Agbaji E.B & Gimba E.C (2012). Impact Assessment of Human Activities and Seasonal Variation on River Benue, within Makurdi Metropolis. International Journal of Science and Technology, 2(5), 248-254

Ani, C. Okogwu, O.I, Nwonumara, G.N, Nwani, C.D & Nwinyimagu, A.J. (2016). Evaluation of Physicochemical Parameters of Selected Rivers in Ebonyi State, Southeast, Nigeria. Greener Journal of Biological Sciences, 6(2), 034-041

Babatunde B. B., Sikoki F. D., Onojake M. C., Akpiri R. U. & Akpuloma D. (2013). Heavy Metal Profiles in Various Matrices of the Bonny/New Calabar River Estuary, Niger Delta, Nigeria. Global Journal of Environmental Sciences, 12, 1-11

Bhat B.N, Parveen S & Hassan T. (2018). Seasonal Assessment of Physicochemical Parameters and Evaluation of Water Quality of River Yamuna, India. Advances in Environmental Technology, 1, 41-49

Dienye H.E & Woke G.N (2015). Pysico-chemical Parameters of the Upper and Lower Reach of the New Calabar River Niger Delta. Journal of Fisheries and Livestock Production, 3(4), 1-4

Dimowo B.O (2013). Assessment of Some Physico-Chemical Parameters of River Ogun (Abeokuta, Ogun State, Southwestern Nigeria) in Comparison With National and International Standards. International Journal of Aquaculture, 3(15), 79-84

Edokpayi J.N, Odiyo J.O, Popoola E.O & Msagati T.A.M (2018). Evaluation of Microbiological and Physicochemical Parameters of Alternative Source of Drinking Water: A Case Study of Nzhelele River, South Africa. The Open Microbiology Journal, 12, 18-27

Edori E.S, Iyama W.A & Awari J.O (2021). Some physicochemical parameters in the surface water of mini Whuo Stream in Port Harcourt, Rivers State, Nigeria. GSC Advanced Research and Reviews, 9(3), 039–047

Edori O. S., Okpara K. E. & Edeh E. I (2021). Total Hydrocarbon Content in Water and Sediment at Effluent Discharge Points into the New Calabar River, Rivers State, Niger Delta, Nigeria. Journal of Scientific and Engineering Research, 8(5), 1-6

Edori O.S & Edori E.S (2021). Evaluation of Physicochemical Characteristics of Surface Water from Orashi River, Rivers State, Southern Nigeria. Athens Journal of Sciences, 8(2), 105-122

Edori O.S & Edori E.S (2021). Profile of Total Petroleum Hydrocarbons in the Water and Sediment Columns of the Orashi River, Engenni, Rivers State, Niger Delta, Nigeria. Journal of Global Ecology and Environment, 11(2), 12-21

Edori O.S & Nna P.J (2018). Determination of Physicochemical Parameters of Effluents at Discharge Points into the New Calabar River along Rumuolumeni Axis, Port Harcourt, Rivers State, Niger Delta, Nigeria. Journal of Environmental & Analytical Toxicology, 8(5), 1-5

Edori O.S, Kieri B.S.I & Festus C. (2019). Physicochemical Characteristics of Surface Water and Sediment of Silver River, Southern Ijaw, Bayelsa State, Niger Delta, Nigeria. American Journal of Environmental Science and Engineering, 3(2), 39-46

Edori O.S, & Aniekan M.U (2021). Physical and chemical characteristics of water from Okamini Stream, Obio/Akpor, Rivers State, Niger Delta, Nigeria. GSC Advanced Research and Reviews, 8(1), 175–182

Edori, O. S (2020). Physical and Chemical Characteristics of Water from Ede Onyima Creek, Okarki-Engenni, Rivers State, Nigeria. Chemistry Research Journal, 5(3), 144-154

Edori, O. S. & Udongwo, A. M. (2021). Physical and chemical characteristics of water from Okamini Stream, Obio/Akpor, Rivers State, Niger Delta, Nigeria. GSC Advanced Research and Reviews, 8(1), 175-182.

Edori, O.S, Amolo, I.R & Anate, S.G (2021). Physicochemical Properties of Surface Water from Ogbia Axis of Kolo Creek, Bayelsa State, Nigeria. Journal of Scientific and Engineering Research, 8(12), 9-16

Edori, O.S, Iyama, W.A & Amadi M.Q.C (2020). Variation of Some Physicochemical Parameters in Surface Water of Elelenwo River, Rivers State, Niger Delta, Nigeri. International Journal of Research and Scientific Innovation, 7(5), 230-235

Iloba, K. I. & Shomule, O. S. (2020). Assessment of the Physicochemical-Water Quality Parameters of a Tropical River in Aragba, Delta State, Nigeria. Journal of Agriculture and Veterinary Science, 13(6), 10-20

Iyama, W.A, Edori, O.S & Ede, P.N (2019). Physicochemical Assessment of Surface Water Quality around the Sagbama Creek Water Body, Bayelsa State, Nigeria. Global Journal of Science Frontier Research, 19(1), 1-10

Kaizer, A.N & Osakwe, S.A (2010). Physicochemical Characteristics and Heavy Metal Levels in Water Samples from Five River Systems in Delta State, Nigeria. Journal Applied Science and Environmental Management, 14(1), 83 – 87.

Kanwal S., Ud-Din S., Ahmed K, Nafees M.A & Anwar S. (2017). Physico-Chemical and Microbial Analysis of Drinking Water of Four Springs of Danyore Gilgit Baltistan, Pakistan. International Journal of Environment, Agriculture and Biotechnology, 2(5), 2754-2760

Kpee, F. Edori, O.S & Nwokanma, V.C (2020). Assessment of Physicochemical Parameters in Nta-Wogba Stream in Port Harcourt, Rivers State, Nigeria. Journal of Scientific and Engineering Research, 7(8), 124-132

Makinde O. O, Edun O. M. & Akinrotimi O. A (2015). Comparative Assessment of Physical and Chemical characteristics of Water in Ekerekana and Buguma Creeks, Niger Delta Nigeria. Journal of Environment Protection and Sustainable Development, 1(3), 126-133

Mulamattathil S.G, Bezuidenhout C & Mbewe M. (2015). Analysis of physico-chemical and bacteriological quality of drinking water in Mafikeng, South Africa. Journal of Water and Health, 13(4), 1143-1152

Murhekar G. H. (2011). Determination of physicochemical parameters of surface water samples in and around Akot City. International Journal of Research in Chemistry and Environment, 1(2), 183-187.

Niyoyitungiye L., Giri A. & Mishra B.P (2019). Assessment of Physico-Chemical Characteristics of Water at Selected Stations of Lake Tanganyika, Africa with Special Emphasis on Pisciculture Purposes. International Journal of Basic and Applied Biology, 6 (3), 211-217

Okey-Wokeh, C.G, Obunwo, C.C & Wokeh, O.K (2021). Evaluation of Water Quality Index Using Physicochemical Characteristics of Ogbor River in Aba, Abia State, Nigeria. Journal of Applied Science and Environmental Management, 25(1), 47-51

Olubanjo, O. O & Adeleke, E. B (2020). Assessment of Physico-chemical Properties and Water Quality of River Osse, Kogi State. Applied Research Journal of Environmental Engineering, 3(1), 21-30

Onuoha, P. C., Alum-Udensi, O. & Nwachukwu, I. I (2018). Impacts of Anthropogenic Activities on Water Quality of the Onuimo Section of Imo River, Imo State, Nigeria. International Journal of Agriculture and Earth Science, 4(4), 44-52

Sarwade A. B. & Kamble N. A (2014). Evaluation of Physicochemical Parameters of River Krishna, Sangli Maharashtra. Octa Journal of Environmental Research, 2(4), 329-337.

Soundarapandian, P., Premkumar, T. & Dinakaran, G. K. (2009). Studies on the Physico-chemical Characteristic and Nutrients in the Uppanar Estuary of Cuddalore, South East Coast of India. Current Research Journal of Biological Sciences, 1(3), 102-105.

UNEP United Nations Environmental Programme (2011). Environmental Assessment of Ogoniland Report. United Nations Environmental Programme, Nairobi, Kenya.

USGS United State Geological Survey – Earth’s Water Distribution Archived 29 June, 2012 at the Wayback Machine. Ga.water.usgs.gov (11 December, 2012). Retrieved on 29 December, 2012.

Vincent-Akpu I.F & Yanadi L.O (2014). Levels of Lead, Iron and Cadmium Contamination in Fish, Water and Sediment from Iwofe site on New Calabar River, Rivers State. International Journal of Extensive Research, 3, 10-15

Islam, M. S., Idris, A. M., Islam, A. R. M. T., Ali, M. M., & Rakib, M. R. J. (2021). Hydrological distribution of 	physicochemical parameters and heavy metals in surface water and their ecotoxicological 	implications in the Bay of Bengal coast of Bangladesh. Environmental science and pollution 	research, 28(48), 68585-68599.

Zhang, H., Li, H., Gao, D., & Yu, H. (2022). Source identification of surface water pollution using multivariate 	statistics combined with physicochemical and socioeconomic parameters. Science of the Total 	Environment, 806, 151274.