| Journal Name: | # Journal of Medicine and Health Research |
| --- | --- |
| Manuscript Number: | Ms_JOMAHR_14986 |
| Title of the Manuscript: | An Integrated Multi-Modal Wearable Sensor System for Real-Time Monitoring of Athlete Stress, Hydration, and Tendon Stiffness Analysis |
| Type of the Article | Research Article |

PART 1 (Importance of the manuscript)

|  | ## Comments of the Reviewers | Author’s Feedback |
| --- | --- | --- |
| Please write a few sentences regarding the importance of this manuscript for the scientific community. A minimum of 3-4 sentences may be required for this part. | This manuscript presents a multi-modal wearable sensor system integrating physiological and biomechanical measurements for real-time monitoring of athlete stress, hydration, and tendon stiffness. The topic is highly relevant, as the integration of multiple sensing modalities within a compact and real-time embedded platform addresses an important gap in current wearable technologies. The work contributes to advancing non-invasive athlete monitoring by combining stress detection, hydration estimation, and biomechanical load tracking in a unified architecture. The study is particularly valuable for sports engineering and applied biomedical systems, as it demonstrates practical implementation using accessible hardware (Arduino-based platform) and real-time feedback mechanisms. However, while the system integration is promising, the scientific contribution would benefit from stronger quantitative validation and clearer methodological rigor. | ## Thank You reviewer for the valuable comments and positive evaluation of the manuscript’s structure, sustainability focus, and clarity of presentation |

## PART 2.1 (Objective Evaluation)

|  | ## Rating of the Reviewers | Author’s Feedback |
| --- | --- | --- |
| 1. Is the title clear and appropriate for the study? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 5 Clear, descriptive, and reflects the scope of the study accurately. | ## Thank You |
| ## 2. Is the abstract of the article comprehensive? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 Well structured; however, it slightly overstates validation without providing quantitative metrics. | ## Thank You |
| ## 3. Are the keywords appropriate and useful? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 5 Appropriate and well selected for indexing and discoverability. | ## Thank You |
| ## 4. Is the background information of the paper sufficient and well organized? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 Good structure, but some sections are overly descriptive and lack concise synthesis. | ## Thank You |
| ## 5. Are the research objectives/hypotheses clearly stated? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 Clearly implied but would benefit from explicitly stated research questions or hypotheses. | ## Thank You |
| ## 6. Is the literature review relevant and up to date? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 Comprehensive and up-to-date, especially with recent (2024–2025) references; however, it reads more as a compilation than a critical synthesis. | ## Thank You |
| ## 7. Is the research methodology appropriate for the study? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 3 Architecture is well described, but lacks reproducibility details (e.g., calibration, parameter thresholds, sensor fusion logic). | ## Thank You |
| ## 8. Were ethical issues properly addressed (if applicable)? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 Human trials are mentioned, but ethical approval, consent, and protocol details are missing or unclear. | ## Thank You |
| 9. Are the results presented clearly? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 3 Results are descriptive; quantitative analysis and statistical validation are missing or insufficient. | ## Thank You |
| 10. Are tables and figures clear, relevant, and necessary? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 Figures are relevant and informative, but some captions and formatting require improvement. | ## Thank You |
| 11. Does the discussion relate findings to existing literature? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 3 Discussion lacks deeper comparison with existing systems and critical interpretation of limitations. | ## Thank You |
| 12. Are the conclusions supported by the data? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 Conclusions are consistent with the work but slightly optimistic given limited quantitative validation. | ## Thank You |
| 13. Are the limitations of the study discussed? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 3 Limitations are not explicitly and sufficiently discussed. | ## Thank You |
| 14. Are the references relevant and sufficient (in number)? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 5 Relevant, recent, and well aligned with the topic. | ## Thank You |
| 15. Is the manuscript written in clear and understandable language? Rating Scale: 5 = Excellent 4 = Good 3 = Satisfactory 2 = Needs Improvement 1 = Poor N/A = Not Applicable | 4 Generally clear; minor grammatical and formatting issues are present. | ## Thank You |

## PART 2.2 (Subjective Evaluation)

|  | ## Reviewer’s comment | Author’s Feedback (It is mandatory that authors should write his/her feedback here) |
| --- | --- | --- |
| Is the title of the article suitable? If your answer is NO, please provide a brief, clear suggestion for improvement. | YES | ## Sincerely thank you reviewer for the positive comments |
| ## Is the abstract of the article comprehensive? s If your answer is NO, please provide a brief, clear suggestion for improvement. | YES, but it would benefit from including quantitative validation results (e.g., accuracy, latency, error margins) to improve scientific rigor. | ## Sincerely thank you reviewer for the positive comments |
| ## Is the manuscript scientifically correct? If your answer is NO, please provide a brief, clear suggestion for improvement . | PARTIALLY The manuscript is technically sound in terms of system design and integration; however, several aspects require improvement: Lack of quantitative validation metrics (e.g., correlation with reference devices, error rates) Insufficient explanation of sensor fusion methodology Missing details on calibration procedures and experimental protocols | ## Sincerely thank you reviewer for the positive comments |
| Are the references sufficient and recent? (YES or NO) If your answer is NO, please provide clear suggestion for improvement. | YES The manuscript includes a strong set of recent and relevant references (notably 2024–2025 works), supporting the novelty of the approach. | ## Sincerely thank you reviewer for the positive comments |
| Are there ethical issues in this manuscript? (YES or NO) (If yes, kindly please write down the ethical issues here in details) | POTENTIALLY YES The manuscript mentions validation on athletes but does not clearly state: Ethical approval (IRB or equivalent) Informed consent procedures Data privacy considerations These aspects must be clarified. | ## Sincerely thank you reviewer for the positive comments |