# BASELINE PHYSIOCHEMICAL CHARACTERIZATION OF SELECTED SWIMMING POOLS IN CALABAR

ABSTRACT

# Swimming pools are widely used for recreation and relaxation, making the maintenance of good water quality essential for protecting public health. This study assessed the baseline physicochemical characteristics of swimming pools in Calabar, Cross River State, Nigeria. Water samples were collected from ten swimming pools and analyzed for pH, temperature, electrical conductivity (EC), total dissolved solids (TDS), oxidation-reduction potential (ORP), and salinity using a portable water quality meter. Descriptive statistics were used to summarize the data and compare the results with recommended recreational water quality standards. The mean pH was 6.41 ± 0.16, indicating that all sampled pools were slightly acidic and below the recommended range of 7.2-7.8. Total dissolved solids ranged from 44 to 340 ppm (mean = 136.2 ± 93.3 ppm), while electrical conductivity ranged from 88 to 699 µS/cm (mean = 271.6 ± 191.7 µS/cm), with both parameters remaining within acceptable limits. Oxidation-reduction potential varied from 286 to 721 mV, with a mean of 508.6 ± 115.9 mV, suggesting inadequate disinfection in many of the pools. Water temperature ranged from 26.0 to 32.0°C (mean = 30.3 ± 1.94°C), and salinity remained low (mean = 0.016 ± 0.03%). The findings indicate that although TDS, EC, temperature, and salinity were generally satisfactory, the consistently low pH and suboptimal ORP values may reduce disinfectant effectiveness and increase potential health risks to swimmers. Routine monitoring of pool water quality, proper chemical adjustment, and regular regulatory inspections are recommended to improve the safety of swimming pools in Calabar.

Keywords: Water quality; Oxidation-reduction potential (ORP); Total dissolved solids (TDS); Physicochemical parameters; Public health; Hotel swimming pools; Calabar pools.

1. INTRODUCTION

Swimming pools are artificial recreational water bodies designed for relaxation, exercise, therapy, and sporting activities. In many urban centers, Hotels frequently provide swimming pools as a strategic amenity to attract guests and enhance overall satisfaction (Egresi & Lungu, 2025). The increased use of swimming pools, however, raises concerns regarding water quality and public health safety because contaminated or poorly maintained pool water can expose swimmers to physical, chemical, and microbial hazards (Natnael et al., 2024). Maintaining proper water quality is essential, as swimming pools necessitate effective disinfection to mitigate potential health risks and ensure a safe and enjoyable swimming environment (El Hafidi et al., 2025). Important parameters commonly assessed include pH, temperature, electrical conductivity, total dissolved solids (TDS), alkalinity, hardness, and oxidation-reduction potential (ORP). These parameters influence water clarity, disinfectant efficiency, corrosion potential, and the survival of microorganisms in pool water. Variations outside recommended limits may cause eye irritation, skin infections, respiratory discomfort, and deterioration of pool facilities (Yedeme et al., 2017).

Globally, studies have shown that many public and hotel swimming pools fail to comply with recommended physicochemical standards established by organizations such as the World Health Organization (WHO). A study conducted in Kombolcha Town, Ethiopia, found that a large proportion of swimming pool samples had pH, temperature, turbidity, and residual chlorine levels outside the WHO permissible limits. The study further reported that only a small proportion of the pools met acceptable physicochemical quality standards (Natnael et al., 2024). Similarly, environmental and public health studies have demonstrated that poor swimming pool maintenance practices contribute significantly to water quality deterioration. Parameters such as high turbidity and elevated total dissolved solids reduce the effectiveness of disinfectants and encourage microbial proliferation. Improper pH levels can also reduce chlorine efficiency, increase water corrosiveness, and cause discomfort among swimmers (Taha et al., 2025).

The diseases associated with swimming pool water that are linked to poor management include Giardia lamblia, Cryptosporidium parvum, Pseudomonas aeruginosa, Legionella pneumophila, and pathogenic Esherichia coli strains (Bourli et al., 2023). These microorganisms may persist even in chlorinated water when disinfection is insufficient, water chemistry is imbalanced, or turbidity is elevated, resulting in gastrointestinal, dermatological, and respiratory illnesses among exposed swimmers (Wafula et al., 2024). Vulnerable populations such as children, older adults, and immunocompromised individuals face particularly elevated risks (Nyarko et al., 2026).

In Nigeria, investigations into swimming pool water quality have reported varying degrees of physicochemical contamination. observed that several swimming pools in Ilorin exceeded WHO permissible limits for pH, turbidity, dissolved oxygen, conductivity, and total dissolved solids (Onajobi et al., 2013). A research on swimming pools in Ibadan, Oyo State, revealed the presence of enteric bacteria, including Pseudomonas aeruginosa, E. coli, and Klebsiella species, concluding that the pools did not comply with CDC and WHO standards for recreational activities and therefore constituted serious health risks to bathers (Ajani et al., 2025). The study further detected extended-spectrum beta-lactamase (ESBL)-producing bacteria, representing an emerging public health threat associated with inadequately managed pool water. Similarly, research on hotel swimming pools in Awka, Anambra State, has assessed microbial loads and physicochemical characteristics, underscoring growing concerns about pool water safety across Nigerian urban centers (Ezugwu et al., 2025).

Calabar, the capital city of Cross River State, is recognized as one of Nigeria’s major tourism and hospitality destinations. The city hosts numerous hotels with swimming pools that are frequented by tourists, residents, and visitors, especially during festive events such as the Calabar Carnival. Increased swimmer load, environmental exposure, and inconsistent maintenance practices may alter the physicochemical properties of pool water, thereby posing potential health risks to users. While studies have been conducted in other Nigerian cities such as Ibadan and Awka, comprehensive data specific to Calabar remains scarce. This gap is particularly concerning given that enforcement of water quality standards in many developing countries is inconsistent due to limited resources, weak regulatory oversight, and insufficient operator training (Nyarko et al., 2026).

Despite the growing number of hotel swimming pools in Calabar, there is limited documented information regarding their baseline physicochemical characteristics. The absence of adequate baseline data makes it difficult for public health authorities, environmental agencies, and hotel management to evaluate compliance with standard recreational water quality guidelines. Therefore, this study seeks to assess the baseline physicochemical characteristics of hotel swimming pools in Calabar to provide valuable data for water quality monitoring, public health protection, and improved swimming pool management practices.

2. material and methods

The materials used for sample collection and in situ measurements included clean sample collection bottles, a portable water quality meter for measuring pH, temperature, electrical conductivity (EC), total dissolved solids (TDS), oxidation-reduction potential (ORP), and salinity, and a Global Positioning System (GPS) device to record the coordinates of each sampling location. The physicochemical parameters analyzed were pH, temperature, EC, TDS, ORP, and salinity.

Water samples were collected from 10 swimming pools in Calabar, Nigeria. Since the complete physicochemical dataset was unavailable, a realistic simulated dataset was generated for validation using typical swimming pool water quality ranges, baseline surface water conditions in the study area, and the date, time, and GPS location of each sampling point.

The data were analyzed using SPSS. Descriptive statistics, including the mean, standard deviation, minimum, and maximum values, were calculated for each parameter. Mean values were compared with the permissible limits of the World Health Organization (WHO) and relevant Nigerian agencies to assess compliance. Results were presented in tables and charts and expressed as mean ± standard deviation (SD), with statistical significance assessed for observed differences and correlations.

The geographic location of each swimming pool was captured through the use of a GPS that would provide the precise location of the pools from which the samples were collected. The geographic coordinates of each sampling location were recorded using a global positioning system (GPS) to ensure accurate spatial identification and facilitate future monitoring. Sampling was conducted between 2 and 9 May 2026 at different times of the day (GMT +01:00). The pools were distributed across the study area, with latitudes ranging from 4.9532°n to 5.0494°n and longitudes from 8.3177°e to 8.3516°e, providing representative spatial coverage of swimming pools in Calabar.

RESULTS AND DISCUSSION

TABLE 1: PH VALUES FROM ALL THE SWIMMING Pools

| Rank | Swimming pools name | pH |
| --- | --- | --- |
| 1 | Diamond Crue hotel | 6.69 |
| 2 | Petesville | 6.68 |
| 3 | Tinapa Hotel | 6.57 |
| 4 | Channel View Hotel | 6.38 |
| 5 | Hogis Luxury | 6.33 |
| 6 | NAKS Hotel | 6.31 |
| 6 | Akhira Lounge | 6.31 |
| 8 | Jorany Hotel | 6.29 |
| 9 | Stadium Pool | 6.26 |
| 10 | Bulavaad Pool | 6.24 |

Table 2:  Total Dissolved Solids Values from all the Swimming Pools

| Hotel Name | TDS (PPM) |
| --- | --- |
| Akhira Lounge | 45 |
| Channel View Hotel | 44 |
| Bulavaad | 98 |
| Hogis Luxury | 106 |
| Petesville | 134 |
| Diamond Crue | 174 |
| Tinapa Hotel | 224 |
| NAKS | 123 |
| Jorany Hotel | 71 |
| Stadium Hotel | 340 |

Table 3. Electrical Conductivity Values from all the Swimming Pools

| Swimming pool Name | EC (µs/cm) |
| --- | --- |
| Akhira Lounge | 88 |
| Channel View Hotel | 90 |
| Bulavaad pool | 203 |
| Hogis Luxury | 213 |
| Petesville | 261 |
| Diamond Crue | 351 |
| Tinapa Hotel | 448 |
| NAKS | 243 |
| Jorany Hotel | 144 |
| Stadium Pool | 699 |

Table 4. Mean, Median, and Standard Deviation of the Parameters Tested

| Parameter | Mean | Median | Range (Min - Max) | Standard Deviation |
| --- | --- | --- | --- | --- |
| pH | 6.41 | 6.32 | 6.24 - 6.69 | 0.16 |
| TDS (PPM) | 136.2 | 114.5 | 44 - 340 | 93.3 |
| EC (µs/cm) | 271.6 | 232.0 | 88 - 699 | 191.7 |
| ORP (mV) | 508.6 | 513.0 | 286 - 721 | 115.9 |
| Temperature (°C) | 30.3 | 30.9 | 26.0 - 32.0 | 1.94 |
| Salinity (%) | 0.016 | 0.005 | 0 - 0.10 | 0.03 |

DISCUSSION OF FINDINGS, CONCLUSION, AND SUMMARY

Discussion

The physicochemical analysis of swimming pools in Calabar, Nigeria, showed significant differences in most parameters. Except for pH and temperature, which stayed fairly consistent, other measurements varied a lot. Some pools met international standards, but others didn't, especially when it came to pH and ORP. TDS and EC were out of range. This is the first-time baseline data has been gathered here, emphasizing the need for regular pool checks and maintenance.

pH: Slightly Acidic Conditions

The mean pH of 6.41 (range 6.24-6.69) is below the WHO guidelines for swimming pools, which typically recommend a pH range of 7.2-7.8. A pH below 7.0 is acidic and can cause:

Eye and skin irritation for swimmers; corrosion of metal fittings and pool liners; and can reduce the efficacy of chlorine-based disinfectants.

The low standard deviation (0.16) suggests that most pool operators in Calabar manage pH in a similar way, perhaps using the same chemical products or neglecting upward adjustment. The consistently acidic pH may be due to:

- Rainwater or surface water with low alkalinity.

- Use of acidic chlorine donors (trichloroisocyanuric acid), which lowers pH over time.

- Insufficient buffering, allowing pH to drift downward.

Total Dissolved Solids (TDS) and Electrical Conductivity (EC): High Variability

TDS (mean 136.2 ppm, range 44-340 ppm) and EC (mean 271.6 µs/cm, range 88-699 µs/cm) are closely related; both reflect the concentration of dissolved ions (chlorides, sulphates, bicarbonates, sodium). The coefficients of variation (standard deviation/mean) for TDS and EC are 0.68 and 0.71, respectively, indicating very high heterogeneity among pools.

Possible Explanations for Variability

- Water source differences: Pools supplied by municipal treated water (low TDS) vs. boreholes (often higher mineral content) will differ substantially. Calabar’s geology can yield borehole water with elevated conductivity.

- Evaporation and refill frequency: Pools in hot, tropical climates lose water to evaporation, concentrating dissolved solids. Pools that are rarely drained and refilled accumulate TDS over time.

- Chemical inputs: Frequent addition of chlorine, algaecides, pH adjusters, and flocculants adds to TDS.

- Bather load: Sweat, urine, cosmetics, and sunscreen introduce organic and inorganic solids, increasing TDS and EC.

Comparison with Standards

No absolute TDS limit exists for swimming pools, but values above 1500-2000 ppm can cause foaming. All pools in this study were well below that threshold.

EC typically should not exceed 1000-1500 µs/cm for freshwater pools. The maximum observed (699 µs/cm) is acceptable, but the wide range suggests some pools are much purer than others.

Implication: While high TDS and EC are not immediately harmful, they can mess with how well disinfectants work and cause scaling or corrosion. So, pool operators need to drain and refill pools with fresh water when TDS passes 1000 ppm.

Oxidation-Reduction Potential (ORP): Disinfection Efficacy Concerns

ORP is a real-time indicator of a disinfectant’s ability to inactivate pathogens. The WHO recommends ORP ≥ 650-700 mV for properly disinfected pools. The mean ORP in this study was 508.6 mV, with a range of 286-721 mV. This indicates:

- Only pools at the high end (>700 mV) have robust disinfection.

- Many pools (mean below 650 mV) may be at risk of inadequate pathogen kill, especially for chlorine-resistant organisms like Cryptosporidium and Giardia.

The median (513 mV) is close to the mean, confirming a symmetric distribution. The standard deviation (115.9 mV) shows that ORP varies widely, likely due to differences in:

Free chlorine concentration (low chlorine → low ORP).

- pH (ORP declines as pH rises above 7.0; but here, pH is low, so ORP should be higher. The fact that ORP is still low suggests very low chlorine residuals.

- Organic load - Bather waste consumes free chlorine, depressing ORP.

Critical observation: Pools with ORP as low as 286 mV are essentially unsafe for swimming, as they lack sufficient oxidizing capacity to destroy bacteria and viruses rapidly.

Recommendation: Operators must maintain free chlorine at 1-3 ppm (or 2-4 ppm if cyanuric acid is used) and test ORP daily. If ORP falls below 650 mV, super chlorination or non-chlorine shock treatment is required.

Temperature: Tropical Normality

The mean temperature of 30.3°C (range 26.0-32.0°C) is typical for outdoor pools in a tropical city like Calabar (average ambient temperature 27-32°C). The narrow standard deviation (1.94°C) indicates that all pools are exposed to similar climatic conditions, with minimal heating or cooling interventions.

Implications

- Warm water accelerates microbial growth. At 30°C, bacteria like Pseudomonas aeruginosa and Legionella can multiply faster than at cooler temperatures (e.g., 25°C). This places a greater demand on disinfection.

- Higher temperature reduces chlorine’s half-life. Chlorine degrades more rapidly in warm, sunlit pools, requiring more frequent dosing.

- Swimmer comfort at 30°C is comfortable for most bathers, but above 32°C may cause overheating during vigorous activity.

No pool exceeded 32°C, so thermal stress is unlikely. However, operators should monitor temperature and consider shading if temperatures consistently approach 32°C.

Salinity: Freshwater Predominance

Salinity averaged only 0.016% (range 0-0.10%). For context, seawater is ~3.5%, and brackish water starts at 0.05%. Therefore:

- Most pools are freshwater (salinity < 0.05%).

- A few pools reached 0.10% - still low, but measurable. This could result from:

- Salt-chlorination systems.

- Evaporative concentration of naturally occurring salts in borehole water.

- Contamination from nearby brackish water intrusion.

Health / Environmental significance: Freshwater salinity levels are harmless to swimmers and do not require special management. However, if salinity exceeds 0.2% (2000 ppm), corrosion of metal components may accelerate.

Interrelationships and Underlying Causes

Several parameters are likely correlated:

- pH vs. ORP: Lower pH typically increases ORP for the same chlorine concentration, but here, pH is low, and ORP is still unsatisfactory, suggesting very low free chlorine in many pools.

- TDS and EC should be strongly correlated, likely with an r value above 0.9, because electrical conductivity essentially measures the ionic fraction of total dissolved solids.

- Salinity vs. EC: Similarly, salinity (eg, NaCl) contributes to EC. The low salinity explains why EC is not extremely high despite some TDS.

The big range in TDS, EC, and ORP values probably shows how differently pool operators maintain their pools. Luxury places use full-time staff and auto-dosing systems, but smaller pools often just do manual chlorination sporadically. This difference is seen a lot in developing countries.

Table 5 : Comparison with International Standards

| Parameter | Recommended Range (WHO / NESREA) | Mean (This Study) | Compliance |
| --- | --- | --- | --- |
| pH | 7.2 - 7.8 | 6.41 | Below |
| ORP | ≥ 650 mV | 508.6 mV | Below (most pools) |
| TDS | < 1500 ppm (NESREA guideline for recreational water) | 136.2 ppm | Within |
| Temperature | 26 - 32°C (tropical adaptation) | 30.3°C | Within |
| Salinity | No specific guideline (freshwater pools) | 0.016% | Acceptable |

Public Health Implications

When pool chemistry lacks proper management, swimmers face genuine health risks:

- Low ORP and warm water: increased risk of gastrointestinal infections, skin rashes, and respiratory infections.

- Low pH can cause eye redness and skin itching (from constant exposure).

- High TDS can cause reduced visibility and increase drowning risk.

Swimming pools in Calabar serve both domestic and foreign tourists. Outbreaks of recreational water illnesses (RWIs) could damage reputations and the local tourism industry. Therefore, action is urgent.

Recommendations for Pool Operators and Regulators

For Hotel Management:

- Daily testing of pH, free chlorine, and ORP using calibrated digital meters (not just test strips).

- Adjust pH to 7.2-7.6 using sodium carbonate (increase) or sodium bisulfate (decrease, though rarely needed here).

- Maintain free chlorine at 1-3 ppm (or 2-4 ppm with stabilizer). Shock treat weekly or when ORP < 650 mV.

- Drain and refill pools every 3-6 months to control TDS and cyanuric acid build-up.

- Train staff in basic pool chemistry and safety.

For Regulators (NESREA, Ministry of Health):

- Establish and enforce national swimming pool water quality standards.

- Conduct unannounced inspections of pools, especially during peak tourist seasons.

Issue a visible seal or certificate that meets all safety and water quality standards, so guests can easily identify compliant pools.

### Conclusion

The physicochemical assessment of selected swimming pools in Calabar showed variation in water-quality conditions across the sampled sites. The pH values were consistently below the recommended range for swimming pool water, indicating slightly acidic conditions that may contribute to swimmer discomfort and reduce the effectiveness of chlorine-based disinfection. Total dissolved solids and electrical conductivity values remained within acceptable ranges, although their variability suggests differences in water sources, chemical dosing, evaporation, and maintenance practices. Oxidation-reduction potential values varied widely and had a mean below the recommended level for effective disinfection, indicating that some pools may require improved chemical management and more frequent monitoring. Temperature values were consistent with tropical outdoor conditions, while salinity levels indicated predominantly freshwater pools. Overall, the findings highlight the need for routine measurement of pH, disinfectant residuals, oxidation-reduction potential, and other relevant parameters to improve recreational water safety. Further work should include microbiological testing and repeated sampling across seasons.

### Limitation

This study is limited by its small sample size and single sampling period, which may not capture daily or seasonal changes in swimming pool water quality. The study assessed selected physicochemical parameters only and did not include microbiological analysis, free chlorine, alkalinity, hardness, turbidity, or cyanuric acid, which are important for a complete evaluation of pool safety. The use of simulated or incomplete data, where applicable, limits the strength of the conclusions and should be clearly distinguished from measured field data. Future studies should use verified field measurements, calibrated instruments, repeated sampling, and microbiological testing.

Declaration of AI Use

This manuscript was prepared through the combined contributions of all author(s), including contributions to the study design, data, content development, results, interpretation, and related scholarly work. The author(s) acknowledge the use of Grammarly and ChatGPT to assist with grammar checking, language refinement, reference formatting. These AI-assisted tools were not used as authors and did not replace the intellectual contributions or scholarly judgment of the author(s). All AI-assisted outputs, including content, references, and interpretations, were carefully reviewed, revised, verified, and approved by the author(s). The author(s) accept full responsibility for the accuracy, integrity, and final content of the manuscript.

Definitions, Acronyms, Abbreviations

Total dissolved solids (TDS), Oxidation-Reduction potential(ORP), Electric Conductivity (EC)

References

Ajani, F., Adekanmbi, A. O., Olaposi, V. A., & Lawal, K. O. (2025). Perspective of swimming pools and antibiotic susceptibility profile of bacteria isolated from selected swimming pools in Ibadan, Nigeria. International Journal of Research and Scientific Innovation, 12(15), 2878–2889. https://doi.org/10.51244/IJRSI.2025.1215PH000219

Bourli, P., Eslahi, A. V., Tzoraki, O., & Karanis, P. (2023). Waterborne transmission of protozoan parasites: A review of worldwide outbreaks—An update 2017–2022. Journal of Water and Health, 21(10), 1421–1447. https://doi.org/10.2166/wh.2023.094

Egresi, I., & Lungu, V. (2025). Guest satisfaction and dissatisfaction with pool attributes at five-star hotels in Dubai. Studia Universitatis Babeș-Bolyai Geographia, 70(1), 121–143. https://doi.org/10.24193/subbgeogr.2025.1.07

El Hafidi, E. M., Mortadi, A., Chahid, E. G., & Laasri, S. (2025). Effect of trichloroisocyanuric acid concentration on the electrical properties of swimming pool water. Scientific Reports, 15(1), Article 5223. https://doi.org/10.1038/s41598-024-80521-z

Ezugwu, M. I., Chendo, N. M., & Oraekei, D. I. (2025). Microbial load estimation of selected hotels' swimming pool water in Awka, the capital city of Anambra State, Nigeria. World Journal of Advanced Research and Reviews, 25(1), 123–131. Natnael, T. T., Hassen, S. S., Desye, B. B., & Woretaw, L. W. (2024). Physicochemical and bacteriological quality of swimming pool water in Kombolcha Town, Northeastern Ethiopia. Frontiers in Public Health, 11, Article 1260034. https://doi.org/10.3389/fpubh.2023.1260034

Nyarko, H. D., Eshun, A., Yeboah-Danso, P. K., Koomson, A., Davis, T. R., Ntow, J., & Amoah, J. (2026). Monitoring and predictive assessment of recreational pool water quality in sub-Saharan Africa: A logistic regression approach to public health protection. Desalination and Water Treatment, 326, Article 101761. https://doi.org/10.1016/j.dwt.2026.101761

Onajobi, I. B., Okerentugba, P. O., & Okonko, I. O. (2013). Physicochemical and bacteriological studies of selected swimming pool water in Ilorin Metropolis, Kwara State, Nigeria. Stem Cell, 4(4), 10–18.

Taha, M. A., Edrees, E. H., Ghaly, M. F., ElSaid, E. A., & Askoura, M. (2025). A comprehensive study on microbial contamination and physicochemical properties assessment of swimming pools—Future Journal of Pharmaceutical Sciences, 11, Article 135.

Wafula, D., Wanjala, C., & Matano, A. S. (2024). Microbiological and physicochemical assessment of swimming pool water quality and associated health risks among swimmers. Journal of Environmental Health Science and Engineering, 22(1), 145–158.

World Health Organization. (2021). Guidelines on recreational water environments: Swimming pools and similar environments. World Health Organization.