Editor’s Comment:
Two minor points should be clarified before publication.

The determined astaxanthin content ranged from 20.67 to 22.85 mg/g DW across eight independent replicates (n=8), with a mean value of 21.94 mg/g DW and an RSD of 2.83% (Table 3). However, in Table 4 summarizes the astaxanthin concentrations and recovery yields from the three independent replicates (n=3). Also, six independent validation runs (n=6) gave a mean recovery of 79.708%, SD = 1.166, and RSD = 1.463% (Table 5). Please double check "n" number in these three tables.
Please discuss the possible weaknesses in the reported 79.7% recovery.
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