Assessment of Drinking-Water Quality Intended for Poultry Production: A Baseline Study from Salem District, Tamil Nadu

Abstract

Water quality is an important component of poultry production and may influence bird health, performance, farm infrastructure and biosecurity. The present study was conducted to assess the physicochemical and microbiological quality of water sources intended for poultry-farm use in Salem district. A total of 30 water samples were collected by convenience sampling from accessible sites associated with poultry farms before the commencement of poultry production. Physicochemical parameters including pH, electrical conductivity (EC), total dissolved solids (TDS), salinity and total hardness were measured using an LMMP30 Water Quality Multiparameter. Coliforms were estimated by the five-tube most probable number (MPN) method using MacConkey lactose broth. The pH ranged from 6.90 – 8.80, with a mean of 7.85 ± 0.45. EC ranged from 592 – 46,800 µS/cm, while TDS ranged from 297 – 2,530 mg/L. Salinity ranged from 0.23 – 2.70 ppt and total hardness ranged from 240 – 1,692 mg/L. Coliform counts ranged from 0 – 170 MPN/100 mL, with detectable coliforms present in 24 (80.0%) samples. The findings demonstrated considerable variation in the physicochemical and microbiological quality of water sources intended for poultry production. The presence of coliforms and elevated mineralization in several sources highlights the importance of baseline water-quality assessment before farm establishment. Regular monitoring, appropriate water sanitation and further seasonal and pathogen-specific investigations are recommended.

Keywords: Poultry farm, Water quality, Coliforms and Salem

1. Introduction

Water is an essential but often overlooked input in poultry production, functioning in thermoregulation, digestion, nutrient transport, metabolism and waste elimination. Poultry consume considerably more water than feed on a weight basis and water intake varies with age, environmental temperature, diet and management (Roach et al., 2025). Consequently, the quality of water available for poultry production is an important consideration during farm planning and management. Water quality is determined by both physicochemical and microbiological characteristics, with parameters such as pH, electrical conductivity (EC), total dissolved solids (TDS), salinity and hardness providing important information about its suitability (Debassi et al., 2025). High levels of TDS and dissolved minerals may affect palatability and bird performance, while highly mineralized water may contribute to scaling and other problems in drinking-water infrastructure (Ebrahimi et al., 2024; Raut et al., 2025). In addition, water storage facilities and distribution systems may provide favourable sites for microbial attachment and biofilm formation once a poultry farm becomes operational (Ogundipe and Obe, 2025). Studies have demonstrated the presence of bacteria and fungi in poultry drinking-water systems, emphasizing the importance of assessing and managing water quality from the initial stage of farm establishment (Mustedanagic et al., 2023; Ogundipe and Obe, 2025)

Drinking water also has important food-safety and One Health implications because organisms such as Escherichia coli, Salmonella and Campylobacter may contaminate poultry production systems (Maharjan et al., 2017: Mantzios et al., 2023). Antimicrobial-resistant bacteria have also been reported in poultry water supplies (Osei et al., 2021), highlighting the importance of establishing appropriate water-quality and sanitation measures before the commencement of poultry production. Salem district is an important agricultural and livestock-producing region of Tamil Nadu, where groundwater is widely used for domestic, agricultural and livestock purposes. Previous investigations have reported considerable variation in groundwater pH, EC, TDS and hardness in the district (Arulbalaji and Gurugnanam, 2017).

However, information on the quality of water sources intended for poultry production in Salem district, particularly before the commencement of farm operations, remains limited. Therefore, the present study evaluated the physicochemical and microbiological quality of water sources intended for poultry-farm use in Salem district, Tamil Nadu, with particular emphasis on pH, EC, TDS, salinity, total hardness and coliforms.

2. Materials and Methods

2.1 Study area and demographic profile

The study was conducted in Salem District, Tamil Nadu, India, located in the north-central part of the state between approximately 11°14′ and 11°59′ N latitude and 77°44′ and 78°50′ E longitude. Salem is an important agricultural and livestock-producing district of Tamil Nadu, with poultry farming constituting an important component of the local livestock sector. The district experiences a predominantly tropical climate with considerable seasonal variation in rainfall and temperature. Both urban and rural areas are present, and groundwater is an important source of water for domestic, agricultural and livestock-related activities. Differences in geological formations, groundwater availability, land use, agricultural practices and anthropogenic activities may contribute to spatial variation in groundwater quality. These characteristics make Salem district an appropriate setting for assessing the baseline quality of water sources intended for poultry production.

2.2 Sampling

A total of 30 water samples were collected from accessible sites associated with poultry farms located in different areas of Salem district such as Akkarapalayam, Attur, Periyeri, Keeripatti, Thalaivasal and Seeliampatty. Importantly, the samples were collected prior to the commencement of poultry production. Thus, the samples represented the quality of the available water sources before exposure to poultry birds, poultry-house activities, drinkers and routine farm operations.

2.3 Collection and transportation of water samples

Water samples were collected aseptically from the water sources intended for use as poultry drinking water. Approximately 250 – 500 mL of water was collected in sterile, clean and leak-proof containers. Sampling was performed without disturbing sediments or other materials present at the source. Samples were immediately transported to the laboratory under refrigerated conditions and processed within 2 h of collection. Microbiological processing was performed in Biosafety Level II cabinet available at the Department of Veterinary Public Health and Epidemiology, Veterinary College and Research Institute, Salem.

2.4 Assessment of physicochemical characteristics

The physicochemical characteristics of the water samples were assessed by measuring pH, EC, TDS, salinity and total hardness. Measurements were performed using an LMMP30 Water Quality Multiparameter according to the manufacturer's operating instructions. The instrument was appropriately calibrated before measurement, and each water sample was assessed under standardized conditions. Results were recorded in the respective units displayed by the instrument, with EC expressed as µS/cm, TDS as mg/L and salinity as ppt.

Total hardness was determined by EDTA complexometric titration, in which calcium and magnesium ions were titrated with a standardized EDTA solution using an appropriate indicator (Eriochrome Black T). The endpoint was identified by the characteristic colour change (Wine red to blue), and total hardness was expressed as mg/L (ppm) as CaCO₃.

2.5 Microbiological examination

Presence of coliforms in the water samples was assessed using the most probable number (MPN) method with MacConkey lactose broth. Three sets of five tubes were prepared to examine different volumes of the water sample. For the first set, 10 mL of water sample was inoculated into tubes containing 10 mL of double-strength MacConkey lactose broth. For the second set, 1 mL of sample was inoculated into tubes containing 10 mL of single-strength MacConkey lactose broth, while for the third set, 0.1 mL of sample was inoculated into tubes containing 10 mL of single-strength MacConkey lactose broth. Durham tubes were incorporated into the fermentation tubes for detection of gas production. The inoculated tubes were incubated at 37°C for 24 h. Tubes showing characteristic lactose fermentation with acid and gas production were considered positive. The number of positive tubes in each dilution was used to estimate the coliform concentration as MPN per 100 mL using the standard five-tube MPN interpretation table.

2.6 Statistical analysis

Descriptive statistics were used to summarize the physicochemical and microbiological characteristics of the water samples.

3. Results and Discussion

The physicochemical and microbiological characteristics of the 30 poultry-farm water samples are summarized in table 1.

Table 1. Physicochemical and microbiological characteristics of water samples

| Sample No. | pH | Electrical Conductivity (µS/cm) | TDS (mg/L) | Salinity (ppt) | Total Hardness (mg/L) | Coliforms (MPN/100ml) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 7.8 | 1217 | 608 | 0.56 | 648 | 39 |
| 2 | 7.8 | 804 | 402 | 0.34 | 340 | 54 |
| 3 | 7.9 | 742 | 378 | 0.31 | 340 | 25 |
| 4 | 7.9 | 793 | 398 | 0.34 | 316 | 79 |
| 5 | 7.7 | 1947 | 974 | 0.96 | 778 | 2 |
| 6 | 7.4 | 4550 | 2270 | 2.41 | 1644 | 45 |
| 7 | 7.4 | 702 | 350 | 0.28 | 240 | 3 |
| 8 | 7.78 | 1328 | 663 | 0.62 | 324 | 10 |
| 9 | 8.1 | 592 | 297 | 0.23 | 392 | 6 |
| 10 | 6.9 | 960 | 481 | 0.42 | 544 | 7 |
| 11 | 7.2 | 1862 | 932 | 0.91 | 708 | 2 |
| 12 | 8.1 | 3320 | 1665 | 1.72 | 1240 | 45 |
| 13 | 8.8 | 690 | 345 | 0.28 | 324 | 0 |
| 14 | 8.3 | 891 | 446 | 0.39 | 426 | 0 |
| 15 | 8.2 | 683 | 340 | 0.27 | 420 | 0 |
| 16 | 7.2 | 1148 | 588 | 0.54 | 612 | 13 |
| 17 | 7.3 | 1446 | 721 | 0.69 | 616 | 39 |
| 18 | 7.3 | 1212 | 607 | 0.56 | 648 | 33 |
| 19 | 7.2 | 1335 | 667 | 0.63 | 636 | 13 |
| 20 | 8.4 | 2440 | 1230 | 1.23 | 802 | 33 |
| 21 | 8.1 | 907 | 455 | 0.40 | 542 | 62 |
| 22 | 7.9 | 689 | 347 | 0.28 | 580 | 69 |
| 23 | 8 | 643 | 323 | 0.25 | 404 | 0 |
| 24 | 8.5 | 2470 | 1239 | 1.25 | 1056 | 170 |
| 25 | 8.1 | 1059 | 530 | 0.48 | 616 | 0 |
| 26 | 8.3 | 1665 | 833 | 0.81 | 770 | 5 |
| 27 | 7.8 | 2030 | 1020 | 1.01 | 644 | 11 |
| 28 | 7.7 | 1288 | 644 | 0.60 | 540 | 33 |
| 29 | 8.3 | 46800 | 2340 | 2.48 | 1692 | 45 |
| 30 | 8.1 | 5080 | 2530 | 2.70 | 1660 | 0 |

3.1 Physicochemical characteristics

3.1.1 pH: The pH ranged from 6.9 to 8.8, with a mean of 7.85 ± 0.45 and median of 7.90, indicating generally neutral to mildly alkaline water. This was comparable with previous poultry-water studies (Mohammed et al., 2020). Although generally satisfactory, pH can influence microbial growth and chlorine-based sanitization through changes in hypochlorous acid and hypochlorite proportions (Raut et al., 2024; Ogundipe and Obe, 2025). Alkaline drinking water may also affect broiler performance (Martínez et al., 2021; Raut et al., 2025). Therefore, periodic monitoring is recommended.

3.1.2 Electrical conductivity (EC): EC ranged from 592 to 46,800 µS/cm, with a mean of 3,043.10 ± 8,337.46 µS/cm and a median of 1,214.50 µS/cm. The marked difference between the mean and median was mainly due to the extreme value of 46,800 µS/cm. This variability was higher than that reported for groundwater in Salem district, where EC ranged from 230–3,800 µS/cm with a mean of 1,487 µS/cm (Arulbalaji and Gurugnanam, 2017). The sample with extreme EC also showed high TDS, salinity and hardness, suggesting substantial mineralization and warranting further chemical characterization.

3.1.3 Total dissolved solids (TDS): TDS ranged from 297 to 2,530 mg/L, with a mean of 820.77 ± 619.94 mg/L and a median of 607.50 mg/L. Three samples had TDS concentrations exceeding 2,000 mg/L, indicating relatively high levels of dissolved solids in these water sources. Such elevated values may warrant further evaluation of the specific mineral composition of the water and subsequent monitoring of flock performance. The observed variability is consistent with previous reports of substantial differences in TDS, EC, hardness and mineral composition among water sources used for poultry production (Ebrahimi et al., 2024). These findings highlight the importance of assessing TDS alongside other physicochemical parameters rather than interpreting it as an isolated indicator of poultry-water quality.

3.1.4 Salinity: Salinity of the water samples ranged from 0.23 to 2.70 ppt, with a mean of                     0.80 ± 0.68 ppt and a median of 0.56 ppt. The considerable variation among samples indicates differences in the concentration of dissolved salts between farms. The sample with the highest EC also showed elevated salinity, suggesting that the increased conductivity was associated with a greater concentration of dissolved ionic substances. Since salinity reflects the combined contribution of dissolved salts, its elevation may be related to the underlying groundwater characteristics or mineral dissolution. Therefore, salinity should be considered together with EC, TDS and hardness when evaluating the overall chemical quality of poultry drinking water.

3.1.5 Total hardness: Total hardness ranged from 240 to 1,692 mg/L, with a mean of 683.40 ± 397.80 mg/L and a median of 614 mg/L. Although hardness is not directly toxic because calcium and magnesium are essential minerals, highly hard water may promote scaling in pipelines, drinkers and storage tanks, potentially affecting water flow and microbial accumulation. Similar concerns regarding hardness and water suitability in poultry systems have been reported by Di Martino et al. (2018) and Osei et al. (2021). Therefore, hardness warrants attention in poultry farms, particularly those using groundwater, with further analysis of calcium, magnesium, sodium, chloride and sulphate recommended to determine the underlying mineral composition.

3.2 Microbiological quality

Coliform count ranged from 0 to 170 MPN per 100 mL, with a mean of 28.1 ± 35.56 MPN per 100 ml and median of 13 MPN per 100 mL. Detectable coliforms were present in 24 of the 30 samples (80%), while six samples (20%) showed no detectable count. The high proportion of samples with detectable coliforms indicates that microbial contamination was widespread among the water sources assessed, despite the samples being collected before the commencement of poultry-farm operations. This finding is particularly relevant because a common drinking-water source can provide repeated exposure to birds throughout the production cycle. Comparable concerns have been reported by Osei et al. (2021) in Ghana, who detected total coliforms in 97% and faecal Enterococci in 56% of poultry-farm water supplies. The relatively high detection rate observed in the present study therefore emphasizes the importance of routine microbiological monitoring of poultry drinking-water sources, together with appropriate source protection, storage-tank sanitation, periodic cleaning and flushing of water-distribution systems

4. Conclusion

The present study demonstrated considerable variation in the physicochemical and microbiological quality of drinking water used in poultry farms in Salem district, Tamil Nadu. The water was generally neutral to mildly alkaline, but substantial mineralization was evident from elevated EC, TDS, salinity and hardness in several samples. Detectable coliform counts were recorded in 80% of samples. The findings emphasize that poultry-farm water quality should be evaluated using an integrated physicochemical and microbiological approach. Establishing baseline water quality before farm operation and maintaining periodic surveillance thereafter can help identify site-specific risks and support timely corrective measures. Water quality can be improved through appropriate treatment of contaminated sources, including filtration and controlled chlorination where microbiological contamination is detected. Regular flushing and sanitation of water lines, tanks and drinkers can reduce sediment, mineral deposits and microbial biofilm formation.

5. Limitations

The present study had certain limitations. The relatively small sample size may limit the generalizability of the findings to all poultry-farm water sources in Salem district. Convenience sampling may have introduced selection bias, as only accessible sites were included. Sampling was conducted at a single time point before farm operations and therefore seasonal variations in water quality could not be assessed. Microbiological assessment was limited to coliform estimation and did not include pathogen-specific identification. In addition, detailed mineral composition and potential waterline biofilm characteristics were not investigated. Further studies with larger sample sizes, seasonal sampling and comprehensive microbiological and chemical analyses are recommended.

Competing Interests

Authors have declared that no competing interests exist.

Declaration of AI Use

This manuscript was prepared through the intellectual contributions of the author(s) to the study design, data analysis, interpretation of results, and scholarly content. Grammarly and ChatGPT were used solely to assist with grammatical refinement and reference formatting during manuscript revision. The author(s) accept full responsibility for the accuracy, integrity, and final content of the manuscript.

References

Arulbalaji, P., & Gurugnanam, B. (2017). Groundwater quality assessment using geospatial and statistical tools in Salem District, Tamil Nadu, India. Applied Water Science, 7, 2737–2751. https://doi.org/10.1007/s13201-016-0501-5

Debassi, B., Allaoua, N., Ghanem, N., Hafid, H., Benacherine, M., & Chenchouni, H. (2025). Assessment of water quality of groundwater, surface water, and wastewater using physicochemical parameters and microbiological indicators. Science Progress, 108(2), 368504251348544. https://doi.org/10.1177/00368504251348544

Di Martino, G., Piccirillo, A., Giacomelli, M., Comin, D., Gallina, A., Capello, K., Buniolo, F., Montesissa, C., & Bonfanti, L. (2018). Microbiological, chemical and physical quality of drinking water for commercial turkeys: a cross-sectional study. Poultry Science, 97(8), 2880–2886. https://doi.org/10.3382/ps/pey130

Ebrahimi, N. A., Nobakht, A., İnci, H., Palangi, V., Suplata, M., & Lackner, M. (2024). Drinking water quality management for broiler performance and carcass characteristics. World, 5(4), 952–961. https://doi.org/10.3390/world5040048

Maharjan, P., Huff, G., Zhang, W., & Watkins, S. (2017). Effects of chlorine and hydrogen peroxide sanitation in low bacterial content water on biofilm formation model of poultry brooding house waterlines. Poultry Science, 96(7), 2145–2150. https://doi.org/10.3382/ps/pex009

Mantzios, T., Tsiouris, V., Kiskinis, K., Economou, V., Petridou, E., Tsitsos, A., Patsias, A., Apostolou, I., Papadopoulos, G. A., Giannenas, I., & Fortomaris, P. (2023). In vitro investigation of the antibacterial activity of nine commercial water disinfectants, acidifiers, and glyceride blends against the most important poultry zoonotic bacteria. Pathogens, 12(3), 381. https://doi.org/10.3390/pathogens12030381

Martínez, Y., Almendares, C. I., Hernández, C. J., Avellaneda, M. C., Urquía, A. M., & Valdivié, M. (2021). Effect of acetic acid and sodium bicarbonate supplemented to drinking water on water quality, growth performance, organ weights, cecal traits and hematological parameters of young broilers. Animals, 11(7), 1865. https://doi.org/10.3390/ani11071865

Mohammed, A. N., Mohamed, D. A., Mohamed, M. B. E., & El Bably, M. A. (2020). Assessment of drinking water quality and new disinfectants for water treatment in a small commercial poultry farm. Journal of Advanced Veterinary Research, 10(4), 206–212.

Mustedanagic, A., Matt, M., Weyermair, K., Schrattenecker, A., Kubitza, I., Firth, C. L., Loncaric, I., Wagner, M., & Stessl, B. (2023). Assessment of microbial quality in poultry drinking water on farms in Austria. Frontiers in Veterinary Science, 10, 1254442. https://doi.org/10.3389/fvets.2023.1254442

Ogundipe, T. T., & Obe, T. (2025). Effectiveness of sanitizers on different biofilm-forming microorganisms associated with the poultry drinking water system. Poultry Science, 104(7), 105122. https://doi.org/10.1016/j.psj.2025.105122

Osei, F. B., Boamah, V. E., Boakye, Y. D., Agyare, C., & Abaidoo, R. C. (2021). Antibiotic resistance of bacteria isolated from water supplies used in poultry production in Ashanti Region of Ghana. The Open Microbiology Journal, 15, 7–15. https://doi.org/10.2174/1874285802115010007

Raut, R., Kilonzo-Nthenge, A., Aniume, T., Basnet, A., Watkins, S., & Maharjan, P. (2024). Impacts of on-farm water sanitation practices on microbial hygiene in poultry waterlines and efficacy of sodium hypochlorite-based product on foodborne pathogens. Journal of Applied Poultry Research, 33, 100425. https://doi.org/10.1016/j.japr.2024.100425

Raut, R., Biswas, B. K., Taylor-Bowden, T., Kilonzo-Nthenge, A., Pokharel, B., Tabler, T., Nahashon, S. N., & Maharjan, P. (2025). Effects of chronic exposure of specific water quality parameters in poultry drinking water on dietary amino acid digestibility and early broiler performance. Poultry Science, 104(2), 104835. https://doi.org/10.1016/j.psj.2025.104835

Roach, B., Greene, E. S., & Dridi, S. (2025). Central regulation of drinking water in divergently selected high-water-efficient young broiler chickens: A minireview. Journal of Neuroendocrinology, 37(6), e13488. https://doi.org/10.1111/jne.13488